## PotentialSummary
Product | Planning Costs ($/kW-yr) | Construction Costs ($/kW-yr) | Fixed O&M Costs ($/kW-yr) | Variable O&M ($/kW-yr) | Total Levelized Cost ($/kW-yr) | Winter Portion of Impact | Summer Portion of Impact | Max Potential (MW) | Bin Designation | Winter Max MW | Summer Max MW | [6 empty] | Bin Designation | Max Cost ($/kW-yr levelized)
NRCurtailCom | 0.14951 | 0.96 | 16.2276 | 150 | 17.3375 | 100% | 90.57% | 54.1041 | Bin 2 | 54.1041 | 49.0033 | [6 empty] | Bin 1 | 10
NRCurtailInd | 0.03 | 0.95 | 10.2276 | 150 | 11.2125 | 84.68% | 100% | 257.478 | Bin 2 | 218.0231 | 257.478 | [6 empty] | Bin 2 | 20
NRIrrLg | 0.04 | 0.24 | 3.7275 | 150 | 4.0065 | 0% | 100% | 368.2242 | Bin 1 | 0 | 368.2242 | [6 empty] | Bin 3 | 70
NRIrrSmMed | 0.03 | 0.99 | 4.7275 | 150 | 5.7513 | 0% | 100% | 433.9785 | Bin 1 | 0 | 433.9785 | [6 empty] | Bin 4 | 1000
ComCPP | 0.056637 | 3.6584 | -9.3426 | 150 | -5.6215 | 49.87% | 100% | 169.9845 | Bin 1 | 84.7676 | 169.9845
IndCPP | 0.068123 | 0.33666 | -9.2965 | 150 | -8.8922 | 43.28% | 100% | 158.5718 | Bin 1 | 68.6256 | 158.5718
DVR | 0.01 | 4.94 | -4.7725 | 150 | 0.18047 | 100% | 82.77% | 837.889 | Bin 1 | 837.889 | 693.5552
IndRTP | 0.29457 | 0.33666 | -7.6353 | 150 | -6.9974 | 43.28% | 100% | 35.2382 | Bin 1 | 15.2501 | 35.2382
ResCPP | 0.02577 | 7.7293 | -9.5876 | 150 | -1.8299 | 40.55% | 100% | 360.5599 | Bin 1 | 146.1978 | 360.5599
ResTOU | 0.030234 | 17.7281 | -9.5457 | 150 | 8.2194 | 34.38% | 100% | 306.9086 | Bin 1 | 105.5223 | 306.9086
NRCoolSwchMed | 0.14 | 14.66 | -2.9224 | 150 | 11.873 | 0% | 100% | 48.1469 | Bin 2 | 0 | 48.1469
NRHeatSwchMed | 0.31 | 13.75 | -1.2625 | 150 | 12.8041 | 100% | 0% | 28.288 | Bin 2 | 28.288 | 0
NRCoolSwchSm | 0.43 | 56.63 | 24.7076 | 150 | 81.7628 | 0% | 100% | 15.1663 | Bin 4 | 0 | 15.1663
NRHeatSwchSm | 0.31 | 24.79 | 12.4375 | 150 | 37.5321 | 100% | 0% | 27.1517 | Bin 3 | 27.1517 | 0
NRTstatSm | 0.32419 | 7.7547 | 19.1275 | 150 | 27.2111 | 96.46% | 100% | 23.0021 | Bin 3 | 22.1884 | 23.0021
ResACSwch | 0.06 | 52.04 | 24.4376 | 150 | 76.532 | 0% | 100% | 183.182 | Bin 4 | 0 | 183.182
ResHeatSwitch | 0 | 27.93 | -2.1925 | 150 | 25.7312 | 100% | 0% | 975.5058 | Bin 3 | 975.5058 | 0
ResBYOT | 0.081633 | 11.4116 | 2.9737 | 150 | 14.4735 | 100% | 63.33% | 99.6081 | Bin 2 | 99.6081 | 63.0864
ResERWHDLCSwch | 0.014 | 49.594 | 16.8475 | 150 | 66.4613 | 100% | 66.67% | 199.4457 | Bin 3 | 199.4457 | 132.9638
ResERWHDLCGrd | 0.01 | 16.8 | 25.9875 | 150 | 42.7973 | 100% | 100% | 1506.9227 | Bin 3 | 1506.9227 | 1506.9227
ResEVSEDLCSwch | 0.06 | 104 | 26.9376 | 150 | 131.0011 | 100% | 100% | 220.653 | Bin 4 | 220.653 | 220.653
ResHPWHDLCSwch | 1.7143 | 177.13 | 85.3018 | 150 | 264.1522 | 100% | 75% | 1.9233 | Bin 4 | 1.9233 | 1.4425
ResHPWHDLCGrd | 0.67 | 56.0133 | 109.4209 | 150 | 166.1082 | 100% | 50% | 21.7974 | Bin 4 | 21.7974 | 10.8987
|  | T & D deferral | 9.7724
Cumulative Potential (MW)
Product | Bin | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041
NRCurtailCom | Bin 2 | 5.7516 | 11.699 | 17.848 | 25.7551 | 34.3984 | 36.9409 | 38.4856 | 39.9255 | 41.4331 | 43.0744 | 44.7832 | 45.5583 | 47.1834 | 48.5207 | 49.4407 | 49.8867 | 51.2269 | 51.866 | 53.2948 | 54.1041
NRCurtailInd | Bin 2 | 31.3059 | 63.8381 | 98.5536 | 136.1022 | 176.5616 | 182.5313 | 187.6761 | 192.6654 | 198.6383 | 205.9326 | 211.6743 | 215.8279 | 219.9629 | 225.0608 | 230.9714 | 237.3311 | 243.5221 | 248.036 | 252.6433 | 257.478
NRIrrLg | Bin 1 | 53.5318 | 108.3197 | 170.0455 | 231.2373 | 292.2932 | 295.1455 | 299.187 | 302.6427 | 307.9504 | 312.0878 | 315.7807 | 320.1831 | 324.8238 | 331.3986 | 336.9232 | 342.2979 | 348.1432 | 354.2088 | 361.1794 | 368.2242
NRIrrSmMed | Bin 1 | 63.091 | 127.6625 | 200.4108 | 272.5297 | 344.4884 | 347.85 | 352.6132 | 356.6861 | 362.9415 | 367.8178 | 372.1701 | 377.3586 | 382.828 | 390.5769 | 397.0881 | 403.4225 | 410.3116 | 417.4604 | 425.6757 | 433.9785
ComCPP | Bin 1 | 18.0704 | 36.7561 | 56.075 | 80.9174 | 108.073 | 116.0611 | 120.9143 | 125.4381 | 130.1747 | 135.3313 | 140.7001 | 143.1351 | 148.2409 | 152.4426 | 155.333 | 156.7341 | 160.9449 | 162.9528 | 167.4418 | 169.9845
IndCPP | Bin 1 | 19.2802 | 39.3157 | 60.6958 | 83.8206 | 108.7382 | 112.4147 | 115.5832 | 118.6559 | 122.3344 | 126.8268 | 130.3628 | 132.9209 | 135.4675 | 138.6071 | 142.2473 | 146.164 | 149.9768 | 152.7568 | 155.5942 | 158.5718
DVR | Bin 1 | 54.6855 | 109.7637 | 166.8048 | 236.558 | 304.3454 | 392.534 | 472.622 | 543.0872 | 615.7978 | 710.9277 | 743.7287 | 736.6835 | 765.1543 | 791.2107 | 791.5273 | 781.626 | 808.4045 | 802.0392 | 832.3594 | 837.889
IndRTP | Bin 1 | 4.2845 | 8.7368 | 13.4879 | 18.6268 | 24.164 | 24.981 | 25.6852 | 26.368 | 27.1854 | 28.1837 | 28.9695 | 29.538 | 30.1039 | 30.8016 | 31.6105 | 32.4809 | 33.3282 | 33.9459 | 34.5765 | 35.2382
ResCPP | Bin 1 | 57.5055 | 113.9794 | 172.1777 | 241.9156 | 301.3603 | 326.3483 | 334.3358 | 325.7591 | 318.0727 | 330.6059 | 349.1564 | 335.0158 | 350.2044 | 364.8765 | 356.6014 | 341.5359 | 356.6666 | 344.1231 | 362.5069 | 360.5599
ResTOU | Bin 1 | 48.9487 | 97.0193 | 146.5577 | 205.9186 | 256.5179 | 277.7876 | 284.5866 | 277.2862 | 270.7435 | 281.4117 | 297.2019 | 285.1654 | 298.094 | 310.5828 | 303.5391 | 290.7153 | 303.5946 | 292.9176 | 308.5659 | 306.9086
NRCoolSwchMed | Bin 2 | 7.261 | 14.7242 | 22.3489 | 30.1114 | 38.1317 | 38.7586 | 39.3397 | 39.9371 | 40.5603 | 41.1172 | 41.7328 | 42.4051 | 43.0195 | 43.7584 | 44.4292 | 45.1414 | 45.8883 | 46.7154 | 47.4281 | 48.1469
NRHeatSwchMed | Bin 2 | 1.3657 | 3.483 | 6.25 | 9.5781 | 13.4359 | 14.8431 | 16.1376 | 17.3561 | 18.5112 | 19.565 | 20.5851 | 21.575 | 22.485 | 23.4204 | 24.2768 | 25.1253 | 25.9553 | 26.8052 | 27.5569 | 28.288
NRCoolSwchSm | Bin 4 | 2.574 | 5.1855 | 7.8248 | 10.4853 | 13.2158 | 13.361 | 13.477 | 13.5838 | 13.6979 | 13.8113 | 13.9302 | 14.0515 | 14.1794 | 14.3279 | 14.4611 | 14.599 | 14.7395 | 14.8935 | 15.0401 | 15.1663
NRHeatSwchSm | Bin 3 | 1.5022 | 3.8002 | 6.7731 | 10.3152 | 14.391 | 15.7985 | 17.0558 | 18.196 | 19.2504 | 20.2183 | 21.1179 | 21.9527 | 22.7374 | 23.5031 | 24.1953 | 24.8529 | 25.4744 | 26.0846 | 26.6502 | 27.1517
NRTstatSm | Bin 3 | 3.9039 | 7.8646 | 11.8675 | 15.9027 | 20.0438 | 20.264 | 20.44 | 20.6019 | 20.775 | 20.947 | 21.1273 | 21.3113 | 21.5053 | 21.7305 | 21.9325 | 22.1416 | 22.3548 | 22.5883 | 22.8107 | 23.0021
ResACSwch | Bin 4 | 31.6267 | 63.8138 | 96.6109 | 129.9564 | 163.8355 | 165.1897 | 166.5364 | 167.817 | 169.1309 | 170.4302 | 171.7237 | 173.0329 | 174.3099 | 175.6173 | 176.8937 | 178.1603 | 179.45 | 180.6988 | 181.9421 | 183.182
ResHeatSwitch | Bin 3 | 98.631 | 203.2617 | 313.9441 | 470.2072 | 642.404 | 688.9246 | 728.9513 | 763.3845 | 793.5896 | 820.1316 | 843.488 | 864.291 | 882.8624 | 899.7983 | 915.0573 | 929.0121 | 942.0085 | 953.9106 | 965.0433 | 975.5058
ResBYOT | Bin 2 | 10.8477 | 21.9025 | 33.1845 | 47.8202 | 65.3944 | 70.1936 | 74.3404 | 77.9105 | 81.0486 | 83.8055 | 86.2364 | 88.4016 | 90.3193 | 92.0578 | 93.6135 | 95.0212 | 96.3226 | 97.5004 | 98.5889 | 99.6081
ResERWHDLCSwch | Bin 3 | 114.2211 | 221.4871 | 320.3503 | 472.6985 | 614.2195 | 612.9151 | 593.4428 | 560.1683 | 516.7235 | 465.376 | 407.8423 | 345.5162 | 279.2994 | 209.9546 | 188.0367 | 190.5964 | 193.0093 | 195.2525 | 197.3932 | 199.4457
ResERWHDLCGrd | Bin 3 | 4.0078 | 18.2499 | 43.7426 | 94.1304 | 167.2523 | 264.0249 | 384.8996 | 529.8699 | 699.2259 | 892.9166 | 1009.8951 | 1127.8921 | 1246.7278 | 1366.7631 | 1420.7221 | 1440.0619 | 1458.2926 | 1475.2409 | 1491.4155 | 1506.9227
ResEVSEDLCSwch | Bin 4 | 0.76472 | 2.5363 | 7.4415 | 17.6622 | 34.3629 | 47.8588 | 61.6754 | 75.4304 | 89.2146 | 102.6904 | 115.8145 | 128.6352 | 141.1444 | 153.3593 | 165.2602 | 176.8876 | 188.2438 | 199.2916 | 210.1111 | 220.653
ResHPWHDLCSwch | Bin 4 | 1.1012 | 2.1354 | 3.0886 | 4.5577 | 5.9225 | 5.9101 | 5.7224 | 5.4016 | 4.9828 | 4.4876 | 3.9329 | 3.3319 | 2.6933 | 2.0246 | 1.8133 | 1.838 | 1.8612 | 1.8829 | 1.9035 | 1.9233
ResHPWHDLCGrd | Bin 4 | 0.057959 | 0.26393 | 0.6326 | 1.3614 | 2.4191 | 3.8188 | 5.5673 | 7.6642 | 10.1139 | 12.9157 | 14.6078 | 16.3146 | 18.0336 | 19.7699 | 20.5504 | 20.8302 | 21.0939 | 21.3391 | 21.5731 | 21.7974
Winter Potential (MW)
Product | Bin | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041
NRCurtailCom | Bin 2 | 5.7516 | 11.699 | 17.848 | 25.7551 | 34.3984 | 36.9409 | 38.4856 | 39.9255 | 41.4331 | 43.0744 | 44.7832 | 45.5583 | 47.1834 | 48.5207 | 49.4407 | 49.8867 | 51.2269 | 51.866 | 53.2948 | 54.1041
NRCurtailInd | Bin 2 | 26.5087 | 54.0558 | 83.4516 | 115.2465 | 149.506 | 154.5609 | 158.9173 | 163.1421 | 168.1998 | 174.3763 | 179.2381 | 182.7552 | 186.2566 | 190.5733 | 195.5782 | 200.9634 | 206.2057 | 210.0279 | 213.9292 | 218.0231
NRIrrLg | Bin 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NRIrrSmMed | Bin 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ComCPP | Bin 1 | 9.0113 | 18.3295 | 27.9634 | 40.3518 | 53.8937 | 57.8772 | 60.2973 | 62.5532 | 64.9153 | 67.4868 | 70.1641 | 71.3784 | 73.9245 | 76.0198 | 77.4612 | 78.1599 | 80.2598 | 81.261 | 83.4996 | 84.7676
IndCPP | Bin 1 | 8.344 | 17.0148 | 26.2675 | 36.2753 | 47.0589 | 48.65 | 50.0213 | 51.3511 | 52.943 | 54.8872 | 56.4175 | 57.5246 | 58.6267 | 59.9854 | 61.5608 | 63.2558 | 64.9059 | 66.109 | 67.337 | 68.6256
DVR | Bin 1 | 54.6855 | 109.7637 | 166.8048 | 236.558 | 304.3454 | 392.534 | 472.622 | 543.0872 | 615.7978 | 710.9277 | 743.7287 | 736.6835 | 765.1543 | 791.2107 | 791.5273 | 781.626 | 808.4045 | 802.0392 | 832.3594 | 837.889
IndRTP | Bin 1 | 1.8542 | 3.7811 | 5.8372 | 8.0612 | 10.4575 | 10.8111 | 11.1158 | 11.4113 | 11.7651 | 12.1972 | 12.5372 | 12.7832 | 13.0281 | 13.3301 | 13.6802 | 14.0568 | 14.4235 | 14.6909 | 14.9638 | 15.2501
ResCPP | Bin 1 | 23.317 | 46.2157 | 69.8136 | 98.0906 | 122.1939 | 132.3258 | 135.5646 | 132.087 | 128.9703 | 134.0522 | 141.5739 | 135.8403 | 141.9989 | 147.948 | 144.5927 | 138.484 | 144.6191 | 139.5331 | 146.9873 | 146.1978
ResTOU | Bin 1 | 16.8297 | 33.3575 | 50.3899 | 70.7996 | 88.1968 | 95.5099 | 97.8475 | 95.3374 | 93.0879 | 96.7559 | 102.1849 | 98.0465 | 102.4917 | 106.7856 | 104.3638 | 99.9547 | 104.3829 | 100.7119 | 106.0921 | 105.5223
NRCoolSwchMed | Bin 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NRHeatSwchMed | Bin 2 | 1.3657 | 3.483 | 6.25 | 9.5781 | 13.4359 | 14.8431 | 16.1376 | 17.3561 | 18.5112 | 19.565 | 20.5851 | 21.575 | 22.485 | 23.4204 | 24.2768 | 25.1253 | 25.9553 | 26.8052 | 27.5569 | 28.288
NRCoolSwchSm | Bin 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NRHeatSwchSm | Bin 3 | 1.5022 | 3.8002 | 6.7731 | 10.3152 | 14.391 | 15.7985 | 17.0558 | 18.196 | 19.2504 | 20.2183 | 21.1179 | 21.9527 | 22.7374 | 23.5031 | 24.1953 | 24.8529 | 25.4744 | 26.0846 | 26.6502 | 27.1517
NRTstatSm | Bin 3 | 1.2276 | 3.1055 | 5.535 | 8.4296 | 11.7603 | 12.9105 | 13.938 | 14.8698 | 15.7314 | 16.5224 | 17.2575 | 17.9398 | 18.581 | 19.2067 | 19.7724 | 20.3098 | 20.8177 | 21.3164 | 21.7786 | 22.1884
ResACSwch | Bin 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ResHeatSwitch | Bin 3 | 98.631 | 203.2617 | 313.9441 | 470.2072 | 642.404 | 688.9246 | 728.9513 | 763.3845 | 793.5896 | 820.1316 | 843.488 | 864.291 | 882.8624 | 899.7983 | 915.0573 | 929.0121 | 942.0085 | 953.9106 | 965.0433 | 975.5058
ResBYOT | Bin 2 | 9.9955 | 20.623 | 31.8942 | 47.8202 | 65.3944 | 70.1936 | 74.3404 | 77.9105 | 81.0486 | 83.8055 | 86.2364 | 88.4016 | 90.3193 | 92.0578 | 93.6135 | 95.0212 | 96.3226 | 97.5004 | 98.5889 | 99.6081
ResERWHDLCSwch | Bin 3 | 114.2211 | 221.4871 | 320.3503 | 472.6985 | 614.2195 | 612.9151 | 593.4428 | 560.1683 | 516.7235 | 465.376 | 407.8423 | 345.5162 | 279.2994 | 209.9546 | 188.0367 | 190.5964 | 193.0093 | 195.2525 | 197.3932 | 199.4457
ResERWHDLCGrd | Bin 3 | 4.0078 | 18.2499 | 43.7426 | 94.1304 | 167.2523 | 264.0249 | 384.8996 | 529.8699 | 699.2259 | 892.9166 | 1009.8951 | 1127.8921 | 1246.7278 | 1366.7631 | 1420.7221 | 1440.0619 | 1458.2926 | 1475.2409 | 1491.4155 | 1506.9227
ResEVSEDLCSwch | Bin 4 | 0.76472 | 2.5363 | 7.4415 | 17.6622 | 34.3629 | 47.8588 | 61.6754 | 75.4304 | 89.2146 | 102.6904 | 115.8145 | 128.6352 | 141.1444 | 153.3593 | 165.2602 | 176.8876 | 188.2438 | 199.2916 | 210.1111 | 220.653
ResHPWHDLCSwch | Bin 4 | 1.1012 | 2.1354 | 3.0886 | 4.5577 | 5.9225 | 5.9101 | 5.7224 | 5.4016 | 4.9828 | 4.4876 | 3.9329 | 3.3319 | 2.6933 | 2.0246 | 1.8133 | 1.838 | 1.8612 | 1.8829 | 1.9035 | 1.9233
ResHPWHDLCGrd | Bin 4 | 0.057959 | 0.26393 | 0.6326 | 1.3614 | 2.4191 | 3.8188 | 5.5673 | 7.6642 | 10.1139 | 12.9157 | 14.6078 | 16.3146 | 18.0336 | 19.7699 | 20.5504 | 20.8302 | 21.0939 | 21.3391 | 21.5731 | 21.7974
Summer Potential (MW)
Product | Bin | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041
NRCurtailCom | Bin 2 | 5.2093 | 10.5961 | 16.1653 | 23.3269 | 31.1554 | 33.4582 | 34.8573 | 36.1614 | 37.5269 | 39.0134 | 40.5611 | 41.2631 | 42.735 | 43.9463 | 44.7795 | 45.1834 | 46.3973 | 46.9762 | 48.2703 | 49.0033
NRCurtailInd | Bin 2 | 31.3059 | 63.8381 | 98.5536 | 136.1022 | 176.5616 | 182.5313 | 187.6761 | 192.6654 | 198.6383 | 205.9326 | 211.6743 | 215.8279 | 219.9629 | 225.0608 | 230.9714 | 237.3311 | 243.5221 | 248.036 | 252.6433 | 257.478
NRIrrLg | Bin 1 | 53.5318 | 108.3197 | 170.0455 | 231.2373 | 292.2932 | 295.1455 | 299.187 | 302.6427 | 307.9504 | 312.0878 | 315.7807 | 320.1831 | 324.8238 | 331.3986 | 336.9232 | 342.2979 | 348.1432 | 354.2088 | 361.1794 | 368.2242
NRIrrSmMed | Bin 1 | 63.091 | 127.6625 | 200.4108 | 272.5297 | 344.4884 | 347.85 | 352.6132 | 356.6861 | 362.9415 | 367.8178 | 372.1701 | 377.3586 | 382.828 | 390.5769 | 397.0881 | 403.4225 | 410.3116 | 417.4604 | 425.6757 | 433.9785
ComCPP | Bin 1 | 18.0704 | 36.7561 | 56.075 | 80.9174 | 108.073 | 116.0611 | 120.9143 | 125.4381 | 130.1747 | 135.3313 | 140.7001 | 143.1351 | 148.2409 | 152.4426 | 155.333 | 156.7341 | 160.9449 | 162.9528 | 167.4418 | 169.9845
IndCPP | Bin 1 | 19.2802 | 39.3157 | 60.6958 | 83.8206 | 108.7382 | 112.4147 | 115.5832 | 118.6559 | 122.3344 | 126.8268 | 130.3628 | 132.9209 | 135.4675 | 138.6071 | 142.2473 | 146.164 | 149.9768 | 152.7568 | 155.5942 | 158.5718
DVR | Bin 1 | 45.2654 | 90.8559 | 138.0712 | 195.8088 | 251.9192 | 324.9165 | 391.2087 | 449.5356 | 509.7212 | 588.4641 | 615.6149 | 609.7833 | 633.3497 | 654.9177 | 655.1797 | 646.984 | 669.1497 | 663.8809 | 688.9782 | 693.5552
IndRTP | Bin 1 | 4.2845 | 8.7368 | 13.4879 | 18.6268 | 24.164 | 24.981 | 25.6852 | 26.368 | 27.1854 | 28.1837 | 28.9695 | 29.538 | 30.1039 | 30.8016 | 31.6105 | 32.4809 | 33.3282 | 33.9459 | 34.5765 | 35.2382
ResCPP | Bin 1 | 57.5055 | 113.9794 | 172.1777 | 241.9156 | 301.3603 | 326.3483 | 334.3358 | 325.7591 | 318.0727 | 330.6059 | 349.1564 | 335.0158 | 350.2044 | 364.8765 | 356.6014 | 341.5359 | 356.6666 | 344.1231 | 362.5069 | 360.5599
ResTOU | Bin 1 | 48.9487 | 97.0193 | 146.5577 | 205.9186 | 256.5179 | 277.7876 | 284.5866 | 277.2862 | 270.7435 | 281.4117 | 297.2019 | 285.1654 | 298.094 | 310.5828 | 303.5391 | 290.7153 | 303.5946 | 292.9176 | 308.5659 | 306.9086
NRCoolSwchMed | Bin 2 | 7.261 | 14.7242 | 22.3489 | 30.1114 | 38.1317 | 38.7586 | 39.3397 | 39.9371 | 40.5603 | 41.1172 | 41.7328 | 42.4051 | 43.0195 | 43.7584 | 44.4292 | 45.1414 | 45.8883 | 46.7154 | 47.4281 | 48.1469
NRHeatSwchMed | Bin 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NRCoolSwchSm | Bin 4 | 2.574 | 5.1855 | 7.8248 | 10.4853 | 13.2158 | 13.361 | 13.477 | 13.5838 | 13.6979 | 13.8113 | 13.9302 | 14.0515 | 14.1794 | 14.3279 | 14.4611 | 14.599 | 14.7395 | 14.8935 | 15.0401 | 15.1663
NRHeatSwchSm | Bin 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NRTstatSm | Bin 3 | 3.9039 | 7.8646 | 11.8675 | 15.9027 | 20.0438 | 20.264 | 20.44 | 20.6019 | 20.775 | 20.947 | 21.1273 | 21.3113 | 21.5053 | 21.7305 | 21.9325 | 22.1416 | 22.3548 | 22.5883 | 22.8107 | 23.0021
ResACSwch | Bin 4 | 31.6267 | 63.8138 | 96.6109 | 129.9564 | 163.8355 | 165.1897 | 166.5364 | 167.817 | 169.1309 | 170.4302 | 171.7237 | 173.0329 | 174.3099 | 175.6173 | 176.8937 | 178.1603 | 179.45 | 180.6988 | 181.9421 | 183.182
ResHeatSwitch | Bin 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ResBYOT | Bin 2 | 10.8477 | 21.9025 | 33.1845 | 44.6659 | 56.3407 | 56.8361 | 57.33 | 57.7957 | 58.2708 | 58.7364 | 59.1991 | 59.6646 | 60.1106 | 60.5622 | 60.9987 | 61.426 | 61.8583 | 62.272 | 62.6798 | 63.0864
ResERWHDLCSwch | Bin 3 | 76.1474 | 147.6581 | 213.5668 | 315.1323 | 409.4797 | 408.61 | 395.6285 | 373.4456 | 344.4824 | 310.2507 | 271.8948 | 230.3442 | 186.1996 | 139.9697 | 125.3578 | 127.0643 | 128.6729 | 130.1683 | 131.5955 | 132.9638
ResERWHDLCGrd | Bin 3 | 4.0078 | 18.2499 | 43.7426 | 94.1304 | 167.2523 | 264.0249 | 384.8996 | 529.8699 | 699.2259 | 892.9166 | 1009.8951 | 1127.8921 | 1246.7278 | 1366.7631 | 1420.7221 | 1440.0619 | 1458.2926 | 1475.2409 | 1491.4155 | 1506.9227
ResEVSEDLCSwch | Bin 4 | 0.76472 | 2.5363 | 7.4415 | 17.6622 | 34.3629 | 47.8588 | 61.6754 | 75.4304 | 89.2146 | 102.6904 | 115.8145 | 128.6352 | 141.1444 | 153.3593 | 165.2602 | 176.8876 | 188.2438 | 199.2916 | 210.1111 | 220.653
ResHPWHDLCSwch | Bin 4 | 0.82591 | 1.6015 | 2.3164 | 3.4183 | 4.4419 | 4.4326 | 4.2918 | 4.0512 | 3.7371 | 3.3657 | 2.9496 | 2.4989 | 2.02 | 1.5185 | 1.36 | 1.3785 | 1.3959 | 1.4121 | 1.4276 | 1.4425
ResHPWHDLCGrd | Bin 4 | 0.028979 | 0.13196 | 0.3163 | 0.6807 | 1.2095 | 1.9094 | 2.7836 | 3.8321 | 5.057 | 6.4578 | 7.3039 | 8.1573 | 9.0168 | 9.8849 | 10.2752 | 10.4151 | 10.547 | 10.6695 | 10.7865 | 10.8987
Product of Cost with Max Potential
Product | Planning Costs ($/kW-yr) * Max MW | Summer Potential (MW) 2022: Construction Costs ($/kW-yr) * Max MW; Summer Potential (MW) 2023: Fixed O&M Costs ($/kW-yr) * Max MW; Summer Potential (MW) 2024: Variable O&M ($/kW-yr) * Max MW; Summer Potential (MW) 2025: Total Levelized Cost ($/kW-yr) * Max MW; Summer Potential (MW) 2026: Bin
NRCurtailCom | 8.0889 | Summer Potential (MW) 2022: 51.94; Summer Potential (MW) 2023: 877.9776; Summer Potential (MW) 2024: 8115.6208; Summer Potential (MW) 2025: 938.0323; Summer Potential (MW) 2026: Bin 2
NRCurtailInd | 7.7243 | Summer Potential (MW) 2022: 244.6041; Summer Potential (MW) 2023: 2633.3691; Summer Potential (MW) 2024: 38621.6993; Summer Potential (MW) 2025: 2886.9844; Summer Potential (MW) 2026: Bin 2
NRIrrLg | 14.729 | Summer Potential (MW) 2022: 88.3738; Summer Potential (MW) 2023: 1372.5741; Summer Potential (MW) 2024: 55233.628; Summer Potential (MW) 2025: 1475.2786; Summer Potential (MW) 2026: Bin 1
NRIrrSmMed | 13.0194 | Summer Potential (MW) 2022: 429.6387; Summer Potential (MW) 2023: 2051.6551; Summer Potential (MW) 2024: 65096.7758; Summer Potential (MW) 2025: 2495.9352; Summer Potential (MW) 2026: Bin 1
ComCPP | 9.6275 | Summer Potential (MW) 2022: 621.8676; Summer Potential (MW) 2023: -1588.1051; Summer Potential (MW) 2024: 25497.6824; Summer Potential (MW) 2025: -955.5739; Summer Potential (MW) 2026: Bin 1
IndCPP | 10.8024 | Summer Potential (MW) 2022: 53.3843; Summer Potential (MW) 2023: -1474.1665; Summer Potential (MW) 2024: 23785.763; Summer Potential (MW) 2025: -1410.0531; Summer Potential (MW) 2026: Bin 1
DVR | 8.3789 | Summer Potential (MW) 2022: 4139.1717; Summer Potential (MW) 2023: -3998.7834; Summer Potential (MW) 2024: 125683.35; Summer Potential (MW) 2025: 151.2167; Summer Potential (MW) 2026: Bin 1
IndRTP | 10.3803 | Summer Potential (MW) 2022: 11.8632; Summer Potential (MW) 2023: -269.0548; Summer Potential (MW) 2024: 5285.7251; Summer Potential (MW) 2025: -246.5755; Summer Potential (MW) 2026: Bin 1
ResCPP | 9.2916 | Summer Potential (MW) 2022: 2786.8819; Summer Potential (MW) 2023: -3456.9173; Summer Potential (MW) 2024: 54083.9903; Summer Potential (MW) 2025: -659.7765; Summer Potential (MW) 2026: Bin 1
ResTOU | 9.2791 | Summer Potential (MW) 2022: 5440.9164; Summer Potential (MW) 2023: -2929.6556; Summer Potential (MW) 2024: 46036.2925; Summer Potential (MW) 2025: 2522.6158; Summer Potential (MW) 2026: Bin 1
NRCoolSwchMed | 6.7406 | Summer Potential (MW) 2022: 705.8334; Summer Potential (MW) 2023: -140.7069; Summer Potential (MW) 2024: 7222.0339; Summer Potential (MW) 2025: 571.6484; Summer Potential (MW) 2026: Bin 2
NRHeatSwchMed | 8.7693 | Summer Potential (MW) 2022: 388.9606; Summer Potential (MW) 2023: -35.7122; Summer Potential (MW) 2024: 4243.2068; Summer Potential (MW) 2025: 362.2017; Summer Potential (MW) 2026: Bin 2
NRCoolSwchSm | 6.5215 | Summer Potential (MW) 2022: 858.8702; Summer Potential (MW) 2023: 374.7233; Summer Potential (MW) 2024: 2274.952; Summer Potential (MW) 2025: 1240.0422; Summer Potential (MW) 2026: Bin 4
NRHeatSwchSm | 8.417 | Summer Potential (MW) 2022: 673.0917; Summer Potential (MW) 2023: 337.7012; Summer Potential (MW) 2024: 4072.7617; Summer Potential (MW) 2025: 1019.0611; Summer Potential (MW) 2026: Bin 3
NRTstatSm | 7.4571 | Summer Potential (MW) 2022: 178.375; Summer Potential (MW) 2023: 439.9744; Summer Potential (MW) 2024: 3450.3199; Summer Potential (MW) 2025: 625.9125; Summer Potential (MW) 2026: Bin 3
ResACSwch | 10.9909 | Summer Potential (MW) 2022: 9532.7916; Summer Potential (MW) 2023: 4476.5195; Summer Potential (MW) 2024: 27477.301; Summer Potential (MW) 2025: 14019.2934; Summer Potential (MW) 2026: Bin 4
ResHeatSwitch | 0 | Summer Potential (MW) 2022: 27245.8774; Summer Potential (MW) 2023: -2138.7477; Summer Potential (MW) 2024: 146325.8723; Summer Potential (MW) 2025: 25100.8867; Summer Potential (MW) 2026: Bin 3
ResBYOT | 8.1313 | Summer Potential (MW) 2022: 1136.689; Summer Potential (MW) 2023: 296.2011; Summer Potential (MW) 2024: 14941.2214; Summer Potential (MW) 2025: 1441.6806; Summer Potential (MW) 2026: Bin 2
ResERWHDLCSwch | 2.7922 | Summer Potential (MW) 2022: 9891.3076; Summer Potential (MW) 2023: 3360.1706; Summer Potential (MW) 2024: 29916.8477; Summer Potential (MW) 2025: 13255.42; Summer Potential (MW) 2026: Bin 3
ResERWHDLCGrd | 15.0692 | Summer Potential (MW) 2022: 25316.3013; Summer Potential (MW) 2023: 39161.229; Summer Potential (MW) 2024: 226038.4049; Summer Potential (MW) 2025: 64492.2541; Summer Potential (MW) 2026: Bin 3
ResEVSEDLCSwch | 13.2392 | Summer Potential (MW) 2022: 22947.9151; Summer Potential (MW) 2023: 5943.852; Summer Potential (MW) 2024: 33097.9545; Summer Potential (MW) 2025: 28905.7816; Summer Potential (MW) 2026: Bin 4
ResHPWHDLCSwch | 3.2971 | Summer Potential (MW) 2022: 340.6736; Summer Potential (MW) 2023: 164.0608; Summer Potential (MW) 2024: 288.4946; Summer Potential (MW) 2025: 508.0432; Summer Potential (MW) 2026: Bin 4
ResHPWHDLCGrd | 14.6042 | Summer Potential (MW) 2022: 1220.9433; Summer Potential (MW) 2023: 2385.0874; Summer Potential (MW) 2024: 3269.6054; Summer Potential (MW) 2025: 3620.7217; Summer Potential (MW) 2026: Bin 4
Note on B3: Tina Jayaweera: Setup Costs
Note on B116: Tina Jayaweera: Setup Costs
Note on C3: Tina Jayaweera: Equipment + Marketing + One-time incentive
Note on C116: Tina Jayaweera: O&M Cost + Fixed incentive
Note on D3: Tina Jayaweera: O&M Cost + Fixed incentive
Note on D28: Tina Jayaweera: See for T&D deferral values, see: https://nwcouncil.app.box.com/s/wnuyrgujhixhwwxod3d7y2do907p5od0 D value excludes T losses
Note on D116: Tina Jayaweera: Equipment + Marketing + One-time incentive
Note on E3: Tina Jayaweera: Variable incentive- this was discussed at DRAC for the nonres products, and would need to be added to all products. It represents dispatch cost.
Note on E116: Tina Jayaweera: Variable incentive

## BinTests
Product | Bin Designation | Cumulative | Total Levelized Cost ($/kW-yr) | Max Potential (MW) | Winter Max MW | Summer Max MW |  | StDev | Average | Potential | StDev/Avg
IndCPP | Bin 1 | 158.5718 | -8.8922 | 158.5718 | 68.6256 | 158.5718 | Bin 1 | 5.575 | 1.2627 | 2671.3547 | 4.4152
IndRTP | Bin 1 | 193.8099 | -6.9974 | 35.2382 | 15.2501 | 35.2382 | Bin 2 | 3.0862 | 12.7158 | 487.6252 | 0.2427
ComCPP | Bin 1 | 363.7945 | -5.6215 | 169.9845 | 84.7676 | 169.9845 | Bin 3 | 16.4413 | 38.2476 | 2732.028 | 0.42986
ResCPP | Bin 1 | 724.3544 | -1.8299 | 360.5599 | 146.1978 | 360.5599 | Bin 4 | 76.6806 | 109.084 | 442.722 | 0.70295
DVR | Bin 1 | 1562.2434 | 0.18047 | 837.889 | 837.889 | 693.5552
NRIrrLg | Bin 1 | 1930.4676 | 4.0065 | 368.2242 | 0 | 368.2242
NRIrrSmMed | Bin 1 | 2364.4461 | 5.7513 | 433.9785 | 0 | 433.9785
ResTOU | Bin 1 | 2671.3547 | 8.2194 | 306.9086 | 105.5223 | 306.9086
NRCurtailInd | Bin 2 | 2928.8327 | 11.2125 | 257.478 | 218.0231 | 257.478
NRCoolSwchMed | Bin 2 | 2976.9796 | 11.873 | 48.1469 | 0 | 48.1469
NRHeatSwchMed | Bin 2 | 3005.2676 | 12.8041 | 28.288 | 28.288 | 0
ResBYOT | Bin 2 | 3104.8758 | 14.4735 | 99.6081 | 99.6081 | 63.0864
NRCurtailCom | Bin 2 | 3158.9799 | 17.3375 | 54.1041 | 54.1041 | 49.0033
ResHeatSwitch | Bin 3 | 4134.4857 | 25.7312 | 975.5058 | 975.5058 | 0
NRTstatSm | Bin 3 | 4157.4879 | 27.2111 | 23.0021 | 22.1884 | 23.0021
NRHeatSwchSm | Bin 3 | 4184.6396 | 37.5321 | 27.1517 | 27.1517 | 0
ResERWHDLCGrd | Bin 3 | 5691.5623 | 42.7973 | 1506.9227 | 1506.9227 | 1506.9227
ResERWHDLCSwch | Bin 3 | 5891.008 | 66.4613 | 199.4457 | 199.4457 | 132.9638
ResACSwch | Bin 4 | 6074.19 | 76.532 | 183.182 | 0 | 183.182
NRCoolSwchSm | Bin 4 | 6089.3563 | 81.7628 | 15.1663 | 0 | 15.1663
ResEVSEDLCSwch | Bin 4 | 6310.0094 | 131.0011 | 220.653 | 220.653 | 220.653
ResHPWHDLCGrd | Bin 4 | 6331.8067 | 166.1082 | 21.7974 | 21.7974 | 10.8987
ResHPWHDLCSwch | Bin 4 | 6333.73 | 264.1522 | 1.9233 | 1.9233 | 1.4425

## Reporter Outputs
Summer Potential
Product | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | LEVELIZED COST | Winter 2041 Pot | Winter lev cost | Ratio of summer to winter lev costs | Setup ($/kW-yr) | Equip+Marketing+One-Time ($/kW-yr) | O&M +Incentive ($/kW-yr)
NRCurtailCom | 5.2093 | 10.5961 | 16.1653 | 23.3269 | 31.1554 | 33.4582 | 34.8573 | 36.1614 | 37.5269 | 39.0134 | 40.5611 | 41.2631 | 42.735 | 43.9463 | 44.7795 | 45.1834 | 46.3973 | 46.9762 | 48.2703 | 49.0033 | 27.1177 | 54.1041 | 27.103 | 0.99972 | 0.16 | 0.96 | 26 | 0
NRCurtailInd | 31.3059 | 63.8381 | 98.5536 | 136.1022 | 176.5616 | 182.5313 | 187.6761 | 192.6654 | 198.6383 | 205.9326 | 211.6743 | 215.8279 | 219.9629 | 225.0608 | 230.9714 | 237.3311 | 243.5221 | 248.036 | 252.6433 | 257.478 | 20.9826 | 218.0231 | 20.9878 | 1.0001 | 0.03 | 0.95 | 20 | 0
NRIrrLg | 53.5318 | 108.3197 | 170.0455 | 231.2373 | 292.2932 | 295.1455 | 299.187 | 302.6427 | 307.9504 | 312.0878 | 315.7807 | 320.1831 | 324.8238 | 331.3986 | 336.9232 | 342.2979 | 348.1432 | 354.2088 | 361.1794 | 368.2242 | 13.7789 | 0 | 0 |  | 0.04 | 0.24 | 13.5 | 0
NRIrrSmMed | 63.091 | 127.6625 | 200.4108 | 272.5297 | 344.4884 | 347.85 | 352.6132 | 356.6861 | 362.9415 | 367.8178 | 372.1701 | 377.3586 | 382.828 | 390.5769 | 397.0881 | 403.4225 | 410.3116 | 417.4604 | 425.6757 | 433.9785 | 15.5237 | 0 | 0 |  | 0.03 | 0.99 | 14.5 | 0
DVR | 45.2654 | 90.8559 | 138.0712 | 195.8088 | 251.9192 | 324.9165 | 391.2087 | 449.5356 | 509.7212 | 588.4641 | 615.6149 | 609.7833 | 633.3497 | 654.9177 | 655.1797 | 646.984 | 669.1497 | 663.8809 | 688.9782 | 693.5552 | 9.9541 | 837.889 | 9.952 | 0.99989 | 0.01 | 4.94 | 5 | 0
IndRTP | 4.2845 | 8.7368 | 13.4879 | 18.6268 | 24.164 | 24.981 | 25.6852 | 26.368 | 27.1854 | 28.1837 | 28.9695 | 29.538 | 30.1039 | 30.8016 | 31.6105 | 32.4809 | 33.3282 | 33.9459 | 34.5765 | 35.2382 | 1.988 | 15.2501 | 4.5937 | 1.3959 | 0.21 | 0.24 | 1.53 | 0
ResCPP | 57.5055 | 113.9794 | 172.1777 | 241.9156 | 301.3603 | 326.3483 | 334.3358 | 325.7591 | 318.0727 | 330.6059 | 349.1564 | 335.0158 | 350.2044 | 364.8765 | 356.6014 | 341.5359 | 356.6666 | 344.1231 | 362.5069 | 360.5599 | 5.5815 | 146.1978 | 13.7655 | 1.423 | 0.02 | 5.43 | 0.13 | 0
ResTOU | 48.9487 | 97.0193 | 146.5577 | 205.9186 | 256.5179 | 277.7876 | 284.5866 | 277.2862 | 270.7435 | 281.4117 | 297.2019 | 285.1654 | 298.094 | 310.5828 | 303.5391 | 290.7153 | 303.5946 | 292.9176 | 308.5659 | 306.9086 | 12.089 | 105.5223 | 35.1604 | 1.4883 | 0.02 | 11.91 | 0.15 | 0
NRCoolSwchMed | 7.261 | 14.7242 | 22.3489 | 30.1114 | 38.1317 | 38.7586 | 39.3397 | 39.9371 | 40.5603 | 41.1172 | 41.7328 | 42.4051 | 43.0195 | 43.7584 | 44.4292 | 45.1414 | 45.8883 | 46.7154 | 47.4281 | 48.1469 | 21.6455 | 0 | 0 |  | 0.14 | 14.66 | 6.85 | 0
NRCoolSwchSm | 2.574 | 5.1855 | 7.8248 | 10.4853 | 13.2158 | 13.361 | 13.477 | 13.5838 | 13.6979 | 13.8113 | 13.9302 | 14.0515 | 14.1794 | 14.3279 | 14.4611 | 14.599 | 14.7395 | 14.8935 | 15.0401 | 15.1663 | 91.5352 | 0 | 0 |  | 0.43 | 56.63 | 34.48 | 0
ComCPP | 18.0704 | 36.7561 | 56.075 | 80.9174 | 108.073 | 116.0611 | 120.9143 | 125.4381 | 130.1747 | 135.3313 | 140.7001 | 143.1351 | 148.2409 | 152.4426 | 155.333 | 156.7341 | 160.9449 | 162.9528 | 167.4418 | 169.9845 | 3.1104 | 84.7676 | 6.2374 | 1.3345 | 0.04 | 2.74 | 0.32 | 0
IndCPP | 19.2802 | 39.3157 | 60.6958 | 83.8206 | 108.7382 | 112.4147 | 115.5832 | 118.6559 | 122.3344 | 126.8268 | 130.3628 | 132.9209 | 135.4675 | 138.6071 | 142.2473 | 146.164 | 149.9768 | 152.7568 | 155.5942 | 158.5718 | 0.63059 | 68.6256 | 1.4571 | 1.3959 | 0.05 | 0.24 | 0.34 | 0
NRTstatSm | 3.9039 | 7.8646 | 11.8675 | 15.9027 | 20.0438 | 20.264 | 20.44 | 20.6019 | 20.775 | 20.947 | 21.1273 | 21.3113 | 21.5053 | 21.7305 | 21.9325 | 22.1416 | 22.3548 | 22.5883 | 22.8107 | 23.0021 | 38.0188 | 22.1884 | 35.9103 | 0.97277 | 0.28 | 8.83 | 28.9 | 0
ResACSwch | 31.6267 | 63.8138 | 96.6109 | 129.9564 | 163.8355 | 165.1897 | 166.5364 | 167.817 | 169.1309 | 170.4302 | 171.7237 | 173.0329 | 174.3099 | 175.6173 | 176.8937 | 178.1603 | 179.45 | 180.6988 | 181.9421 | 183.182 | 86.3045 | 0 | 0 |  | 0.06 | 52.04 | 34.21 | 0
ResBYOT | 10.8477 | 21.9025 | 33.1845 | 44.6659 | 56.3407 | 56.8361 | 57.33 | 57.7957 | 58.2708 | 58.7364 | 59.1991 | 59.6646 | 60.1106 | 60.5622 | 60.9987 | 61.426 | 61.8583 | 62.272 | 62.6798 | 63.0864 | 19.7707 | 99.6081 | 27.0804 | 1.2264 | 0.1 | 8.13 | 11.54 | 0
ResERWHDLCSwch | 76.1474 | 147.6581 | 213.5668 | 315.1323 | 409.4797 | 408.61 | 395.6285 | 373.4456 | 344.4824 | 310.2507 | 271.8948 | 230.3442 | 186.1996 | 139.9697 | 125.3578 | 127.0643 | 128.6729 | 130.1683 | 131.5955 | 132.9638 | 95.2922 | 199.4457 | 63.5281 | 0.8 | 0.02 | 61.99 | 33.28 | 0
ResERWHDLCGrd | 4.0078 | 18.2499 | 43.7426 | 94.1304 | 167.2523 | 264.0249 | 384.8996 | 529.8699 | 699.2259 | 892.9166 | 1009.8951 | 1127.8921 | 1246.7278 | 1366.7631 | 1420.7221 | 1440.0619 | 1458.2926 | 1475.2409 | 1491.4155 | 1506.9227 | 52.5698 | 1506.9227 | 52.5698 | 1 | 0.01 | 16.8 | 35.76 | 0
ResEVSEDLCSwch | 0.76472 | 2.5363 | 7.4415 | 17.6622 | 34.3629 | 47.8588 | 61.6754 | 75.4304 | 89.2146 | 102.6904 | 115.8145 | 128.6352 | 141.1444 | 153.3593 | 165.2602 | 176.8876 | 188.2438 | 199.2916 | 210.1111 | 220.653 | 140.7735 | 220.653 | 140.7735 | 1 | 0.06 | 104 | 36.71 | 0
ResHPWHDLCSwch | 0.82591 | 1.6015 | 2.3164 | 3.4183 | 4.4419 | 4.4326 | 4.2918 | 4.0512 | 3.7371 | 3.3657 | 2.9496 | 2.4989 | 2.02 | 1.5185 | 1.36 | 1.3785 | 1.3959 | 1.4121 | 1.4276 | 1.4425 | 319.5788 | 1.9233 | 239.6841 | 0.85714 | 2 | 206.65 | 110.92 | 0
ResHPWHDLCGrd | 0.028979 | 0.13196 | 0.3163 | 0.6807 | 1.2095 | 1.9094 | 2.7836 | 3.8321 | 5.057 | 6.4578 | 7.3039 | 8.1573 | 9.0168 | 9.8849 | 10.2752 | 10.4151 | 10.547 | 10.6695 | 10.7865 | 10.8987 | 263.821 | 21.7974 | 131.9105 | 0.66667 | 1.01 | 84.02 | 178.78 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Winter Potential
Product | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | LEVELIZED COST
NRCurtailCom | 5.7516 | 11.699 | 17.848 | 25.7551 | 34.3984 | 36.9409 | 38.4856 | 39.9255 | 41.4331 | 43.0744 | 44.7832 | 45.5583 | 47.1834 | 48.5207 | 49.4407 | 49.8867 | 51.2269 | 51.866 | 53.2948 | 54.1041 | 27.103 |  |  |  | 0.14 | 0.96 | 26 | 0
NRCurtailInd | 26.5087 | 54.0558 | 83.4516 | 115.2465 | 149.506 | 154.5609 | 158.9173 | 163.1421 | 168.1998 | 174.3763 | 179.2381 | 182.7552 | 186.2566 | 190.5733 | 195.5782 | 200.9634 | 206.2057 | 210.0279 | 213.9292 | 218.0231 | 20.9878 |  |  |  | 0.03 | 0.95 | 20 | 0
DVR | 54.6855 | 109.7637 | 166.8048 | 236.558 | 304.3454 | 392.534 | 472.622 | 543.0872 | 615.7978 | 710.9277 | 743.7287 | 736.6835 | 765.1543 | 791.2107 | 791.5273 | 781.626 | 808.4045 | 802.0392 | 832.3594 | 837.889 | 9.952 |  |  |  | 0.01 | 4.94 | 5 | 0
IndRTP | 1.8542 | 3.7811 | 5.8372 | 8.0612 | 10.4575 | 10.8111 | 11.1158 | 11.4113 | 11.7651 | 12.1972 | 12.5372 | 12.7832 | 13.0281 | 13.3301 | 13.6802 | 14.0568 | 14.4235 | 14.6909 | 14.9638 | 15.2501 | 4.5937 |  |  |  | 0.49 | 0.56 | 3.54 | 0
ResCPP | 23.317 | 46.2157 | 69.8136 | 98.0906 | 122.1939 | 132.3258 | 135.5646 | 132.087 | 128.9703 | 134.0522 | 141.5739 | 135.8403 | 141.9989 | 147.948 | 144.5927 | 138.484 | 144.6191 | 139.5331 | 146.9873 | 146.1978 | 13.7655 |  |  |  | 0.04 | 13.4 | 0.32 | 0
ResTOU | 16.8297 | 33.3575 | 50.3899 | 70.7996 | 88.1968 | 95.5099 | 97.8475 | 95.3374 | 93.0879 | 96.7559 | 102.1849 | 98.0465 | 102.4917 | 106.7856 | 104.3638 | 99.9547 | 104.3829 | 100.7119 | 106.0921 | 105.5223 | 35.1604 |  |  |  | 0.06 | 34.65 | 0.45 | 0
NRHeatSwchMed | 1.3657 | 3.483 | 6.25 | 9.5781 | 13.4359 | 14.8431 | 16.1376 | 17.3561 | 18.5112 | 19.565 | 20.5851 | 21.575 | 22.485 | 23.4204 | 24.2768 | 25.1253 | 25.9553 | 26.8052 | 27.5569 | 28.288 | 22.5765 |  |  |  | 0.31 | 13.75 | 8.51 | 0
NRHeatSwchSm | 1.5022 | 3.8002 | 6.7731 | 10.3152 | 14.391 | 15.7985 | 17.0558 | 18.196 | 19.2504 | 20.2183 | 21.1179 | 21.9527 | 22.7374 | 23.5031 | 24.1953 | 24.8529 | 25.4744 | 26.0846 | 26.6502 | 27.1517 | 47.3045 |  |  |  | 0.31 | 24.79 | 22.21 | 0
ComCPP | 9.0113 | 18.3295 | 27.9634 | 40.3518 | 53.8937 | 57.8772 | 60.2973 | 62.5532 | 64.9153 | 67.4868 | 70.1641 | 71.3784 | 73.9245 | 76.0198 | 77.4612 | 78.1599 | 80.2598 | 81.261 | 83.4996 | 84.7676 | 6.2374 |  |  |  | 0.09 | 5.5 | 0.65 | 0
IndCPP | 8.344 | 17.0148 | 26.2675 | 36.2753 | 47.0589 | 48.65 | 50.0213 | 51.3511 | 52.943 | 54.8872 | 56.4175 | 57.5246 | 58.6267 | 59.9854 | 61.5608 | 63.2558 | 64.9059 | 66.109 | 67.337 | 68.6256 | 1.4571 |  |  |  | 0.11 | 0.56 | 0.79 | 0
NRTstatSm | 1.2276 | 3.1055 | 5.535 | 8.4296 | 11.7603 | 12.9105 | 13.938 | 14.8698 | 15.7314 | 16.5224 | 17.2575 | 17.9398 | 18.581 | 19.2067 | 19.7724 | 20.3098 | 20.8177 | 21.3164 | 21.7786 | 22.1884 | 35.9103 |  |  |  | 0.37 | 6.64 | 28.9 | 0
ResBYOT | 9.9955 | 20.623 | 31.8942 | 47.8202 | 65.3944 | 70.1936 | 74.3404 | 77.9105 | 81.0486 | 83.8055 | 86.2364 | 88.4016 | 90.3193 | 92.0578 | 93.6135 | 95.0212 | 96.3226 | 97.5004 | 98.5889 | 99.6081 | 27.0804 |  |  |  | 0.07 | 13.49 | 13.51 | 0
ResHeatSwitch | 98.631 | 203.2617 | 313.9441 | 470.2072 | 642.404 | 688.9246 | 728.9513 | 763.3845 | 793.5896 | 820.1316 | 843.488 | 864.291 | 882.8624 | 899.7983 | 915.0573 | 929.0121 | 942.0085 | 953.9106 | 965.0433 | 975.5058 | 35.5036 |  |  |  | 0 | 27.93 | 7.58 | 0
ResERWHDLCSwch | 114.2211 | 221.4871 | 320.3503 | 472.6985 | 614.2195 | 612.9151 | 593.4428 | 560.1683 | 516.7235 | 465.376 | 407.8423 | 345.5162 | 279.2994 | 209.9546 | 188.0367 | 190.5964 | 193.0093 | 195.2525 | 197.3932 | 199.4457 | 63.5281 |  |  |  | 0.01 | 41.33 | 22.18 | 0
ResERWHDLCGrd | 4.0078 | 18.2499 | 43.7426 | 94.1304 | 167.2523 | 264.0249 | 384.8996 | 529.8699 | 699.2259 | 892.9166 | 1009.8951 | 1127.8921 | 1246.7278 | 1366.7631 | 1420.7221 | 1440.0619 | 1458.2926 | 1475.2409 | 1491.4155 | 1506.9227 | 52.5698 |  |  |  | 0.01 | 16.8 | 35.76 | 0
ResEVSEDLCSwch | 0.76472 | 2.5363 | 7.4415 | 17.6622 | 34.3629 | 47.8588 | 61.6754 | 75.4304 | 89.2146 | 102.6904 | 115.8145 | 128.6352 | 141.1444 | 153.3593 | 165.2602 | 176.8876 | 188.2438 | 199.2916 | 210.1111 | 220.653 | 140.7735 |  |  |  | 0.06 | 104 | 36.71 | 0
ResHPWHDLCSwch | 1.1012 | 2.1354 | 3.0886 | 4.5577 | 5.9225 | 5.9101 | 5.7224 | 5.4016 | 4.9828 | 4.4876 | 3.9329 | 3.3319 | 2.6933 | 2.0246 | 1.8133 | 1.838 | 1.8612 | 1.8829 | 1.9035 | 1.9233 | 239.6841 |  |  |  | 1.5 | 154.99 | 83.19 | 0
ResHPWHDLCGrd | 0.057959 | 0.26393 | 0.6326 | 1.3614 | 2.4191 | 3.8188 | 5.5673 | 7.6642 | 10.1139 | 12.9157 | 14.6078 | 16.3146 | 18.0336 | 19.7699 | 20.5504 | 20.8302 | 21.0939 | 21.3391 | 21.5731 | 21.7974 | 131.9105 |  |  |  | 0.5 | 42.01 | 89.4 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## EnergyCalcs
[6 empty] | Hours/quarter | 2166 | 2184 | 2208 | 2208
[7 empty] | Net hours of dispatch |  |  |  | Percent of Capacity |  |  |  | Implied Energy Reduction (aMW)
Product | Bin | Seasonality | Dispatch Assumption (# hours per product) | Shift or Shed? | 2027 Winter Potential (MW) | 2027 Summer Potential (MW) | Q1 | Q2 | Q3 | Q4 | Q1 | Q2 | Q3 | Q4 | Q1 | Q2 | Q3 | Q4
NRCurtailCom | Bin 2 | Year-round | 20 | Shift | 36.9409 | 33.4582 | 10 | 0 | 20 | 10 | 0.4617% | 0% | 0.9058% | 0.4529% | 0 | 0 | 0 | 0
NRCurtailInd | Bin 2 | Year-round | 20 | Shift | 154.5609 | 182.5313 | 10 | 0 | 20 | 10 | 0.4617% | 0% | 0.9058% | 0.4529% | 0 | 0 | 0 | 0
NRIrrLg | Bin 1 | Summer | 20 | Shed | 0 | 295.1455 | 0 | 0 | 20 | 0 | 0% | 0% | 0.9058% | 0% | 0 | 0 | 2.6734 | 0
NRIrrSmMed | Bin 1 | Summer | 20 | Shed | 0 | 347.85 | 0 | 0 | 20 | 0 | 0% | 0% | 0.9058% | 0% | 0 | 0 | 3.1508 | 0
ComCPP | Bin 1 | Year-round | 20 | Shed | 57.8772 | 116.0611 | 10 | 0 | 20 | 10 | 0.4617% | 0% | 0.9058% | 0.4529% | 0.26721 | 0 | 1.0513 | 0.26212
IndCPP | Bin 1 | Year-round | 20 | Shed | 48.65 | 112.4147 | 10 | 0 | 20 | 10 | 0.4617% | 0% | 0.9058% | 0.4529% | 0.22461 | 0 | 1.0182 | 0.22034
DVR | Bin 1 | Year-round | 20 | Shed | 392.534 | 324.9165 | 10 | 0 | 20 | 10 | 0.4617% | 0% | 0.9058% | 0.4529% | 1.8123 | 0 | 2.9431 | 1.7778
IndRTP | Bin 1 | Year-round | 20 | Shift | 10.8111 | 24.981 | 10 | 0 | 20 | 10 | 0.4617% | 0% | 0.9058% | 0.4529% | 0 | 0 | 0 | 0
ResCPP | Bin 1 | Year-round | 20 | Shed | 132.3258 | 326.3483 | 10 | 0 | 20 | 10 | 0.4617% | 0% | 0.9058% | 0.4529% | 0.61092 | 0 | 2.9561 | 0.5993
ResTOU | Bin 1 | Year-round | 20 | Shift | 95.5099 | 277.7876 | 10 | 0 | 20 | 10 | 0.4617% | 0% | 0.9058% | 0.4529% | 0 | 0 | 0 | 0
NRCoolSwchMed | Bin 2 | Summer | 20 | Shift | 0 | 38.7586 | 0 | 0 | 20 | 0 | 0% | 0% | 0.9058% | 0% | 0 | 0 | 0 | 0
NRHeatSwchMed | Bin 2 | Winter | 20 | Shift | 14.8431 | 0 | 10 | 0 | 0 | 10 | 0.4617% | 0% | 0% | 0.4529% | 0 | 0 | 0 | 0
NRCoolSwchSm | Bin 4 | Summer | 20 | Shift | 0 | 13.361 | 0 | 0 | 20 | 0 | 0% | 0% | 0.9058% | 0% | 0 | 0 | 0 | 0
NRHeatSwchSm | Bin 3 | Winter | 20 | Shift | 15.7985 | 0 | 10 | 0 | 0 | 10 | 0.4617% | 0% | 0% | 0.4529% | 0 | 0 | 0 | 0
NRTstatSm | Bin 3 | Year-round | 20 | Shift | 12.9105 | 20.264 | 10 | 0 | 20 | 10 | 0.4617% | 0% | 0.9058% | 0.4529% | 0 | 0 | 0 | 0
ResACSwch | Bin 4 | Summer | 20 | Shift | 0 | 165.1897 | 0 | 0 | 20 | 0 | 0% | 0% | 0.9058% | 0% | 0 | 0 | 0 | 0
ResHeatSwitch | Bin 3 | Winter | 20 | Shift | 688.9246 | 0 | 10 | 0 | 0 | 10 | 0.4617% | 0% | 0% | 0.4529% | 0 | 0 | 0 | 0
ResBYOT | Bin 2 | Year-round | 20 | Shift | 70.1936 | 56.8361 | 10 | 0 | 20 | 10 | 0.4617% | 0% | 0.9058% | 0.4529% | 0 | 0 | 0 | 0
ResERWHDLCSwch | Bin 3 | Year-round | 20 | Shift | 612.9151 | 408.61 | 10 | 0 | 20 | 10 | 0.4617% | 0% | 0.9058% | 0.4529% | 0 | 0 | 0 | 0
ResERWHDLCGrd | Bin 3 | Year-round | 20 | Shift | 264.0249 | 264.0249 | 10 | 0 | 20 | 10 | 0.4617% | 0% | 0.9058% | 0.4529% | 0 | 0 | 0 | 0
ResEVSEDLCSwch | Bin 4 | Year-round | 20 | Shift | 47.8588 | 47.8588 | 10 | 0 | 20 | 10 | 0.4617% | 0% | 0.9058% | 0.4529% | 0 | 0 | 0 | 0
ResHPWHDLCSwch | Bin 4 | Year-round | 20 | Shift | 5.9101 | 4.4326 | 10 | 0 | 20 | 10 | 0.4617% | 0% | 0.9058% | 0.4529% | 0 | 0 | 0 | 0
ResHPWHDLCGrd | Bin 4 | Year-round | 20 | Shift | 3.8188 | 1.9094 | 10 | 0 | 20 | 10 | 0.4617% | 0% | 0.9058% | 0.4529% | 0 | 0 | 0 | 0
Season | Shift vs Shed
Year-round | Shift
Summer | Shed
Winter
Note on H3: Tina Jayaweera: Jan-Mar
Note on I3: Tina Jayaweera: Apr-June
Note on J3: Tina Jayaweera: July-Sept
Note on K3: Tina Jayaweera: Oct-Dec
Note on L3: Tina Jayaweera: Jan-Mar
Note on M3: Tina Jayaweera: Apr-June
Note on N3: Tina Jayaweera: July-Sept
Note on O3: Tina Jayaweera: Oct-Dec
Note on P3: Tina Jayaweera: Jan-Mar
Note on Q3: Tina Jayaweera: Apr-June
Note on R3: Tina Jayaweera: July-Sept
Note on S3: Tina Jayaweera: Oct-Dec

## Binning
Bin | Planning Costs ($/kW-yr) | Construction Costs ($/kW-yr) | Fixed O&M Costs ($/kW-yr) | Variable O&M ($/kW-yr) | Total Levelized Cost ($/kW-yr) | Total Potential (MW)
Bin 1 | 0.032009 | 5.0806 | -3.8529 | 150 | 1.2627 | 2671.3547
Bin 2 | 0.080911 | 5.1844 | 7.4466 | 150 | 12.7158 | 487.6252
Bin 3 | 0.012348 | 23.1714 | 15.0659 | 150 | 38.2476 | 2732.028
Bin 4 | 0.1099 | 78.8332 | 30.1414 | 150 | 109.084 | 442.722
Cumulative Potential (MW)
Bin | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041
Bin 1 | 319.3976 | 641.5532 | 986.2553 | 1371.5241 | 1739.9803 | 1893.1223 | 2005.5271 | 2075.9232 | 2155.2005 | 2293.1927 | 2378.0703 | 2360.0004 | 2434.9168 | 2510.4968 | 2514.8699 | 2494.9764 | 2571.3704 | 2560.4045 | 2647.8999 | 2671.3547
Bin 2 | 56.532 | 115.6468 | 178.185 | 249.367 | 327.9219 | 343.2675 | 355.9794 | 367.7945 | 380.1916 | 393.4947 | 405.0119 | 413.7678 | 422.9701 | 432.818 | 442.7316 | 452.5056 | 462.9153 | 470.923 | 479.512 | 487.6252
Bin 3 | 222.2659 | 454.6634 | 696.6775 | 1063.254 | 1458.3106 | 1601.9272 | 1744.7895 | 1892.2206 | 2049.5644 | 2219.5894 | 2303.4705 | 2380.9633 | 2453.1323 | 2521.7495 | 2569.9439 | 2606.6649 | 2641.1396 | 2673.077 | 2703.3129 | 2732.028
Bin 4 | 36.1246 | 73.9349 | 115.5983 | 164.0231 | 219.7558 | 236.1385 | 252.9785 | 269.8971 | 287.1402 | 304.3352 | 320.009 | 335.3661 | 350.3606 | 365.099 | 378.9787 | 392.3151 | 405.3885 | 418.1059 | 430.5698 | 442.722
Winter Cumulative Potential (MW)
Bin | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041
Bin 1 | 114.0416 | 228.4622 | 347.0765 | 490.1364 | 626.1462 | 737.708 | 827.4685 | 895.8272 | 967.4795 | 1076.3069 | 1126.6064 | 1112.2565 | 1155.2242 | 1195.2796 | 1193.186 | 1175.5372 | 1216.9957 | 1204.345 | 1251.2391 | 1258.2524
Bin 2 | 43.6216 | 89.8608 | 139.4438 | 198.3999 | 262.7346 | 276.5385 | 287.8809 | 298.3342 | 309.1927 | 320.8212 | 330.843 | 338.2901 | 346.2443 | 354.5722 | 362.9092 | 370.9965 | 379.7106 | 386.1995 | 393.3699 | 400.0234
Bin 3 | 219.5896 | 449.9043 | 690.345 | 1055.781 | 1450.0271 | 1594.5736 | 1738.2875 | 1886.4884 | 2044.5209 | 2215.1648 | 2299.6007 | 2377.5918 | 2450.208 | 2519.2257 | 2567.7838 | 2604.8331 | 2639.6025 | 2671.8051 | 2702.2808 | 2731.2143
Bin 4 | 1.9239 | 4.9356 | 11.1627 | 23.5813 | 42.7045 | 57.5878 | 72.9651 | 88.4963 | 104.3113 | 120.0937 | 134.3551 | 148.2816 | 161.8714 | 175.1538 | 187.6239 | 199.5558 | 211.199 | 222.5136 | 233.5877 | 244.3737
Summer Cumulative Potential (MW)
Bin | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041
Bin 1 | 309.9775 | 622.6454 | 957.5217 | 1330.7749 | 1687.5541 | 1825.5048 | 1924.1138 | 1982.3717 | 2049.1239 | 2170.7291 | 2249.9564 | 2233.1002 | 2303.1123 | 2374.2037 | 2378.5223 | 2360.3345 | 2432.1156 | 2422.2462 | 2504.5186 | 2527.0209
Bin 2 | 54.624 | 111.0609 | 170.2523 | 234.2064 | 302.1894 | 311.5843 | 319.2031 | 326.5595 | 334.9963 | 344.7998 | 353.1673 | 359.1606 | 365.828 | 373.3276 | 381.1788 | 389.0819 | 397.6661 | 403.9996 | 411.0215 | 417.7146
Bin 3 | 84.0591 | 173.7725 | 269.1769 | 425.1654 | 596.7758 | 692.899 | 800.9682 | 923.9174 | 1064.4833 | 1224.1142 | 1302.9172 | 1379.5476 | 1454.4326 | 1528.4633 | 1568.0124 | 1589.2679 | 1609.3203 | 1627.9976 | 1645.8217 | 1662.8886
Bin 4 | 35.8203 | 73.2691 | 114.5099 | 162.2029 | 217.0656 | 232.7516 | 248.7642 | 264.7146 | 280.8375 | 296.7555 | 311.7219 | 326.3758 | 340.6705 | 354.7079 | 368.2502 | 381.4405 | 394.3762 | 406.9656 | 419.3074 | 431.3425
ENERGY
Bin | Q1 | Q2 | Q3 | Q4
Bin 1 | 0.3951% | 0% | 0.7556% | 0.3876%
Bin 2 | 0% | 0% | 0% | 0%
Bin 3 | 0% | 0% | 0% | 0%
Bin 4 | 0% | 0% | 0% | 0%
Note on C2: Tina Jayaweera: Setup Costs
Note on D2: Tina Jayaweera: O&M Cost + Fixed incentive
Note on E2: Tina Jayaweera: Equipment + Marketing + One-time incentive
Note on F2: Tina Jayaweera: Variable incentive

## SetupForRPM
| 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2030 | 2032 | 2034 | 2036 | 2038 | 2040
Demand Response Price Bin 1 | 319.3976 | 322.1556 | 344.7021 | 385.2689 | 368.4561 | 153.142 | 112.4049 | 149.6734 | 222.8697 | 56.8466 | 79.953 | 56.5005 | 76.5295 | Potential Ramp Predictions by RPM Decision Period
Demand Response Price Bin 2 | 56.532 | 59.1148 | 62.5382 | 71.1821 | 78.5549 | 15.3456 | 12.7119 | 24.2122 | 24.8203 | 17.9582 | 19.7615 | 20.1838 | 16.5967
Demand Response Price Bin 3 | 222.2659 | 232.3975 | 242.0141 | 366.5765 | 395.0566 | 143.6165 | 142.8624 | 304.7749 | 253.9061 | 149.6618 | 116.8116 | 71.1958 | 62.1733
Demand Response Price Bin 4 | 36.1246 | 37.8103 | 41.6634 | 48.4248 | 55.7327 | 16.3827 | 16.84 | 34.1617 | 32.8688 | 30.3516 | 28.6181 | 26.4098 | 25.1813
| <----------------------------------Ramp years-----------------------------------------------> | [5 empty] | <-------------------------------Mostly Replacement Years------------------------>
| 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2030 | 2032 | 2034 | 2036 | 2038 | 2040
Demand Response Price Bin 1 | 319.3976 | 641.5532 | 986.2553 | 1371.5241 | 1739.9803 | 1893.1223 | 2005.5271 | 2155.2005 | 2378.0703 | 2434.9168 | 2514.8699 | 2571.3704 | 2647.8999 | Max Acquisitions Check - Potential Study
Demand Response Price Bin 2 | 56.532 | 115.6468 | 178.185 | 249.367 | 327.9219 | 343.2675 | 355.9794 | 380.1916 | 405.0119 | 422.9701 | 442.7316 | 462.9153 | 479.512
Demand Response Price Bin 3 | 222.2659 | 454.6634 | 696.6775 | 1063.254 | 1458.3106 | 1601.9272 | 1744.7895 | 2049.5644 | 2303.4705 | 2453.1323 | 2569.9439 | 2641.1396 | 2703.3129
Demand Response Price Bin 4 | 36.1246 | 73.9349 | 115.5983 | 164.0231 | 219.7558 | 236.1385 | 252.9785 | 287.1402 | 320.009 | 350.3606 | 378.9787 | 405.3885 | 430.5698
| 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2030 | 2032 | 2034 | 2036 | 2038 | 2040
Demand Response Price Bin 1 | 315.5204 | 631.0408 | 946.5611 | 1262.0815 | 1577.6019 | 1893.1223 | 2208.6427 | 2524.1631 | 2647.8999 | 2647.8999 | 2647.8999 | 2647.8999 | 2647.8999 | Max Acquisitions Check - RPM Inputs
Demand Response Price Bin 2 | 57.2113 | 114.4225 | 171.6338 | 228.845 | 286.0563 | 343.2675 | 400.4788 | 457.69 | 479.512 | 479.512 | 479.512 | 479.512 | 479.512
Demand Response Price Bin 3 | 266.9879 | 533.9757 | 800.9636 | 1067.9514 | 1334.9393 | 1601.9272 | 1868.915 | 2135.9029 | 2402.8907 | 2669.8786 | 2703.3129 | 2703.3129 | 2703.3129
Demand Response Price Bin 4 | 39.3564 | 78.7128 | 118.0693 | 157.4257 | 196.7821 | 236.1385 | 275.4949 | 314.8513 | 354.2078 | 393.5642 | 430.5698 | 430.5698 | 430.5698
| Max Acquisitions over study |  | If unit size not 1
Demand Response Price Bin 1 | 2647.8999 |  | 265
Demand Response Price Bin 2 | 479.512 |  | 48
Demand Response Price Bin 3 | 2703.3129 |  | 270
Demand Response Price Bin 4 | 430.5698 |  | 43
| Ramp per Period | Amount Available in first six years | If unit size not 1
Demand Response Price Bin 1 | 315.5204 | 1893.1223 | 32
Demand Response Price Bin 2 | 57.2113 | 343.2675 | 6
Demand Response Price Bin 3 | 266.9879 | 1601.9272 | 27
Demand Response Price Bin 4 | 39.3564 | 236.1385 | 4
New Resource MW
| 1 | 2 | 3 | 4
Bin 1 | 47.1% | 0% | 94.6% | 47.1%
Bin 2 | 82.04% | 0% | 85.66% | 82.04%
Bin 3 | 99.97% | 0% | 60.87% | 99.97%
Bin 4 | 55.2% | 0% | 97.43% | 55.2%
Unit Size Conversion Capacity | 1 | 2 | 3 | 4
10 | 4.7102 | 0 | 9.4597 | 4.7102 | Demand Response Price Bin 1
10 | 8.2035 | 0 | 8.5663 | 8.2035 | Demand Response Price Bin 2
10 | 9.997 | 0 | 6.0866 | 9.997 | Demand Response Price Bin 3
10 | 5.5198 | 0 | 9.743 | 5.5198 | Demand Response Price Bin 4
New Resource Mwa
| 1 | 2 | 3 | 4
Demand Response Price Bin 1 | 0.3951% | 0% | 0.7556% | 0.3876%
Demand Response Price Bin 2 | 0% | 0% | 0% | 0%
Demand Response Price Bin 3 | 0% | 0% | 0% | 0%
Demand Response Price Bin 4 | 0% | 0% | 0% | 0%
Unit Size Conversion Energy | 1 | 2 | 3 | 4
10 | 0.039514 | 0 | 0.075557 | 0.038763 | Demand Response Price Bin 1
10 | 0 | 0 | 0 | 0 | Demand Response Price Bin 2
10 | 0 | 0 | 0 | 0 | Demand Response Price Bin 3
10 | 0 | 0 | 0 | 0 | Demand Response Price Bin 4
|  | 2026 Winter | 2031 Winter | 2041 Winter | 2025 Summer | 2030 Summer | 2040 Summer
Demand Response Price Bin 1 |  | 626.1462 | 1076.3069 | 1258.2524 | 1330.7749 | 2049.1239 | 2504.5186
Demand Response Price Bin 2 |  | 262.7346 | 320.8212 | 400.0234 | 234.2064 | 334.9963 | 411.0215
Demand Response Price Bin 3 |  | 1450.0271 | 2215.1648 | 2731.2143 | 425.1654 | 1064.4833 | 1645.8217
Demand Response Price Bin 4 |  | 42.7045 | 120.0937 | 244.3737 | 162.2029 | 280.8375 | 419.3074