## Slide 1: Pacific Northwest Smart Grid Demonstration
Presented to the Pacific Northwest Demand Response Project, Northwest Power and Conservation Council, Portland, Oregon
Don Hammerstrom, Principal Investigator, Pacific Northwest Smart Grid Demonstration, Battelle, PNWD
April 27, 2010

## Slide 2: Olympic Peninsula GridWise® Demonstration
IBM
ancillary services
distribution congestion
transmission congestion
wholesale cost
Johnson Controls
Invensys
Johnson
Controls
$
MW
Clallam PUD & Port Angeles
n = 120, 0.5 MW DR
Clallam County
PUD Water
Supply District
0.2 MW DR
Internet broadband
communications
Market
Sequim Marine Sciences Lab
0.3 MW DR
0.5 MW DG

## Slide 3: A 5-minute Energy Market

## Slide 4
Price-based Distribution Dispatch
Pclear
Qclear
Quantity (kW)
Price ($/MWh)
Large commercial customers with asynchronous DG or managed loads
First synchronous DG unit
Feeder
Residential RTP customers
Unresponsive loads (control/fixed/TOU res, and large unmanaged commercial loads)
Second synchronous DG unit

## Slide 5: Transactive Thermostat Control
price
temperature
set
T
min
max
current zone temperature
bid price
market price
desired temperature
maximum temperature limit
min. temp. limit
bid curve
current
set,a
T
T
average price
T
T
adjusted set point
Paverage+ kT_H σ
Paverage- kT_L σ
Pbid
Paverage
Pclear
(cooling mode example)

## Slide 6: Tenets of Transactive Control
Communicate value via one nodal value signal
Dynamic signals
Facilitate interoperability
Multitask
Respond 24/7
Customer-friendly
Distributed control
Low bandwidth

## Slide 7: Simplified Functional Block Diagram of a Node
Upstream
(toward generation)
Downstream
(toward demand)
Value Signal
Demand Signals
Modified Demand Signal
Modified Value Signal
Prediction & Control Machine

## Slide 8: A Nodal Hierarchy

## Slide 9: Understanding the Transactive Behavior—Negotiated Elastic Behavior
Today
Tomorrow
z
Today
Tomorrow
Day After Tomorrow
Next 24 Hours
Next Four Quarter Hours
Next 15 Minutes
$
P

## Slide 10: Conceptual Design – Regional Perspective
Don Hammerstrom 509-372-4087 don.hammerstrom@battelle.org

## Slide 11: Conceptual Design – Utility Perspective
Don Hammerstrom 509-372-4087 don.hammerstrom@battelle.org

## Slide 12: Smart Grid Myths and Misconceptions
We would like to buy a smart grid, please
The efficiency department is down the hall
All we need are more standards
Our customers need more reliable service
Smart grid is the Internet overlaid on the power grid
We need a “big red button” to push
Loads have to act like generators

## Slide 13: Myths that are Holding us Back (continued)
Electrical customers
  Want to know more about their electrical consumption
  Will change their behaviors for a few cents/kWh
  Will not respond unless they are paid
Only a couple residential appliances are worth controlling
My dryer just called and wants to know the electricity price
Loads cannot provide down-regulation

## Slide 14: Contacts and Links
Don Hammerstrom, PI, Pacific Northwest Smart Grid Demonstration Project
  Battelle, Pacific Northwest Division
  902 Battelle Blvd.
  P.O. Box 999, MSIN: K1-85
  don.hammerstrom@battelle.org
  (509) 372-4087
Relevant links and references:
Olympic Peninsula Project final report: www.gridwise.pnl.gov
“Standardization of a Hierarchical Transactive Control System” conference paper: www.gridwiseac.org/pdfs/forum_papers09/don-business.pdf.
Hammerstrom DJ. 2010. "Smart Grid Load Management." Presented by Don Hammerstrom (Invited Speaker) at 2010 Northwest Energy Systems Symposium, Seattle , WA on February 17, 2010. PNNL-SA-70842.