## Target EE
Target EE are calculated cost-effective EE that is determined by Council's Resource Planning Model.
the regional level targets were allocated to each state and subsector based on load levels, prior to EE.
The annual cumulative state and subsector loads are then netted out of Frozen Efficiency load forecasts.
Also included are impact of demand response programs, starting on cell A114.
Sector/End-Use | Annual Energy Savings (incremental) | [19 empty] | Extended from 2042 - 2050 to be equal to incremental amount in 2041
| 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Agriculture | 1.5977 | 1.7489 | 1.9318 | 2.1559 | 2.4308 | 2.6547 | 2.8241 | 2.9976 | 3.1042 | 3.1573 | 3.1187 | 3.0171 | 2.8236 | 2.3784 | 2.1402 | 1.5169 | 1.2356 | 0.95526 | 0.65916 | 0.52828 | 0.52828 | 0.52828 | 0.52828 | 0.52828 | 0.52828 | 0.52828 | 0.52828 | 0.52828 | 0.52828
Irrigation | 0.57687 | 0.61192 | 0.68704 | 0.7973 | 0.94675 | 1.1179 | 1.2995 | 1.475 | 1.6265 | 1.7416 | 1.7944 | 1.7827 | 1.7117 | 1.5833 | 1.4126 | 1.2224 | 1.022 | 0.76996 | 0.49291 | 0.36945 | 0.36945 | 0.36945 | 0.36945 | 0.36945 | 0.36945 | 0.36945 | 0.36945 | 0.36945 | 0.36945
Lighting | 0.14934 | 0.25572 | 0.33108 | 0.39138 | 0.44592 | 0.49413 | 0.53677 | 0.5737 | 0.60608 | 0.63466 | 0.65935 | 0.67865 | 0.62856 | 0.38713 | 0.39119 | 0.016825 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Motors/Drives | 0.83893 | 0.83295 | 0.82526 | 0.81863 | 0.80939 | 0.72012 | 0.57169 | 0.45538 | 0.32859 | 0.22267 | 0.12562 | 0.062498 | 0.050356 | 0.040706 | 0.03273 | 0.026238 | 0.0013979 | 0.00084331 | 0.00049726 | 0.00032898 | 0.00032898 | 0.00032898 | 0.00032898 | 0.00032898 | 0.00032898 | 0.00032898 | 0.00032898 | 0.00032898 | 0.00032898
Process Loads | 0.010589 | 0.013166 | 0.016859 | 0.020843 | 0.025687 | 0.032518 | 0.039572 | 0.046351 | 0.052975 | 0.059134 | 0.065345 | 0.071916 | 0.079851 | 0.089153 | 0.09875 | 0.10804 | 0.11653 | 0.1236 | 0.12871 | 0.13344 | 0.13344 | 0.13344 | 0.13344 | 0.13344 | 0.13344 | 0.13344 | 0.13344 | 0.13344 | 0.13344
Refrigeration | 0.021987 | 0.035147 | 0.071585 | 0.12771 | 0.20307 | 0.28999 | 0.37657 | 0.44708 | 0.49009 | 0.49928 | 0.47405 | 0.42133 | 0.35312 | 0.27815 | 0.20495 | 0.14347 | 0.095644 | 0.060864 | 0.037048 | 0.025056 | 0.025056 | 0.025056 | 0.025056 | 0.025056 | 0.025056 | 0.025056 | 0.025056 | 0.025056 | 0.025056
Commercial | 52.4979 | 58.5393 | 65.3155 | 72.1205 | 76.9749 | 82.198 | 78.092 | 77.3962 | 80.8187 | 80.6955 | 78.8855 | 72.2894 | 60.182 | 44.6648 | 42.1086 | 40.9599 | 39.561 | 37.6988 | 33.2191 | 28.1478 | 28.1478 | 28.1478 | 28.1478 | 28.1478 | 28.1478 | 28.1478 | 28.1478 | 28.1478 | 28.1478
Compressed Air | 0.0011941 | 0.0024158 | 0.0036654 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Electronics | 4.4726 | 6.5625 | 7.9555 | 8.8515 | 9.3967 | 9.4421 | 3.3462 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Food Preparation | 0.28459 | 0.48284 | 0.70728 | 0.956 | 1.2299 | 1.5147 | 1.7954 | 2.0751 | 2.3387 | 2.5708 | 2.7602 | 2.9039 | 2.5431 | 1.9056 | 1.0308 | 1.0375 | 0.9721 | 0.30634 | 0.17232 | 3.4171e-06 | 3.4171e-06 | 3.4171e-06 | 3.4171e-06 | 3.4171e-06 | 3.4171e-06 | 3.4171e-06 | 3.4171e-06 | 3.4171e-06 | 3.4171e-06
HVAC | 2.6137 | 3.6765 | 4.9304 | 6.3855 | 8.003 | 9.9333 | 11.7365 | 13.3063 | 15.0549 | 15.9703 | 16.5834 | 16.5273 | 16.4624 | 16.753 | 16.7764 | 16.7465 | 16.7194 | 16.5566 | 15.5797 | 15.5762 | 15.5762 | 15.5762 | 15.5762 | 15.5762 | 15.5762 | 15.5762 | 15.5762 | 15.5762 | 15.5762
Lighting | 38.2213 | 38.7052 | 39.9449 | 41.4592 | 40.9342 | 40.2175 | 36.9769 | 35.6202 | 35.8253 | 35.0089 | 33.8987 | 30.2144 | 21.8072 | 7.7888 | 7.6997 | 7.7916 | 7.266 | 6.9842 | 6.1211 | 6.1944 | 6.1944 | 6.1944 | 6.1944 | 6.1944 | 6.1944 | 6.1944 | 6.1944 | 6.1944 | 6.1944
Motors/Drives | 1.6446 | 2.3144 | 3.1274 | 3.9667 | 4.8822 | 6.0184 | 7.0478 | 7.8384 | 8.2873 | 8.348 | 8.0711 | 7.5457 | 7.0589 | 7.0595 | 6.485 | 5.6048 | 5.0977 | 4.626 | 2.524 | 0.80281 | 0.80281 | 0.80281 | 0.80281 | 0.80281 | 0.80281 | 0.80281 | 0.80281 | 0.80281 | 0.80281
Process Loads | 0.94663 | 1.1771 | 1.4583 | 1.7134 | 1.9774 | 2.3386 | 2.5944 | 2.6797 | 2.5526 | 2.2174 | 1.7337 | 1.1591 | 0.67972 | 0.33049 | 0.14117 | 0.051824 | 0.016339 | 0.0035943 | 0.0005817 | 7.037e-05 | 7.037e-05 | 7.037e-05 | 7.037e-05 | 7.037e-05 | 7.037e-05 | 7.037e-05 | 7.037e-05 | 7.037e-05 | 7.037e-05
Refrigeration | 3.5036 | 4.6745 | 6.1021 | 7.5316 | 9.0962 | 11.1144 | 12.8789 | 14.0507 | 14.7569 | 14.4704 | 13.6314 | 11.6965 | 9.3474 | 8.311 | 7.6513 | 7.4586 | 7.306 | 7.0672 | 7.1875 | 3.9867 | 3.9867 | 3.9867 | 3.9867 | 3.9867 | 3.9867 | 3.9867 | 3.9867 | 3.9867 | 3.9867
Water Heating | 0.80962 | 0.94393 | 1.086 | 1.2566 | 1.4553 | 1.6191 | 1.7158 | 1.8258 | 2.0029 | 2.1098 | 2.2069 | 2.2425 | 2.2833 | 2.5165 | 2.3241 | 2.2691 | 2.1835 | 2.1549 | 1.6339 | 1.5877 | 1.5877 | 1.5877 | 1.5877 | 1.5877 | 1.5877 | 1.5877 | 1.5877 | 1.5877 | 1.5877
Industrial | 28.5079 | 30.898 | 33.5136 | 36.0963 | 38.7591 | 40.0817 | 39.3404 | 38.2575 | 36.5414 | 34.1205 | 31.4058 | 28.4458 | 25.8085 | 24.0722 | 22.444 | 21.2121 | 19.1096 | 18.6529 | 17.2039 | 15.9626 | 15.9626 | 15.9626 | 15.9626 | 15.9626 | 15.9626 | 15.9626 | 15.9626 | 15.9626 | 15.9626
All Electric* | 7.7466 | 8.7095 | 9.8704 | 10.8918 | 11.9284 | 13.2104 | 13.9121 | 13.9431 | 13.1471 | 11.5603 | 9.4388 | 7.0209 | 5.0382 | 3.6094 | 2.6874 | 2.2555 | 2.1212 | 2.1206 | 2.1203 | 2.1203 | 2.1203 | 2.1203 | 2.1203 | 2.1203 | 2.1203 | 2.1203 | 2.1203 | 2.1203 | 2.1203
Compressed Air | 2.5662 | 2.5662 | 2.5662 | 2.5662 | 2.5662 | 2.3096 | 1.8477 | 1.4781 | 1.1825 | 0.94601 | 0.7568 | 0.60544 | 0.48435 | 0.38748 | 0.30999 | 0.24799 | 0.0016915 | 0.0006041 | 0.00020594 | 6.7155e-05 | 6.7155e-05 | 6.7155e-05 | 6.7155e-05 | 6.7155e-05 | 6.7155e-05 | 6.7155e-05 | 6.7155e-05 | 6.7155e-05 | 6.7155e-05
Fans and Blowers | 0.68195 | 1.3641 | 1.9707 | 2.6274 | 3.282 | 3.8689 | 4.3327 | 4.7005 | 4.9957 | 5.2298 | 5.618 | 5.9845 | 6.1114 | 6.4351 | 6.7448 | 6.8129 | 6.8089 | 6.8044 | 6.8014 | 6.8174 | 6.8174 | 6.8174 | 6.8174 | 6.8174 | 6.8174 | 6.8174 | 6.8174 | 6.8174 | 6.8174
HVAC | 3.5133 | 3.5133 | 3.5133 | 3.5133 | 3.5133 | 3.162 | 2.5296 | 2.0236 | 1.6189 | 1.2951 | 1.0361 | 0.82889 | 0.66311 | 0.53049 | 0.42439 | 0.33951 | 0.0023157 | 0.00082705 | 0.00028195 | 9.194e-05 | 9.194e-05 | 9.194e-05 | 9.194e-05 | 9.194e-05 | 9.194e-05 | 9.194e-05 | 9.194e-05 | 9.194e-05 | 9.194e-05
Lighting | 6.9061 | 6.9061 | 6.9061 | 6.9061 | 6.9061 | 6.2155 | 4.9724 | 3.9779 | 3.1823 | 2.5459 | 2.0367 | 1.6293 | 1.3035 | 1.0428 | 0.83423 | 0.66738 | 0.004552 | 0.0016257 | 0.00055423 | 0.00018073 | 0.00018073 | 0.00018073 | 0.00018073 | 0.00018073 | 0.00018073 | 0.00018073 | 0.00018073 | 0.00018073 | 0.00018073
Low Temp Refer | 1.9663 | 2.0038 | 2.0496 | 2.1027 | 2.1634 | 2.0407 | 1.7701 | 1.5708 | 1.4227 | 1.3086 | 1.2157 | 1.1358 | 1.0649 | 1.0013 | 0.94289 | 0.89612 | 0.71032 | 0.7095 | 0.7092 | 0.7091 | 0.7091 | 0.7091 | 0.7091 | 0.7091 | 0.7091 | 0.7091 | 0.7091 | 0.7091 | 0.7091
Material Handling | 0.36644 | 0.48915 | 0.63796 | 0.78544 | 0.94373 | 1.145 | 1.319 | 1.4392 | 1.4864 | 1.4563 | 1.3642 | 1.2273 | 1.1053 | 1.011 | 0.94292 | 0.9121 | 0.9121 | 0.9121 | 0.9121 | 0.9121 | 0.9121 | 0.9121 | 0.9121 | 0.9121 | 0.9121 | 0.9121 | 0.9121 | 0.9121 | 0.9121
Material Processing | 0.4455 | 0.53526 | 0.65059 | 0.78048 | 0.92812 | 1.1046 | 1.2808 | 1.438 | 1.5593 | 1.6344 | 1.663 | 1.6513 | 1.6225 | 1.5871 | 1.5487 | 1.5245 | 1.5128 | 1.5043 | 1.4985 | 1.4956 | 1.4956 | 1.4956 | 1.4956 | 1.4956 | 1.4956 | 1.4956 | 1.4956 | 1.4956 | 1.4956
Med Temp Refer | 1.8487 | 1.8879 | 1.936 | 1.9917 | 2.0553 | 2.0366 | 1.9505 | 1.8997 | 1.871 | 1.8526 | 1.8362 | 1.8171 | 1.7946 | 1.7695 | 1.7414 | 1.7189 | 1.6295 | 1.6291 | 1.6289 | 1.6289 | 1.6289 | 1.6289 | 1.6289 | 1.6289 | 1.6289 | 1.6289 | 1.6289 | 1.6289 | 1.6289
Melting and Casting | 0.0055238 | 0.0055238 | 0.0055238 | 0.0055238 | 0.0055238 | 0.0055238 | 0.0055238 | 0.0055238 | 0.0055238 | 0.0055238 | 0.0055238 | 0.0055238 | 0.0055238 | 0.0055238 | 0.0055238 | 0.0055238 | 0.0055238 | 0.0055238 | 0.0055238 | 0.0055238 | 0.0055238 | 0.0055238 | 0.0055238 | 0.0055238 | 0.0055238 | 0.0055238 | 0.0055238 | 0.0055238 | 0.0055238
Other | 0.0036756 | 0.004513 | 0.0055226 | 0.0064109 | 0.0073124 | 0.0085491 | 0.0093785 | 0.0095808 | 0.0090288 | 0.007761 | 0.0060058 | 0.0039748 | 0.0023079 | 0.0011112 | 0.00034614 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Other Motors | 0.0076354 | 0.01701 | 0.028483 | 0.0418 | 0.05699 | 0.07475 | 0.094232 | 0.11413 | 0.13289 | 0.14901 | 0.16149 | 0.17005 | 0.17517 | 0.17757 | 0.17757 | 0.17757 | 0.17757 | 0.17757 | 0.17757 | 0.17757 | 0.17757 | 0.17757 | 0.17757 | 0.17757 | 0.17757 | 0.17757 | 0.17757 | 0.17757 | 0.17757
Pollution Control | 0.0021734 | 0.0048419 | 0.0081074 | 0.011898 | 0.016222 | 0.021277 | 0.026823 | 0.032488 | 0.037826 | 0.042416 | 0.045967 | 0.048404 | 0.049862 | 0.050543 | 0.050543 | 0.050543 | 0.050543 | 0.050543 | 0.050543 | 0.050543 | 0.050543 | 0.050543 | 0.050543 | 0.050543 | 0.050543 | 0.050543 | 0.050543 | 0.050543 | 0.050543
Pumps | 2.4478 | 2.8909 | 3.3652 | 3.8656 | 4.3865 | 4.8783 | 5.2898 | 5.6248 | 5.8903 | 6.0866 | 6.2213 | 6.3174 | 6.3878 | 6.4633 | 6.0333 | 5.6036 | 5.1727 | 4.7363 | 3.2988 | 2.0453 | 2.0453 | 2.0453 | 2.0453 | 2.0453 | 2.0453 | 2.0453 | 2.0453 | 2.0453 | 2.0453
Residential | 9.0742 | 13.2679 | 17.8615 | 22.5973 | 27.6069 | 32.6763 | 36.8645 | 40.131 | 42.0501 | 42.7314 | 42.42 | 39.5743 | 38.0078 | 31.5601 | 30.1467 | 27.4567 | 23.4578 | 20.1069 | 16.5398 | 10.3492 | 10.3492 | 10.3492 | 10.3492 | 10.3492 | 10.3492 | 10.3492 | 10.3492 | 10.3492 | 10.3492
Dryer | 0.37798 | 0.7519 | 1.1228 | 1.4918 | 1.8546 | 2.1734 | 2.4275 | 2.6293 | 2.791 | 2.9191 | 3.0092 | 3.0848 | 3.5316 | 3.5322 | 3.5149 | 3.4019 | 2.1829 | 0.37413 | 0.3711 | 0.36686 | 0.36686 | 0.36686 | 0.36686 | 0.36686 | 0.36686 | 0.36686 | 0.36686 | 0.36686 | 0.36686
Electronics | 0.49672 | 0.95477 | 1.461 | 2.0135 | 2.6299 | 3.3028 | 4.0205 | 4.7953 | 5.2911 | 5.8844 | 6.311 | 6.5772 | 6.4345 | 1.3707 | 0.50557 | 0.5034 | 0.49931 | 0.49195 | 0.48891 | 0.48429 | 0.48429 | 0.48429 | 0.48429 | 0.48429 | 0.48429 | 0.48429 | 0.48429 | 0.48429 | 0.48429
Food Preparation | 0.0011274 | 0.0028827 | 0.0063767 | 0.012475 | 0.021862 | 0.034831 | 0.051312 | 0.070491 | 0.091176 | 0.11183 | 0.13039 | 0.14684 | 0.16042 | 0.17087 | 0.17782 | 0.18274 | 0.22076 | 0.22166 | 0.2217 | 0.22104 | 0.22104 | 0.22104 | 0.22104 | 0.22104 | 0.22104 | 0.22104 | 0.22104 | 0.22104 | 0.22104
HVAC | 3.6434 | 4.5936 | 5.8542 | 7.1201 | 8.5045 | 10.2805 | 11.6616 | 12.3463 | 12.1425 | 11.048 | 9.265 | 6.7397 | 4.8224 | 3.441 | 2.6497 | 2.1698 | 1.8756 | 1.5953 | 1.563 | 1.535 | 1.535 | 1.535 | 1.535 | 1.535 | 1.535 | 1.535 | 1.535 | 1.535 | 1.535
Lighting | 0.69206 | 1.2919 | 1.8516 | 2.4255 | 3.0475 | 3.6909 | 4.3303 | 4.9623 | 5.6827 | 6.2342 | 6.6433 | 5.96 | 6.0603 | 6.3103 | 6.4784 | 6.4696 | 4.5547 | 3.924 | 3.9374 | 3.9402 | 3.9402 | 3.9402 | 3.9402 | 3.9402 | 3.9402 | 3.9402 | 3.9402 | 3.9402 | 3.9402
Refrigeration | 0.23521 | 0.46766 | 0.69815 | 0.92768 | 1.1527 | 1.3496 | 1.507 | 1.6322 | 1.7332 | 1.8134 | 1.8683 | 1.9154 | 1.9538 | 1.9833 | 1.9995 | 2.2989 | 2.251 | 2.2039 | 2.1029 | 1.2393 | 1.2393 | 1.2393 | 1.2393 | 1.2393 | 1.2393 | 1.2393 | 1.2393 | 1.2393 | 1.2393
Water Heating | 3.6277 | 5.2052 | 6.8674 | 8.6063 | 10.3958 | 11.8441 | 12.8662 | 13.6952 | 14.3184 | 14.7205 | 15.1928 | 15.1503 | 15.0447 | 14.7517 | 14.8207 | 12.4304 | 11.8736 | 11.296 | 7.8549 | 2.5625 | 2.5625 | 2.5625 | 2.5625 | 2.5625 | 2.5625 | 2.5625 | 2.5625 | 2.5625 | 2.5625
Transportation | 0.010508 | 0.030071 | 0.063079 | 0.11644 | 0.19529 | 0.3099 | 0.46715 | 0.66758 | 0.90928 | 1.1813 | 1.4528 | 0.4286 | 0.02788 | 0.03209 | 0.035483 | 0.039557 | 0.04364 | 0.047592 | 0.05211 | 0.056615 | 0.056615 | 0.056615 | 0.056615 | 0.056615 | 0.056615 | 0.056615 | 0.056615 | 0.056615 | 0.056615
Whole Bldg/Meter Level | 0.010508 | 0.030071 | 0.063079 | 0.11644 | 0.19529 | 0.3099 | 0.46715 | 0.66758 | 0.90928 | 1.1813 | 1.4528 | 0.4286 | 0.02788 | 0.03209 | 0.035483 | 0.039557 | 0.04364 | 0.047592 | 0.05211 | 0.056615 | 0.056615 | 0.056615 | 0.056615 | 0.056615 | 0.056615 | 0.056615 | 0.056615 | 0.056615 | 0.056615
Utility | 0.096223 | 0.18994 | 0.33523 | 0.54368 | 0.80791 | 1.1706 | 1.5685 | 1.9852 | 2.4132 | 2.8519 | 3.2296 | 3.3427 | 3.3982 | 3.2276 | 2.8079 | 1.3289 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Utility Distribution Sytem | 0.096223 | 0.18994 | 0.33523 | 0.54368 | 0.80791 | 1.1706 | 1.5685 | 1.9852 | 2.4132 | 2.8519 | 3.2296 | 3.3427 | 3.3982 | 3.2276 | 2.8079 | 1.3289 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Grand Total | 91.7844 | 104.6741 | 119.0208 | 133.6301 | 146.7748 | 159.0911 | 159.1566 | 161.4351 | 165.837 | 164.7379 | 160.5125 | 147.0979 | 130.248 | 105.9353 | 99.6829 | 92.5141 | 83.4076 | 77.4615 | 67.6741 | 55.0444 | 55.0444 | 55.0444 | 55.0444 | 55.0444 | 55.0444 | 55.0444 | 55.0444 | 55.0444 | 55.0444
Industrial - All Electric* | Breakout of the Industrial All Electric Category for Cost-Effective EE. Note that Water Supply is C-E, but Wastewater Treatment is not.
Energy Management | 4.2264 | 5.1893 | 6.3502 | 7.3715 | 8.4082 | 9.8302 | 10.7839 | 11.0165 | 10.3817 | 8.9239 | 6.9057 | 4.5704 | 2.6538 | 1.2777 | 0.39801 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Energy Management2 | 2.1202 | 2.1202 | 2.1202 | 2.1202 | 2.1202 | 2.1202 | 2.1202 | 2.1202 | 2.1202 | 2.1202 | 2.1202 | 2.1202 | 2.1202 | 2.1202 | 2.1202 | 2.1202 | 2.1202 | 2.1202 | 2.1202 | 2.1202 | 2.1202 | 2.1202 | 2.1202 | 2.1202 | 2.1202 | 2.1202 | 2.1202 | 2.1202 | 2.1202
WaterSupply | 1.4 | 1.4 | 1.4 | 1.4 | 1.4 | 1.26 | 1.008 | 0.80641 | 0.64512 | 0.5161 | 0.41288 | 0.3303 | 0.26424 | 0.21139 | 0.16912 | 0.13529 | 0.0009228 | 0.00032957 | 0.00011235 | 3.6637e-05 | 3.6637e-05 | 3.6637e-05 | 3.6637e-05 | 3.6637e-05 | 3.6637e-05 | 3.6637e-05 | 3.6637e-05 | 3.6637e-05 | 3.6637e-05
Grand Total | 7.7466 | 8.7095 | 9.8704 | 10.8918 | 11.9284 | 13.2104 | 13.9121 | 13.9431 | 13.1471 | 11.5603 | 9.4388 | 7.0209 | 5.0382 | 3.6094 | 2.6874 | 2.2555 | 2.1212 | 2.1206 | 2.1203 | 2.1203 | 2.1203 | 2.1203 | 2.1203 | 2.1203 | 2.1203 | 2.1203 | 2.1203 | 2.1203 | 2.1203
Annual Energy Savings (cumulative)
Row Labels | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Agriculture | 1.5977 | 3.3466 | 5.2784 | 7.4343 | 9.8651 | 12.5198 | 15.3439 | 18.3415 | 21.4457 | 24.603 | 27.7218 | 30.7389 | 33.5625 | 35.9408 | 38.0811 | 39.598 | 40.8336 | 41.7888 | 42.448 | 42.9763 | 43.5046 | 44.0328 | 44.5611 | 45.0894 | 45.6177 | 46.146 | 46.6742 | 47.2025 | 47.7308
Irrigation | 0.57687 | 1.1888 | 1.8758 | 2.6731 | 3.6199 | 4.7378 | 6.0373 | 7.5123 | 9.1388 | 10.8804 | 12.6748 | 14.4575 | 16.1692 | 17.7524 | 19.1651 | 20.3874 | 21.4094 | 22.1794 | 22.6723 | 23.0417 | 23.4112 | 23.7806 | 24.1501 | 24.5196 | 24.889 | 25.2585 | 25.6279 | 25.9974 | 26.3668
Lighting | 0.14934 | 0.40506 | 0.73614 | 1.1275 | 1.5734 | 2.0676 | 2.6043 | 3.178 | 3.7841 | 4.4188 | 5.0781 | 5.7568 | 6.3853 | 6.7725 | 7.1637 | 7.1805 | 7.1805 | 7.1805 | 7.1805 | 7.1805 | 7.1805 | 7.1805 | 7.1805 | 7.1805 | 7.1805 | 7.1805 | 7.1805 | 7.1805 | 7.1805
Motors/Drives | 0.83893 | 1.6719 | 2.4971 | 3.3158 | 4.1252 | 4.8453 | 5.417 | 5.8724 | 6.2009 | 6.4236 | 6.5492 | 6.6117 | 6.6621 | 6.7028 | 6.7355 | 6.7618 | 6.7632 | 6.764 | 6.7645 | 6.7648 | 6.7652 | 6.7655 | 6.7658 | 6.7661 | 6.7665 | 6.7668 | 6.7671 | 6.7675 | 6.7678
Process Loads | 0.010589 | 0.023754 | 0.040613 | 0.061456 | 0.087143 | 0.11966 | 0.15923 | 0.20559 | 0.25856 | 0.31769 | 0.38304 | 0.45496 | 0.53481 | 0.62396 | 0.72271 | 0.83075 | 0.94729 | 1.0709 | 1.1996 | 1.333 | 1.4665 | 1.5999 | 1.7334 | 1.8668 | 2.0002 | 2.1337 | 2.2671 | 2.4006 | 2.534
Refrigeration | 0.021987 | 0.057135 | 0.12872 | 0.25643 | 0.4595 | 0.74949 | 1.1261 | 1.5731 | 2.0632 | 2.5625 | 3.0366 | 3.4579 | 3.811 | 4.0892 | 4.2941 | 4.4376 | 4.5332 | 4.5941 | 4.6311 | 4.6562 | 4.6813 | 4.7063 | 4.7314 | 4.7564 | 4.7815 | 4.8065 | 4.8316 | 4.8566 | 4.8817
Commercial | 52.4979 | 111.0372 | 176.3527 | 248.4732 | 325.448 | 407.6461 | 485.738 | 563.1343 | 643.953 | 724.6485 | 803.534 | 875.8234 | 936.0054 | 980.6702 | 1022.7788 | 1063.7386 | 1103.2996 | 1140.9984 | 1174.2175 | 1202.3653 | 1230.5131 | 1258.6608 | 1286.8086 | 1314.9564 | 1343.1042 | 1371.2519 | 1399.3997 | 1427.5475 | 1455.6953
Compressed Air | 0.0011941 | 0.0036099 | 0.0072753 | 0.0072753 | 0.0072753 | 0.0072753 | 0.0072753 | 0.0072753 | 0.0072753 | 0.0072753 | 0.0072753 | 0.0072753 | 0.0072753 | 0.0072753 | 0.0072753 | 0.0072753 | 0.0072753 | 0.0072753 | 0.0072753 | 0.0072753 | 0.0072753 | 0.0072753 | 0.0072753 | 0.0072753 | 0.0072753 | 0.0072753 | 0.0072753 | 0.0072753 | 0.0072753
Electronics | 4.4726 | 11.0351 | 18.9906 | 27.8421 | 37.2388 | 46.681 | 50.0272 | 50.0272 | 50.0272 | 50.0272 | 50.0272 | 50.0272 | 50.0272 | 50.0272 | 50.0272 | 50.0272 | 50.0272 | 50.0272 | 50.0272 | 50.0272 | 50.0272 | 50.0272 | 50.0272 | 50.0272 | 50.0272 | 50.0272 | 50.0272 | 50.0272 | 50.0272
Food Preparation | 0.28459 | 0.76743 | 1.4747 | 2.4307 | 3.6606 | 5.1753 | 6.9707 | 9.0459 | 11.3846 | 13.9553 | 16.7156 | 19.6195 | 22.1626 | 24.0682 | 25.099 | 26.1365 | 27.1086 | 27.415 | 27.5873 | 27.5873 | 27.5873 | 27.5873 | 27.5873 | 27.5873 | 27.5873 | 27.5873 | 27.5873 | 27.5873 | 27.5873
HVAC | 2.6137 | 6.2902 | 11.2206 | 17.6061 | 25.609 | 35.5423 | 47.2788 | 60.5851 | 75.64 | 91.6103 | 108.1936 | 124.7209 | 141.1833 | 157.9363 | 174.7128 | 191.4592 | 208.1786 | 224.7352 | 240.3149 | 255.8911 | 271.4672 | 287.0434 | 302.6195 | 318.1957 | 333.7718 | 349.348 | 364.9242 | 380.5003 | 396.0765
Lighting | 38.2213 | 76.9265 | 116.8714 | 158.3306 | 199.2648 | 239.4822 | 276.4591 | 312.0793 | 347.9046 | 382.9135 | 416.8122 | 447.0267 | 468.8339 | 476.6227 | 484.3224 | 492.1141 | 499.38 | 506.3643 | 512.4853 | 518.6797 | 524.8741 | 531.0684 | 537.2628 | 543.4572 | 549.6515 | 555.8459 | 562.0403 | 568.2346 | 574.429
Motors/Drives | 1.6446 | 3.9589 | 7.0863 | 11.053 | 15.9351 | 21.9535 | 29.0013 | 36.8397 | 45.1271 | 53.475 | 61.5461 | 69.0918 | 76.1507 | 83.2102 | 89.6952 | 95.3 | 100.3977 | 105.0237 | 107.5476 | 108.3504 | 109.1532 | 109.9561 | 110.7589 | 111.5617 | 112.3645 | 113.1673 | 113.9701 | 114.7729 | 115.5757
Process Loads | 0.94663 | 2.1238 | 3.5821 | 5.2954 | 7.2729 | 9.6115 | 12.2059 | 14.8856 | 17.4382 | 19.6556 | 21.3894 | 22.5484 | 23.2282 | 23.5586 | 23.6998 | 23.7516 | 23.768 | 23.7716 | 23.7722 | 23.7722 | 23.7723 | 23.7724 | 23.7724 | 23.7725 | 23.7726 | 23.7726 | 23.7727 | 23.7728 | 23.7729
Refrigeration | 3.5036 | 8.1781 | 14.2802 | 21.8118 | 30.908 | 42.0224 | 54.9013 | 68.952 | 83.7089 | 98.1793 | 111.8107 | 123.5071 | 132.8545 | 141.1655 | 148.8167 | 156.2753 | 163.5812 | 170.6485 | 177.836 | 181.8227 | 185.8094 | 189.796 | 193.7827 | 197.7694 | 201.7561 | 205.7428 | 209.7295 | 213.7162 | 217.7029
Water Heating | 0.80962 | 1.7536 | 2.8396 | 4.0962 | 5.5515 | 7.1706 | 8.8864 | 10.7122 | 12.7152 | 14.825 | 17.0319 | 19.2744 | 21.5577 | 24.0742 | 26.3983 | 28.6674 | 30.851 | 33.0059 | 34.6398 | 36.2275 | 37.8151 | 39.4028 | 40.9905 | 42.5782 | 44.1659 | 45.7536 | 47.3412 | 48.9289 | 50.5166
Industrial | 28.5079 | 59.4059 | 92.9195 | 129.0158 | 167.7749 | 207.8566 | 247.197 | 285.4545 | 321.9959 | 356.1164 | 387.5222 | 415.9681 | 441.7766 | 465.8488 | 488.2928 | 509.5049 | 528.6146 | 547.2675 | 564.4714 | 580.4339 | 596.3965 | 612.3591 | 628.3216 | 644.2842 | 660.2468 | 676.2093 | 692.1719 | 708.1345 | 724.097
All Electric | 7.7466 | 16.4561 | 26.3265 | 37.2183 | 49.1467 | 62.3571 | 76.2692 | 90.2123 | 103.3594 | 114.9196 | 124.3585 | 131.3794 | 136.4176 | 140.027 | 142.7143 | 144.9698 | 147.091 | 149.2116 | 151.3319 | 153.4522 | 155.5724 | 157.6927 | 159.813 | 161.9332 | 164.0535 | 166.1738 | 168.294 | 170.4143 | 172.5346
Compressed Air | 2.5662 | 5.1324 | 7.6986 | 10.2648 | 12.831 | 15.1406 | 16.9883 | 18.4664 | 19.6489 | 20.5949 | 21.3517 | 21.9572 | 22.4415 | 22.829 | 23.139 | 23.387 | 23.3887 | 23.3893 | 23.3895 | 23.3895 | 23.3896 | 23.3897 | 23.3897 | 23.3898 | 23.3899 | 23.3899 | 23.39 | 23.3901 | 23.3901
Fans and Blowers | 0.68195 | 2.046 | 4.0167 | 6.6441 | 9.9261 | 13.795 | 18.1277 | 22.8282 | 27.8239 | 33.0538 | 38.6718 | 44.6563 | 50.7677 | 57.2028 | 63.9475 | 70.7605 | 77.5694 | 84.3738 | 91.1751 | 97.9925 | 104.8099 | 111.6273 | 118.4446 | 125.262 | 132.0794 | 138.8968 | 145.7141 | 152.5315 | 159.3489
HVAC | 3.5133 | 7.0266 | 10.5398 | 14.0531 | 17.5664 | 20.7283 | 23.2579 | 25.2816 | 26.9005 | 28.1956 | 29.2317 | 30.0606 | 30.7237 | 31.2542 | 31.6786 | 32.0181 | 32.0204 | 32.0212 | 32.0215 | 32.0216 | 32.0217 | 32.0218 | 32.0219 | 32.022 | 32.0221 | 32.0222 | 32.0223 | 32.0224 | 32.0224
Lighting | 6.9061 | 13.8121 | 20.7182 | 27.6243 | 34.5304 | 40.7458 | 45.7182 | 49.6961 | 52.8784 | 55.4243 | 57.461 | 59.0903 | 60.3938 | 61.4366 | 62.2708 | 62.9382 | 62.9427 | 62.9444 | 62.9449 | 62.9451 | 62.9453 | 62.9455 | 62.9456 | 62.9458 | 62.946 | 62.9462 | 62.9464 | 62.9465 | 62.9467
Low Temp Refer | 1.9663 | 3.9701 | 6.0196 | 8.1224 | 10.2858 | 12.3265 | 14.0966 | 15.6674 | 17.09 | 18.3987 | 19.6144 | 20.7502 | 21.815 | 22.8164 | 23.7593 | 24.6554 | 25.3657 | 26.0752 | 26.7844 | 27.4935 | 28.2026 | 28.9117 | 29.6208 | 30.3299 | 31.039 | 31.7481 | 32.4572 | 33.1663 | 33.8754
Material Handling | 0.36644 | 0.85558 | 1.4935 | 2.279 | 3.2227 | 4.3678 | 5.6867 | 7.1259 | 8.6123 | 10.0687 | 11.4328 | 12.6602 | 13.7654 | 14.7765 | 15.7194 | 16.6315 | 17.5436 | 18.4557 | 19.3678 | 20.2799 | 21.192 | 22.1041 | 23.0162 | 23.9283 | 24.8404 | 25.7525 | 26.6646 | 27.5767 | 28.4888
Material Processing | 0.4455 | 0.98075 | 1.6313 | 2.4118 | 3.3399 | 4.4446 | 5.7253 | 7.1634 | 8.7227 | 10.3571 | 12.0201 | 13.6713 | 15.2938 | 16.8809 | 18.4297 | 19.9541 | 21.4669 | 22.9712 | 24.4697 | 25.9653 | 27.4608 | 28.9564 | 30.4519 | 31.9475 | 33.4431 | 34.9386 | 36.4342 | 37.9297 | 39.4253
Med Temp Refer | 1.8487 | 3.7366 | 5.6726 | 7.6643 | 9.7196 | 11.7562 | 13.7066 | 15.6064 | 17.4773 | 19.3299 | 21.1661 | 22.9833 | 24.7779 | 26.5474 | 28.2887 | 30.0076 | 31.6371 | 33.2662 | 34.8951 | 36.524 | 38.1529 | 39.7817 | 41.4106 | 43.0395 | 44.6684 | 46.2973 | 47.9262 | 49.555 | 51.1839
Melting and Casting | 0.0055238 | 0.011048 | 0.016571 | 0.022095 | 0.027619 | 0.033143 | 0.038667 | 0.04419 | 0.049714 | 0.055238 | 0.060762 | 0.066285 | 0.071809 | 0.077333 | 0.082857 | 0.088381 | 0.093904 | 0.099428 | 0.10495 | 0.11048 | 0.116 | 0.12152 | 0.12705 | 0.13257 | 0.13809 | 0.14362 | 0.14914 | 0.15467 | 0.16019
Other | 0.0036756 | 0.0081886 | 0.013711 | 0.020122 | 0.027435 | 0.035984 | 0.045362 | 0.054943 | 0.063972 | 0.071733 | 0.077739 | 0.081713 | 0.084021 | 0.085132 | 0.085479 | 0.085479 | 0.085479 | 0.085479 | 0.085479 | 0.085479 | 0.085479 | 0.085479 | 0.085479 | 0.085479 | 0.085479 | 0.085479 | 0.085479 | 0.085479 | 0.085479
Other Motors | 0.0076354 | 0.024646 | 0.053128 | 0.094929 | 0.15192 | 0.22667 | 0.3209 | 0.43504 | 0.56793 | 0.71694 | 0.87843 | 1.0485 | 1.2236 | 1.4012 | 1.5788 | 1.7563 | 1.9339 | 2.1115 | 2.289 | 2.4666 | 2.6442 | 2.8217 | 2.9993 | 3.1769 | 3.3544 | 3.532 | 3.7096 | 3.8871 | 4.0647
Pollution Control | 0.0021734 | 0.0070153 | 0.015123 | 0.027021 | 0.043243 | 0.06452 | 0.091343 | 0.12383 | 0.16166 | 0.20407 | 0.25004 | 0.29844 | 0.34831 | 0.39885 | 0.44939 | 0.49994 | 0.55048 | 0.60102 | 0.65157 | 0.70211 | 0.75265 | 0.8032 | 0.85374 | 0.90428 | 0.95483 | 1.0054 | 1.0559 | 1.1065 | 1.157
Pumps | 2.4478 | 5.3388 | 8.704 | 12.5696 | 16.956 | 21.8343 | 27.1241 | 32.7489 | 38.6392 | 44.7259 | 50.9471 | 57.2645 | 63.6523 | 70.1156 | 76.149 | 81.7526 | 86.9253 | 91.6616 | 94.9604 | 97.0057 | 99.051 | 101.0963 | 103.1416 | 105.1869 | 107.2322 | 109.2775 | 111.3228 | 113.3682 | 115.4135
Residential | 9.0742 | 22.3421 | 40.2036 | 62.8009 | 90.4078 | 123.0841 | 159.9486 | 200.0795 | 242.1297 | 284.861 | 327.281 | 366.8553 | 404.8631 | 436.4232 | 466.5699 | 494.0266 | 517.4844 | 537.5913 | 554.1311 | 564.4803 | 574.8295 | 585.1787 | 595.5279 | 605.8772 | 616.2264 | 626.5756 | 636.9248 | 647.274 | 657.6232
Dryer | 0.37798 | 1.1299 | 2.2526 | 3.7444 | 5.5991 | 7.7725 | 10.2 | 12.8293 | 15.6203 | 18.5394 | 21.5486 | 24.6334 | 28.165 | 31.6972 | 35.2122 | 38.614 | 40.7969 | 41.1711 | 41.5422 | 41.909 | 42.2759 | 42.6427 | 43.0096 | 43.3765 | 43.7433 | 44.1102 | 44.477 | 44.8439 | 45.2107
Electronics | 0.49672 | 1.4515 | 2.9125 | 4.926 | 7.5559 | 10.8588 | 14.8793 | 19.6746 | 24.9656 | 30.8501 | 37.161 | 43.7383 | 50.1728 | 51.5435 | 52.049 | 52.5524 | 53.0518 | 53.5437 | 54.0326 | 54.5169 | 55.0012 | 55.4855 | 55.9698 | 56.4541 | 56.9384 | 57.4227 | 57.9069 | 58.3912 | 58.8755
Food Preparation | 0.0011274 | 0.0040101 | 0.010387 | 0.022861 | 0.044723 | 0.079554 | 0.13087 | 0.20136 | 0.29253 | 0.40436 | 0.53475 | 0.68158 | 0.84201 | 1.0129 | 1.1907 | 1.3734 | 1.5942 | 1.8159 | 2.0376 | 2.2586 | 2.4796 | 2.7007 | 2.9217 | 3.1428 | 3.3638 | 3.5849 | 3.8059 | 4.0269 | 4.248
HVAC | 3.6434 | 8.237 | 14.0912 | 21.2113 | 29.7158 | 39.9963 | 51.6579 | 64.0042 | 76.1467 | 87.1947 | 96.4597 | 103.1993 | 108.0217 | 111.4628 | 114.1125 | 116.2823 | 118.1578 | 119.7531 | 121.3161 | 122.8511 | 124.386 | 125.921 | 127.456 | 128.991 | 130.5259 | 132.0609 | 133.5959 | 135.1309 | 136.6658
Lighting | 0.69206 | 1.984 | 3.8355 | 6.261 | 9.3085 | 12.9994 | 17.3297 | 22.292 | 27.9747 | 34.2088 | 40.8521 | 46.8121 | 52.8724 | 59.1828 | 65.6612 | 72.1308 | 76.6855 | 80.6095 | 84.5469 | 88.487 | 92.4272 | 96.3674 | 100.3075 | 104.2477 | 108.1879 | 112.128 | 116.0682 | 120.0084 | 123.9485
Refrigeration | 0.23521 | 0.70287 | 1.401 | 2.3287 | 3.4814 | 4.831 | 6.3381 | 7.9703 | 9.7035 | 11.5169 | 13.3852 | 15.3006 | 17.2545 | 19.2377 | 21.2373 | 23.5361 | 25.7871 | 27.991 | 30.0939 | 31.3332 | 32.5726 | 33.8119 | 35.0512 | 36.2906 | 37.5299 | 38.7692 | 40.0086 | 41.2479 | 42.4872
Water Heating | 3.6277 | 8.8329 | 15.7003 | 24.3066 | 34.7024 | 46.5465 | 59.4127 | 73.1079 | 87.4263 | 102.1469 | 117.3397 | 132.49 | 147.5347 | 162.2864 | 177.1071 | 189.5375 | 201.411 | 212.707 | 220.5619 | 223.1245 | 225.687 | 228.2495 | 230.8121 | 233.3746 | 235.9372 | 238.4997 | 241.0622 | 243.6248 | 246.1873
Transportation | 0.010508 | 0.040579 | 0.10366 | 0.2201 | 0.41539 | 0.72529 | 1.1924 | 1.86 | 2.7693 | 3.9506 | 5.4034 | 5.832 | 5.8599 | 5.892 | 5.9274 | 5.967 | 6.0106 | 6.0582 | 6.1103 | 6.167 | 6.2236 | 6.2802 | 6.3368 | 6.3934 | 6.45 | 6.5067 | 6.5633 | 6.6199 | 6.6765
Whole Bldg/Meter Level | 0.010508 | 0.040579 | 0.10366 | 0.2201 | 0.41539 | 0.72529 | 1.1924 | 1.86 | 2.7693 | 3.9506 | 5.4034 | 5.832 | 5.8599 | 5.892 | 5.9274 | 5.967 | 6.0106 | 6.0582 | 6.1103 | 6.167 | 6.2236 | 6.2802 | 6.3368 | 6.3934 | 6.45 | 6.5067 | 6.5633 | 6.6199 | 6.6765
Utility | 0.096223 | 0.28616 | 0.62139 | 1.1651 | 1.973 | 3.1436 | 4.712 | 6.6972 | 9.1105 | 11.9623 | 15.1919 | 18.5346 | 21.9328 | 25.1605 | 27.9684 | 29.2973 | 29.2973 | 29.2973 | 29.2973 | 29.2973 | 29.2973 | 29.2973 | 29.2973 | 29.2973 | 29.2973 | 29.2973 | 29.2973 | 29.2973 | 29.2973
Utility Distribution Sytem | 0.096223 | 0.28616 | 0.62139 | 1.1651 | 1.973 | 3.1436 | 4.712 | 6.6972 | 9.1105 | 11.9623 | 15.1919 | 18.5346 | 21.9328 | 25.1605 | 27.9684 | 29.2973 | 29.2973 | 29.2973 | 29.2973 | 29.2973 | 29.2973 | 29.2973 | 29.2973 | 29.2973 | 29.2973 | 29.2973 | 29.2973 | 29.2973 | 29.2973
Grand Total | 91.7844 | 196.4585 | 315.4793 | 449.1094 | 595.8842 | 754.9754 | 914.132 | 1075.567 | 1241.404 | 1406.1418 | 1566.6543 | 1713.7522 | 1844.0002 | 1949.9355 | 2049.6184 | 2142.1325 | 2225.5401 | 2303.0016 | 2370.6756 | 2425.7201 | 2480.7645 | 2535.809 | 2590.8534 | 2645.8979 | 2700.9423 | 2755.9867 | 2811.0312 | 2866.0756 | 2921.1201
DR Potential - DVR (system) and ResTOU (res) only
Q:\Eighth Plan\DR Analysis\DR RPM Inputs_021621_newaMWbins
2042 -> 2050 extrapolated from 2041 assuming equal potential
Winter Potential (MW)
Product | Sector | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
NRCurtailCom | Nonresidential | 5.7516 | 11.699 | 17.848 | 25.7551 | 34.3984 | 36.9409 | 38.4856 | 39.9255 | 41.4331 | 43.0744 | 44.7832 | 45.5583 | 47.1834 | 48.5207 | 49.4407 | 49.8867 | 51.2269 | 51.866 | 53.2948 | 54.1041
NRCurtailInd | Nonresidential | 26.5087 | 54.0558 | 83.4516 | 115.2465 | 149.506 | 154.5609 | 158.9173 | 163.1421 | 168.1998 | 174.3763 | 179.2381 | 182.7552 | 186.2566 | 190.5733 | 195.5782 | 200.9634 | 206.2057 | 210.0279 | 213.9292 | 218.0231
NRIrrLg | Nonresidential | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NRIrrSmMed | Nonresidential | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ComCPP | Nonresidential | 9.0113 | 18.3295 | 27.9634 | 40.3518 | 53.8937 | 57.8772 | 60.2973 | 62.5532 | 64.9153 | 67.4868 | 70.1641 | 71.3784 | 73.9245 | 76.0198 | 77.4612 | 78.1599 | 80.2598 | 81.261 | 83.4996 | 84.7676
IndCPP | Nonresidential | 8.344 | 17.0148 | 26.2675 | 36.2753 | 47.0589 | 48.65 | 50.0213 | 51.3511 | 52.943 | 54.8872 | 56.4175 | 57.5246 | 58.6267 | 59.9854 | 61.5608 | 63.2558 | 64.9059 | 66.109 | 67.337 | 68.6256
DVR | System | 54.6855 | 109.7637 | 166.8048 | 236.558 | 304.3454 | 392.534 | 472.622 | 543.0872 | 615.7978 | 710.9277 | 743.7287 | 736.6835 | 765.1543 | 791.2107 | 791.5273 | 781.626 | 808.4045 | 802.0392 | 832.3594 | 837.889
IndRTP | Nonresidential | 1.8542 | 3.7811 | 5.8372 | 8.0612 | 10.4575 | 10.8111 | 11.1158 | 11.4113 | 11.7651 | 12.1972 | 12.5372 | 12.7832 | 13.0281 | 13.3301 | 13.6802 | 14.0568 | 14.4235 | 14.6909 | 14.9638 | 15.2501
ResCPP | Residential | 23.317 | 46.2157 | 69.8136 | 98.0906 | 122.1939 | 132.3258 | 135.5646 | 132.087 | 128.9703 | 134.0522 | 141.5739 | 135.8403 | 141.9989 | 147.948 | 144.5927 | 138.484 | 144.6191 | 139.5331 | 146.9873 | 146.1978
ResTOU | Residential | 16.8297 | 33.3575 | 50.3899 | 70.7996 | 88.1968 | 95.5099 | 97.8475 | 95.3374 | 93.0879 | 96.7559 | 102.1849 | 98.0465 | 102.4917 | 106.7856 | 104.3638 | 99.9547 | 104.3829 | 100.7119 | 106.0921 | 105.5223
NRCoolSwchMed | Nonresidential | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NRHeatSwchMed | Nonresidential | 1.3657 | 3.483 | 6.25 | 9.5781 | 13.4359 | 14.8431 | 16.1376 | 17.3561 | 18.5112 | 19.565 | 20.5851 | 21.575 | 22.485 | 23.4204 | 24.2768 | 25.1253 | 25.9553 | 26.8052 | 27.5569 | 28.288
NRCoolSwchSm | Nonresidential | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NRHeatSwchSm | Nonresidential | 1.5022 | 3.8002 | 6.7731 | 10.3152 | 14.391 | 15.7985 | 17.0558 | 18.196 | 19.2504 | 20.2183 | 21.1179 | 21.9527 | 22.7374 | 23.5031 | 24.1953 | 24.8529 | 25.4744 | 26.0846 | 26.6502 | 27.1517
NRTstatSm | Nonresidential | 1.2276 | 3.1055 | 5.535 | 8.4296 | 11.7603 | 12.9105 | 13.938 | 14.8698 | 15.7314 | 16.5224 | 17.2575 | 17.9398 | 18.581 | 19.2067 | 19.7724 | 20.3098 | 20.8177 | 21.3164 | 21.7786 | 22.1884
ResACSwch | Residential | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ResHeatSwitch | Residential | 98.631 | 203.2617 | 313.9441 | 470.2072 | 642.404 | 688.9246 | 728.9513 | 763.3845 | 793.5896 | 820.1316 | 843.488 | 864.291 | 882.8624 | 899.7983 | 915.0573 | 929.0121 | 942.0085 | 953.9106 | 965.0433 | 975.5058
ResBYOT | Residential | 9.9955 | 20.623 | 31.8942 | 47.8202 | 65.3944 | 70.1936 | 74.3404 | 77.9105 | 81.0486 | 83.8055 | 86.2364 | 88.4016 | 90.3193 | 92.0578 | 93.6135 | 95.0212 | 96.3226 | 97.5004 | 98.5889 | 99.6081
ResERWHDLCSwch | Residential | 114.2211 | 221.4871 | 320.3503 | 472.6985 | 614.2195 | 612.9151 | 593.4428 | 560.1683 | 516.7235 | 465.376 | 407.8423 | 345.5162 | 279.2994 | 209.9546 | 188.0367 | 190.5964 | 193.0093 | 195.2525 | 197.3932 | 199.4457
ResERWHDLCGrd | Residential | 4.0078 | 18.2499 | 43.7426 | 94.1304 | 167.2523 | 264.0249 | 384.8996 | 529.8699 | 699.2259 | 892.9166 | 1009.8951 | 1127.8921 | 1246.7278 | 1366.7631 | 1420.7221 | 1440.0619 | 1458.2926 | 1475.2409 | 1491.4155 | 1506.9227
ResEVSEDLCSwch | Residential | 0.76472 | 2.5363 | 7.4415 | 17.6622 | 34.3629 | 47.8588 | 61.6754 | 75.4304 | 89.2146 | 102.6904 | 115.8145 | 128.6352 | 141.1444 | 153.3593 | 165.2602 | 176.8876 | 188.2438 | 199.2916 | 210.1111 | 220.653
ResHPWHDLCSwch | Residential | 1.1012 | 2.1354 | 3.0886 | 4.5577 | 5.9225 | 5.9101 | 5.7224 | 5.4016 | 4.9828 | 4.4876 | 3.9329 | 3.3319 | 2.6933 | 2.0246 | 1.8133 | 1.838 | 1.8612 | 1.8829 | 1.9035 | 1.9233
ResHPWHDLCGrd | Residential | 0.057959 | 0.26393 | 0.6326 | 1.3614 | 2.4191 | 3.8188 | 5.5673 | 7.6642 | 10.1139 | 12.9157 | 14.6078 | 16.3146 | 18.0336 | 19.7699 | 20.5504 | 20.8302 | 21.0939 | 21.3391 | 21.5731 | 21.7974
Nonresidential |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Residential |  | 26.8615 | 53.3117 | 81.4836 | 82.7 | 80.5923 | 84.9729 | 85.1692 | 82.8265 | 81.4219 | 83.8361 | 87.4426 | 84.3454 | 87.7181 | 90.5727 | 89.3559 | 86.3153 | 88.8473 | 86.7824 | 89.8841 | 90.2256 | 90.2256 | 90.2256 | 90.2256 | 90.2256 | 90.2256 | 90.2256 | 90.2256 | 90.2256 | 90.2256
System |  | 96.8309 | 192.4649 | 289.8643 | 389.9037 | 481.3222 | 497.584 | 495.7835 | 488.7058 | 486.3173 | 495.7881 | 509.196 | 498.9854 | 513.3138 | 523.879 | 522.9766 | 513.3117 | 523.9523 | 519.9678 | 532.9664 | 538.1002 | 538.1002 | 538.1002 | 538.1002 | 538.1002 | 538.1002 | 538.1002 | 538.1002 | 538.1002 | 538.1002
| Winter Potential (MW) | 123.6924 | 245.7766 | 371.3479 | 472.6037 | 561.9145 | 582.5569 | 580.9527 | 571.5323 | 567.7392 | 579.6242 | 596.6386 | 583.3309 | 601.0319 | 614.4517 | 612.3325 | 599.627 | 612.7997 | 606.7503 | 622.8506 | 628.3258 | 628.3258 | 628.3258 | 628.3258 | 628.3258 | 628.3258 | 628.3258 | 628.3258 | 628.3258 | 628.3258
Reduce by 21% to account for EE interaction |  | 97.717 | 194.1635 | 293.3648 | 373.3569 | 443.9125 | 460.22 | 458.9526 | 451.5105 | 448.514 | 457.9031 | 471.3445 | 460.8314 | 474.8152 | 485.4169 | 483.7427 | 473.7054 | 484.1117 | 479.3327 | 492.0519 | 496.3774 | 496.3774 | 496.3774 | 496.3774 | 496.3774 | 496.3774 | 496.3774 | 496.3774 | 496.3774 | 496.3774
Summer Potential (MW)
Product | Sector | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
NRCurtailCom | Nonresidential | 5.2093 | 10.5961 | 16.1653 | 23.3269 | 31.1554 | 33.4582 | 34.8573 | 36.1614 | 37.5269 | 39.0134 | 40.5611 | 41.2631 | 42.735 | 43.9463 | 44.7795 | 45.1834 | 46.3973 | 46.9762 | 48.2703 | 49.0033
NRCurtailInd | Nonresidential | 31.3059 | 63.8381 | 98.5536 | 136.1022 | 176.5616 | 182.5313 | 187.6761 | 192.6654 | 198.6383 | 205.9326 | 211.6743 | 215.8279 | 219.9629 | 225.0608 | 230.9714 | 237.3311 | 243.5221 | 248.036 | 252.6433 | 257.478
NRIrrLg | Nonresidential | 53.5318 | 108.3197 | 170.0455 | 231.2373 | 292.2932 | 295.1455 | 299.187 | 302.6427 | 307.9504 | 312.0878 | 315.7807 | 320.1831 | 324.8238 | 331.3986 | 336.9232 | 342.2979 | 348.1432 | 354.2088 | 361.1794 | 368.2242
NRIrrSmMed | Nonresidential | 63.091 | 127.6625 | 200.4108 | 272.5297 | 344.4884 | 347.85 | 352.6132 | 356.6861 | 362.9415 | 367.8178 | 372.1701 | 377.3586 | 382.828 | 390.5769 | 397.0881 | 403.4225 | 410.3116 | 417.4604 | 425.6757 | 433.9785
ComCPP | Nonresidential | 18.0704 | 36.7561 | 56.075 | 80.9174 | 108.073 | 116.0611 | 120.9143 | 125.4381 | 130.1747 | 135.3313 | 140.7001 | 143.1351 | 148.2409 | 152.4426 | 155.333 | 156.7341 | 160.9449 | 162.9528 | 167.4418 | 169.9845
IndCPP | Nonresidential | 19.2802 | 39.3157 | 60.6958 | 83.8206 | 108.7382 | 112.4147 | 115.5832 | 118.6559 | 122.3344 | 126.8268 | 130.3628 | 132.9209 | 135.4675 | 138.6071 | 142.2473 | 146.164 | 149.9768 | 152.7568 | 155.5942 | 158.5718
DVR | System | 45.2654 | 90.8559 | 138.0712 | 195.8088 | 251.9192 | 324.9165 | 391.2087 | 449.5356 | 509.7212 | 588.4641 | 615.6149 | 609.7833 | 633.3497 | 654.9177 | 655.1797 | 646.984 | 669.1497 | 663.8809 | 688.9782 | 693.5552
IndRTP | Nonresidential | 4.2845 | 8.7368 | 13.4879 | 18.6268 | 24.164 | 24.981 | 25.6852 | 26.368 | 27.1854 | 28.1837 | 28.9695 | 29.538 | 30.1039 | 30.8016 | 31.6105 | 32.4809 | 33.3282 | 33.9459 | 34.5765 | 35.2382
ResCPP | Residential | 57.5055 | 113.9794 | 172.1777 | 241.9156 | 301.3603 | 326.3483 | 334.3358 | 325.7591 | 318.0727 | 330.6059 | 349.1564 | 335.0158 | 350.2044 | 364.8765 | 356.6014 | 341.5359 | 356.6666 | 344.1231 | 362.5069 | 360.5599
ResTOU | Residential | 48.9487 | 97.0193 | 146.5577 | 205.9186 | 256.5179 | 277.7876 | 284.5866 | 277.2862 | 270.7435 | 281.4117 | 297.2019 | 285.1654 | 298.094 | 310.5828 | 303.5391 | 290.7153 | 303.5946 | 292.9176 | 308.5659 | 306.9086
NRCoolSwchMed | Nonresidential | 7.261 | 14.7242 | 22.3489 | 30.1114 | 38.1317 | 38.7586 | 39.3397 | 39.9371 | 40.5603 | 41.1172 | 41.7328 | 42.4051 | 43.0195 | 43.7584 | 44.4292 | 45.1414 | 45.8883 | 46.7154 | 47.4281 | 48.1469
NRHeatSwchMed | Nonresidential | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NRCoolSwchSm | Nonresidential | 2.574 | 5.1855 | 7.8248 | 10.4853 | 13.2158 | 13.361 | 13.477 | 13.5838 | 13.6979 | 13.8113 | 13.9302 | 14.0515 | 14.1794 | 14.3279 | 14.4611 | 14.599 | 14.7395 | 14.8935 | 15.0401 | 15.1663
NRHeatSwchSm | Nonresidential | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NRTstatSm | Nonresidential | 3.9039 | 7.8646 | 11.8675 | 15.9027 | 20.0438 | 20.264 | 20.44 | 20.6019 | 20.775 | 20.947 | 21.1273 | 21.3113 | 21.5053 | 21.7305 | 21.9325 | 22.1416 | 22.3548 | 22.5883 | 22.8107 | 23.0021
ResACSwch | Residential | 31.6267 | 63.8138 | 96.6109 | 129.9564 | 163.8355 | 165.1897 | 166.5364 | 167.817 | 169.1309 | 170.4302 | 171.7237 | 173.0329 | 174.3099 | 175.6173 | 176.8937 | 178.1603 | 179.45 | 180.6988 | 181.9421 | 183.182
ResHeatSwitch | Residential | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ResBYOT | Residential | 10.8477 | 21.9025 | 33.1845 | 44.6659 | 56.3407 | 56.8361 | 57.33 | 57.7957 | 58.2708 | 58.7364 | 59.1991 | 59.6646 | 60.1106 | 60.5622 | 60.9987 | 61.426 | 61.8583 | 62.272 | 62.6798 | 63.0864
ResERWHDLCSwch | Residential | 76.1474 | 147.6581 | 213.5668 | 315.1323 | 409.4797 | 408.61 | 395.6285 | 373.4456 | 344.4824 | 310.2507 | 271.8948 | 230.3442 | 186.1996 | 139.9697 | 125.3578 | 127.0643 | 128.6729 | 130.1683 | 131.5955 | 132.9638
ResERWHDLCGrd | Residential | 4.0078 | 18.2499 | 43.7426 | 94.1304 | 167.2523 | 264.0249 | 384.8996 | 529.8699 | 699.2259 | 892.9166 | 1009.8951 | 1127.8921 | 1246.7278 | 1366.7631 | 1420.7221 | 1440.0619 | 1458.2926 | 1475.2409 | 1491.4155 | 1506.9227
ResEVSEDLCSwch | Residential | 0.76472 | 2.5363 | 7.4415 | 17.6622 | 34.3629 | 47.8588 | 61.6754 | 75.4304 | 89.2146 | 102.6904 | 115.8145 | 128.6352 | 141.1444 | 153.3593 | 165.2602 | 176.8876 | 188.2438 | 199.2916 | 210.1111 | 220.653
ResHPWHDLCSwch | Residential | 0.82591 | 1.6015 | 2.3164 | 3.4183 | 4.4419 | 4.4326 | 4.2918 | 4.0512 | 3.7371 | 3.3657 | 2.9496 | 2.4989 | 2.02 | 1.5185 | 1.36 | 1.3785 | 1.3959 | 1.4121 | 1.4276 | 1.4425
ResHPWHDLCGrd | Residential | 0.028979 | 0.13196 | 0.3163 | 0.6807 | 1.2095 | 1.9094 | 2.7836 | 3.8321 | 5.057 | 6.4578 | 7.3039 | 8.1573 | 9.0168 | 9.8849 | 10.2752 | 10.4151 | 10.547 | 10.6695 | 10.7865 | 10.8987
Nonresidential |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Residential |  | 63.7128 | 126.45 | 193.2709 | 196.1561 | 191.1569 | 201.5472 | 202.0129 | 196.4562 | 193.1246 | 198.8509 | 207.405 | 200.0589 | 208.0584 | 214.8295 | 211.9432 | 204.7313 | 210.737 | 205.8392 | 213.1961 | 214.0061 | 214.0061 | 214.0061 | 214.0061 | 214.0061 | 214.0061 | 214.0061 | 214.0061 | 214.0061 | 214.0061
System |  | 100.9292 | 200.6109 | 302.1327 | 406.4063 | 501.694 | 518.6441 | 516.7674 | 509.3901 | 506.9005 | 516.7722 | 530.7476 | 520.1049 | 535.0397 | 546.052 | 545.1115 | 535.0375 | 546.1285 | 541.9753 | 555.5241 | 560.8752 | 560.8752 | 560.8752 | 560.8752 | 560.8752 | 560.8752 | 560.8752 | 560.8752 | 560.8752 | 560.8752
| Summer Potential (MW) | 164.642 | 327.0609 | 495.4037 | 602.5624 | 692.8509 | 720.1913 | 718.7802 | 705.8463 | 700.0251 | 715.623 | 738.1526 | 720.1638 | 743.0981 | 760.8815 | 757.0546 | 739.7688 | 756.8654 | 747.8146 | 768.7202 | 774.8812 | 774.8812 | 774.8812 | 774.8812 | 774.8812 | 774.8812 | 774.8812 | 774.8812 | 774.8812 | 774.8812
Reduce by 21% to account for EE interaction |  | 130.0672 | 258.3781 | 391.3689 | 476.0243 | 547.3522 | 568.9511 | 567.8364 | 557.6186 | 553.0198 | 565.3422 | 583.1406 | 568.9294 | 587.0475 | 601.0964 | 598.0732 | 584.4173 | 597.9237 | 590.7735 | 607.289 | 612.1562 | 612.1562 | 612.1562 | 612.1562 | 612.1562 | 612.1562 | 612.1562 | 612.1562 | 612.1562 | 612.1562