## RES
--------------ISAAC Conservation Load Segment Savings Data ----------------
Values are percentage of annual savings for each segment for a typical
week by month.
Tied specifically to chronology mapping of ISAAC load segments, --
If that changes, this data should too.
Values are normalized to 100% before use.
1 2 3 4 5 6 7 8 9 10 11 12 13
1.2346e+139
***************************************************************************
Set ID:dry90 *** o:\helm\lsfs\absolute\dry90.a90
Seg Jan Feb Mar Apr May Jun Jul Aug Sep Oct Nov Dec
--- ----- ----- ----- ----- ----- ----- ----- ----- ----- ----- ----- -----
1 3.62 3.7 3.54 3.33 3.20 3.16 2.97 3.6 2.60 3.47 3.30 3.61
2 4.24 4.10 4.34 4.12 4.8 3.53 3.22 3.9 3.79 3.74 4.13 4.38
3 0.88 0.83 0.84 0.96 0.93 0.88 0.82 0.69 0.71 0.66 0.84 0.82
4 0.36 0.36 0.36 0.36 0.39 0.40 0.35 0.28 0.35 0.26 0.36 0.40
***************************************************************************
Set ID:fdp90 *** o:\helm\lsfs\absolute\fdp90.a90
Seg Jan Feb Mar Apr May Jun Jul Aug Sep Oct Nov Dec
--- ----- ----- ----- ----- ----- ----- ----- ----- ----- ----- ----- -----
1 3.48 3.36 3.43 2.74 2.99 2.72 2.56 2.96 2.84 3.57 3.50 3.33
2 4.57 4.62 4.67 4.10 3.87 3.53 3.68 3.84 4.43 4.16 4.99 5.15
3 0.72 0.78 0.67 0.64 0.67 0.54 0.75 0.60 0.72 0.61 0.84 0.81
4 0.17 0.22 0.20 0.18 0.16 0.18 0.23 0.13 0.20 0.14 0.25 0.26
***************************************************************************
Set ID:fzr90 *** o:\helm\lsfs\absolute\fzr90.a90
Seg Jan Feb Mar Apr May Jun Jul Aug Sep Oct Nov Dec
--- ----- ----- ----- ----- ----- ----- ----- ----- ----- ----- ----- -----
1 2.27 2.3 2.37 2.36 2.45 2.57 2.94 3.6 2.29 2.70 2.6 2.5
2 3.14 2.85 3.19 3.28 3.32 3.67 4.12 3.81 3.62 3.53 3.5 3.9
3 1.71 1.46 1.59 1.68 1.74 1.77 2.20 2.3 1.77 1.91 1.67 1.58
4 0.68 0.65 0.61 0.69 0.67 0.72 0.98 0.69 0.92 0.66 0.76 0.78
***************************************************************************
Set ID:light90 *** o:\helm\lsfs\absolute\light90.a90
Seg Jan Feb Mar Apr May Jun Jul Aug Sep Oct Nov Dec
--- ----- ----- ----- ----- ----- ----- ----- ----- ----- ----- ----- -----
1 2.75 2.36 2.30 1.97 2.3 2.0 2.6 2.25 1.78 2.22 2.37 2.70
2 4.50 4.17 4.17 3.34 3.31 3.17 3.14 3.22 3.51 3.78 4.14 4.98
3 1.85 1.79 1.65 1.47 1.51 1.43 1.54 1.50 1.41 1.50 1.68 1.95
4 0.71 0.76 0.66 0.62 0.63 0.63 0.73 0.56 0.75 0.54 0.74 0.94
***************************************************************************
Set ID:ref90 *** o:\helm\lsfs\absolute\ref90.a90
Seg Jan Feb Mar Apr May Jun Jul Aug Sep Oct Nov Dec
--- ----- ----- ----- ----- ----- ----- ----- ----- ----- ----- ----- -----
1 2.29 1.99 2.43 2.44 2.53 2.57 2.74 2.90 2.20 2.56 2.11 2.12
2 3.19 2.92 3.55 3.49 3.48 3.77 3.96 3.74 3.63 3.38 3.18 3.33
3 1.59 1.43 1.63 1.76 1.78 1.80 2.5 1.98 1.70 1.74 1.58 1.57
4 0.63 0.63 0.67 0.72 0.71 0.74 0.91 0.67 0.89 0.60 0.72 0.78
***************************************************************************
Set ID:resoth90 *** o:\helm\lsfs\absolute\resoth90.a90
Seg Jan Feb Mar Apr May Jun Jul Aug Sep Oct Nov Dec
--- ----- ----- ----- ----- ----- ----- ----- ----- ----- ----- ----- -----
1 2.68 2.48 2.51 2.41 2.46 2.43 2.36 2.62 2.22 2.63 2.44 2.54
2 3.89 3.83 3.73 3.56 3.57 3.70 3.62 3.60 3.80 3.59 3.81 4.23
3 1.58 1.51 1.40 1.43 1.44 1.37 1.47 1.45 1.43 1.45 1.54 1.61
4 0.62 0.66 0.55 0.58 0.56 0.56 0.64 0.50 0.72 0.50 0.69 0.78
***************************************************************************
Set ID:whpriv *** o:\helm\lsfs\absolute\whpriv.a90
Seg Jan Feb Mar Apr May Jun Jul Aug Sep Oct Nov Dec
--- ----- ----- ----- ----- ----- ----- ----- ----- ----- ----- ----- -----
1 3.2 2.77 2.98 2.61 2.52 2.36 2.53 2.68 2.4 2.58 2.57 2.94
2 4.76 4.59 4.93 4.43 4.21 3.80 3.67 3.54 3.94 3.98 4.49 4.85
3 1.11 1.8 1.6 1.8 1.2 0.89 1.15 0.98 0.87 0.91 1.1 1.7
4 0.40 0.44 0.40 0.40 0.38 0.36 0.46 0.34 0.41 0.27 0.40 0.49
***************************************************************************
Set ID:cacpriv *** o:\helm\lsfs\absolute\cacpriv.a90
Seg Jan Feb Mar Apr May Jun Jul Aug Sep Oct Nov Dec
--- ----- ----- ----- ----- ----- ----- ----- ----- ----- ----- ----- -----
1 0.0 0.0 0.0 0.4 1.40 2.26 16.90 15.94 5.43 0.65 0.0 0.0
2 0.0 0.0 0.0 0.73 2.11 2.34 15.62 14.96 7.85 1.23 0.0 0.0
3 0.0 0.0 0.0 0.10 0.77 0.30 3.48 2.42 1.80 0.48 0.0 0.0
4 0.0 0.0 0.0 0.11 0.30 0.9 0.94 0.57 0.85 0.19 0.0 0.0
***************************************************************************
Set ID:racpriv *** o:\helm\lsfs\absolute\racpriv.a90
Seg Jan Feb Mar Apr May Jun Jul Aug Sep Oct Nov Dec
--- ----- ----- ----- ----- ----- ----- ----- ----- ----- ----- ----- -----
1 0.0 0.0 0.0 0.4 1.72 2.17 16.64 15.48 6.64 0.85 0.0 0.0
2 0.0 0.0 0.0 0.83 2.32 2.60 17.25 16.47 7.98 1.36 0.0 0.0
3 0.0 0.0 0.0 0.4 0.38 0.17 2.47 1.54 0.92 0.23 0.0 0.0
4 0.0 0.0 0.0 0.7 0.22 0.3 0.41 0.27 0.60 0.13 0.0 0.0
***************************************************************************
Set ID:ResWX ***
Seg Jan Feb Mar Apr May Jun Jul Aug Sep Oct Nov Dec
--- ----- ----- ----- ----- ----- ----- ----- ----- ----- ----- ----- -----
1 .0560 .0390 .0360 .0380 .0220 .0040 .0010 .0020 .0110 .0200 .0450 .0840
2 .0600 .0570 .0410 .0350 .0220 .0050 .0020 .0040 .0120 .0370 .0360 .0400
3 .0340 .0200 .0180 .0110 .0060 .0020 .0110 .0060 .0060 .0130 .0190 .0230
4 .0190 .0130 .0310 .0090 .0020 .0120 .0030 .0020 .0020 .0070 .0110 .0120
***************************************************************************
Set ID:ResNEW ***
Seg Jan Feb Mar Apr May Jun Jul Aug Sep Oct Nov Dec
--- ----- ----- ----- ----- ----- ----- ----- ----- ----- ----- ----- -----
1 .0520 .0370 .0370 .0220 .0130 .0010 .0010 .0010 .0090 .0290 .0320 .0430
2 .0740 .0570 .0540 .0300 .0140 .0100 .0010 .0010 .0160 .0250 .0530 .0740
3 .0360 .0270 .0240 .0270 .0190 .0020 .0090 .0050 .0060 .0160 .0230 .0330
4 .0140 .0110 .0100 .0050 .0050 .0110 .0050 .0010 .0010 .0050 .0060 .0150
***************************************************************************

## Dryers
Set ID:dry90 *** o:\helm\lsfs\absolute\dry90.a90
Seg | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
--- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | -----
1 | 3.62 | 3.7 | 3.54 | 3.33 | 3.2 | 3.16 | 2.97 | 3.6 | 2.6 | 3.47 | 3.3 | 3.61
2 | 4.24 | 4.1 | 4.34 | 4.12 | 4.8 | 3.53 | 3.22 | 3.9 | 3.79 | 3.74 | 4.13 | 4.38
3 | 0.88 | 0.83 | 0.84 | 0.96 | 0.93 | 0.88 | 0.82 | 0.69 | 0.71 | 0.66 | 0.84 | 0.82
4 | 0.36 | 0.36 | 0.36 | 0.36 | 0.39 | 0.4 | 0.35 | 0.28 | 0.35 | 0.26 | 0.36 | 0.4 | 102.48
| Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
1 | 3.5324 | 3.6105 | 3.4543 | 3.2494 | 3.1226 | 3.0835 | 2.8981 | 3.5129 | 2.5371 | 3.386 | 3.2201 | 3.5226
2 | 4.1374 | 4.0008 | 4.235 | 4.0203 | 4.6838 | 3.4446 | 3.1421 | 3.8056 | 3.6983 | 3.6495 | 4.0301 | 4.274
3 | 0.8587 | 0.80991 | 0.81967 | 0.93677 | 0.90749 | 0.8587 | 0.80016 | 0.6733 | 0.69282 | 0.64403 | 0.81967 | 0.80016
4 | 0.35129 | 0.35129 | 0.35129 | 0.35129 | 0.38056 | 0.39032 | 0.34153 | 0.27322 | 0.34153 | 0.25371 | 0.35129 | 0.39032 | 100
Segment 1
Segment 4
Segment 2
Segment 3

## cook
Set ID fdp90 *** o:\helm\lsfs\absolute\fdp90.a90
Seg | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
--- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | -----
1 | 3.48 | 3.36 | 3.43 | 2.74 | 2.99 | 2.72 | 2.56 | 2.96 | 2.84 | 3.57 | 3.5 | 3.33
2 | 4.57 | 4.62 | 4.67 | 4.1 | 3.87 | 3.53 | 3.68 | 3.84 | 4.43 | 4.16 | 4.99 | 5.15
3 | 0.72 | 0.78 | 0.67 | 0.64 | 0.67 | 0.54 | 0.75 | 0.6 | 0.72 | 0.61 | 0.84 | 0.81
4 | 0.17 | 0.22 | 0.2 | 0.18 | 0.16 | 0.18 | 0.23 | 0.13 | 0.2 | 0.14 | 0.25 | 0.26 | 99.76
| Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
1 | 3.4884 | 3.3681 | 3.4383 | 2.7466 | 2.9972 | 2.7265 | 2.5662 | 2.9671 | 2.8468 | 3.5786 | 3.5084 | 3.338
2 | 4.581 | 4.6311 | 4.6812 | 4.1099 | 3.8793 | 3.5385 | 3.6889 | 3.8492 | 4.4407 | 4.17 | 5.002 | 5.1624
3 | 0.72173 | 0.78188 | 0.67161 | 0.64154 | 0.67161 | 0.5413 | 0.7518 | 0.60144 | 0.72173 | 0.61147 | 0.84202 | 0.81195
4 | 0.17041 | 0.22053 | 0.20048 | 0.18043 | 0.16038 | 0.18043 | 0.23055 | 0.13031 | 0.20048 | 0.14034 | 0.2506 | 0.26063 | 100

## Freezers
Set ID:fzr90 *** o:\helm\lsfs\absolute\fzr90.a90
Seg | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
--- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | -----
1 | 2.27 | 2.3 | 2.37 | 2.36 | 2.45 | 2.57 | 2.94 | 3.6 | 2.29 | 2.7 | 2.6 | 2.5
2 | 3.14 | 2.85 | 3.19 | 3.28 | 3.32 | 3.67 | 4.12 | 3.81 | 3.62 | 3.53 | 3.5 | 3.9
3 | 1.71 | 1.46 | 1.59 | 1.68 | 1.74 | 1.77 | 2.2 | 2.3 | 1.77 | 1.91 | 1.67 | 1.58
4 | 0.68 | 0.65 | 0.61 | 0.69 | 0.67 | 0.72 | 0.98 | 0.69 | 0.92 | 0.66 | 0.76 | 0.78 | 103.07
| Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
1 | 2.2024 | 2.2315 | 2.2994 | 2.2897 | 2.377 | 2.4935 | 2.8524 | 3.4928 | 2.2218 | 2.6196 | 2.5226 | 2.4255
2 | 3.0465 | 2.7651 | 3.095 | 3.1823 | 3.2211 | 3.5607 | 3.9973 | 3.6965 | 3.5122 | 3.4249 | 3.3958 | 3.7838
3 | 1.6591 | 1.4165 | 1.5426 | 1.63 | 1.6882 | 1.7173 | 2.1345 | 2.2315 | 1.7173 | 1.8531 | 1.6203 | 1.5329
4 | 0.65975 | 0.63064 | 0.59183 | 0.66945 | 0.65004 | 0.69855 | 0.95081 | 0.66945 | 0.8926 | 0.64034 | 0.73736 | 0.75677 | 100

## Light
Set ID:light90 *** o:\helm\lsfs\absolute\light90.a90
Seg | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
--- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | -----
1 | 2.75 | 2.36 | 2.3 | 1.97 | 2.3 | 2 | 2.6 | 2.25 | 1.78 | 2.22 | 2.37 | 2.7
2 | 4.5 | 4.17 | 4.17 | 3.34 | 3.31 | 3.17 | 3.14 | 3.22 | 3.51 | 3.78 | 4.14 | 4.98
3 | 1.85 | 1.79 | 1.65 | 1.47 | 1.51 | 1.43 | 1.54 | 1.5 | 1.41 | 1.5 | 1.68 | 1.95
4 | 0.71 | 0.76 | 0.66 | 0.62 | 0.63 | 0.63 | 0.73 | 0.56 | 0.75 | 0.54 | 0.74 | 0.94 | 100.58
| Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
1 | 2.7341 | 2.3464 | 2.2867 | 1.9586 | 2.2867 | 1.9885 | 2.585 | 2.237 | 1.7697 | 2.2072 | 2.3563 | 2.6844
2 | 4.4741 | 4.146 | 4.146 | 3.3207 | 3.2909 | 3.1517 | 3.1219 | 3.2014 | 3.4898 | 3.7582 | 4.1161 | 4.9513
3 | 1.8393 | 1.7797 | 1.6405 | 1.4615 | 1.5013 | 1.4218 | 1.5311 | 1.4914 | 1.4019 | 1.4914 | 1.6703 | 1.9388
4 | 0.70591 | 0.75562 | 0.65619 | 0.61642 | 0.62637 | 0.62637 | 0.72579 | 0.55677 | 0.74568 | 0.53689 | 0.73573 | 0.93458 | 100

## Ref.
Set ID:ref90 *** o:\helm\lsfs\absolute\ref90.a90
Seg | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
--- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | -----
1 | 2.29 | 1.99 | 2.43 | 2.44 | 2.53 | 2.57 | 2.74 | 2.9 | 2.2 | 2.56 | 2.11 | 2.12
2 | 3.19 | 2.92 | 3.55 | 3.49 | 3.48 | 3.77 | 3.96 | 3.74 | 3.63 | 3.38 | 3.18 | 3.33
3 | 1.59 | 1.43 | 1.63 | 1.76 | 1.78 | 1.8 | 2.5 | 1.98 | 1.7 | 1.74 | 1.58 | 1.57
4 | 0.63 | 0.63 | 0.67 | 0.72 | 0.71 | 0.74 | 0.91 | 0.67 | 0.89 | 0.6 | 0.72 | 0.78 | 100.23
| Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
1 | 2.2847 | 1.9854 | 2.4244 | 2.4344 | 2.5242 | 2.5641 | 2.7337 | 2.8933 | 2.195 | 2.5541 | 2.1052 | 2.1151
2 | 3.1827 | 2.9133 | 3.5419 | 3.482 | 3.472 | 3.7613 | 3.9509 | 3.7314 | 3.6217 | 3.3722 | 3.1727 | 3.3224
3 | 1.5864 | 1.4267 | 1.6263 | 1.756 | 1.7759 | 1.7959 | 2.4943 | 1.9755 | 1.6961 | 1.736 | 1.5764 | 1.5664
4 | 0.62855 | 0.62855 | 0.66846 | 0.71835 | 0.70837 | 0.7383 | 0.90791 | 0.66846 | 0.88796 | 0.59862 | 0.71835 | 0.77821 | 100

## DHW
Set ID:whpriv *** o:\helm\lsfs\absolute\whpriv.a90
Seg | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
--- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | -----
1 | 3.2 | 2.77 | 2.98 | 2.61 | 2.52 | 2.36 | 2.53 | 2.68 | 2.4 | 2.58 | 2.57 | 2.94
2 | 4.76 | 4.59 | 4.93 | 4.43 | 4.21 | 3.8 | 3.67 | 3.54 | 3.94 | 3.98 | 4.49 | 4.85
3 | 1.11 | 1.8 | 1.6 | 1.8 | 1.2 | 0.89 | 1.15 | 0.98 | 0.87 | 0.91 | 1.1 | 1.7
4 | 0.4 | 0.44 | 0.4 | 0.4 | 0.38 | 0.36 | 0.46 | 0.34 | 0.41 | 0.27 | 0.4 | 0.49 | 103.19
| Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
1 | 3.1011 | 2.6844 | 2.8879 | 2.5293 | 2.4421 | 2.287 | 2.4518 | 2.5972 | 2.3258 | 2.5002 | 2.4906 | 2.8491
2 | 4.6129 | 4.4481 | 4.7776 | 4.2931 | 4.0799 | 3.6825 | 3.5565 | 3.4306 | 3.8182 | 3.857 | 4.3512 | 4.7001
3 | 1.0757 | 1.7444 | 1.5505 | 1.7444 | 1.1629 | 0.86249 | 1.1144 | 0.9497 | 0.8431 | 0.88187 | 1.066 | 1.6474
4 | 0.38763 | 0.4264 | 0.38763 | 0.38763 | 0.36825 | 0.34887 | 0.44578 | 0.32949 | 0.39733 | 0.26165 | 0.38763 | 0.47485 | 100

## Central_AC
Set ID:cacpriv *** o:\helm\lsfs\absolute\cacpriv.a90
Seg | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
--- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | -----
1 | 0 | 0 | 0 | 0.4 | 1.4 | 2.26 | 16.9 | 15.94 | 5.43 | 0.65 | 0 | 0
2 | 0 | 0 | 0 | 0.73 | 2.11 | 2.34 | 15.62 | 14.96 | 7.85 | 1.23 | 0 | 0
3 | 0 | 0 | 0 | 0.1 | 0.77 | 0.3 | 3.48 | 2.42 | 1.8 | 0.48 | 0 | 0
4 | 0 | 0 | 0 | 0.11 | 0.3 | 0.9 | 0.94 | 0.57 | 0.85 | 0.19 | 0 | 0 | 101.03
| Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
1 | 0 | 0 | 0 | 0.39592 | 1.3857 | 2.237 | 16.7277 | 15.7775 | 5.3746 | 0.64337 | 0 | 0
2 | 0 | 0 | 0 | 0.72256 | 2.0885 | 2.3161 | 15.4608 | 14.8075 | 7.77 | 1.2175 | 0 | 0
3 | 0 | 0 | 0 | 0.098981 | 0.76215 | 0.29694 | 3.4445 | 2.3953 | 1.7816 | 0.47511 | 0 | 0
4 | 0 | 0 | 0 | 0.10888 | 0.29694 | 0.89082 | 0.93042 | 0.56419 | 0.84133 | 0.18806 | 0 | 0 | 100

## Room_AC
Set ID:racpriv *** o:\helm\lsfs\absolute\racpriv.a90
Seg | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
--- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | -----
1 | 0 | 0 | 0 | 0.4 | 1.72 | 2.17 | 16.64 | 15.48 | 6.64 | 0.85 | 0 | 0
2 | 0 | 0 | 0 | 0.83 | 2.32 | 2.6 | 17.25 | 16.47 | 7.98 | 1.36 | 0 | 0
3 | 0 | 0 | 0 | 0.4 | 0.38 | 0.17 | 2.47 | 1.54 | 0.92 | 0.23 | 0 | 0
4 | 0 | 0 | 0 | 0.7 | 0.22 | 0.3 | 0.41 | 0.27 | 0.6 | 0.13 | 0 | 0 | 101.45
| Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
1 | 0 | 0 | 0 | 0.39428 | 1.6954 | 2.139 | 16.4022 | 15.2587 | 6.5451 | 0.83785 | 0 | 0
2 | 0 | 0 | 0 | 0.81814 | 2.2868 | 2.5628 | 17.0034 | 16.2346 | 7.8659 | 1.3406 | 0 | 0
3 | 0 | 0 | 0 | 0.39428 | 0.37457 | 0.16757 | 2.4347 | 1.518 | 0.90685 | 0.22671 | 0 | 0
4 | 0 | 0 | 0 | 0.69 | 0.21686 | 0.29571 | 0.40414 | 0.26614 | 0.59142 | 0.12814 | 0 | 0 | 100

## ResWx
Set ID:ResWX ***
Seg | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
--- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | -----
1 | 0.056 | 0.039 | 0.036 | 0.038 | 0.022 | 0.004 | 0.001 | 0.002 | 0.011 | 0.02 | 0.045 | 0.084
2 | 0.06 | 0.057 | 0.041 | 0.035 | 0.022 | 0.005 | 0.002 | 0.004 | 0.012 | 0.037 | 0.036 | 0.04
3 | 0.034 | 0.02 | 0.018 | 0.011 | 0.006 | 0.002 | 0.011 | 0.006 | 0.006 | 0.013 | 0.019 | 0.023
4 | 0.019 | 0.013 | 0.031 | 0.009 | 0.002 | 0.012 | 0.003 | 0.002 | 0.002 | 0.007 | 0.011 | 0.012 | 1.001
| Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
1 | 5.5944 | 3.8961 | 3.5964 | 3.7962 | 2.1978 | 0.3996 | 0.0999 | 0.1998 | 1.0989 | 1.998 | 4.4955 | 8.3916
2 | 5.994 | 5.6943 | 4.0959 | 3.4965 | 2.1978 | 0.4995 | 0.1998 | 0.3996 | 1.1988 | 3.6963 | 3.5964 | 3.996
3 | 3.3966 | 1.998 | 1.7982 | 1.0989 | 0.5994 | 0.1998 | 1.0989 | 0.5994 | 0.5994 | 1.2987 | 1.8981 | 2.2977
4 | 1.8981 | 1.2987 | 3.0969 | 0.8991 | 0.1998 | 1.1988 | 0.2997 | 0.1998 | 0.1998 | 0.6993 | 1.0989 | 1.1988 | 100

## ResNew
Set ID:ResNEW ***
Seg | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
--- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | -----
1 | 0.052 | 0.037 | 0.037 | 0.022 | 0.013 | 0.001 | 0.001 | 0.001 | 0.009 | 0.029 | 0.032 | 0.043
2 | 0.074 | 0.057 | 0.054 | 0.03 | 0.014 | 0.01 | 0.001 | 0.001 | 0.016 | 0.025 | 0.053 | 0.074
3 | 0.036 | 0.027 | 0.024 | 0.027 | 0.019 | 0.002 | 0.009 | 0.005 | 0.006 | 0.016 | 0.023 | 0.033
4 | 0.014 | 0.011 | 0.01 | 0.005 | 0.005 | 0.011 | 0.005 | 0.001 | 0.001 | 0.005 | 0.006 | 0.015 | 1.002
| Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
1 | 5.1896 | 3.6926 | 3.6926 | 2.1956 | 1.2974 | 0.0998 | 0.0998 | 0.0998 | 0.8982 | 2.8942 | 3.1936 | 4.2914
2 | 7.3852 | 5.6886 | 5.3892 | 2.994 | 1.3972 | 0.998 | 0.0998 | 0.0998 | 1.5968 | 2.495 | 5.2894 | 7.3852
3 | 3.5928 | 2.6946 | 2.3952 | 2.6946 | 1.8962 | 0.1996 | 0.8982 | 0.499 | 0.5988 | 1.5968 | 2.2954 | 3.2934
4 | 1.3972 | 1.0978 | 0.998 | 0.499 | 0.499 | 1.0978 | 0.499 | 0.0998 | 0.0998 | 0.499 | 0.5988 | 1.497 | 100

## Other
Set ID:resoth90 *** o:\helm\lsfs\absolute\resoth90.a90
Seg | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
--- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | -----
1 | 2.68 | 2.48 | 2.51 | 2.41 | 2.46 | 2.43 | 2.36 | 2.62 | 2.22 | 2.63 | 2.44 | 2.54
2 | 3.89 | 3.83 | 3.73 | 3.56 | 3.57 | 3.7 | 3.62 | 3.6 | 3.8 | 3.59 | 3.81 | 4.23
3 | 1.58 | 1.51 | 1.4 | 1.43 | 1.44 | 1.37 | 1.47 | 1.45 | 1.43 | 1.45 | 1.54 | 1.61
4 | 0.62 | 0.66 | 0.55 | 0.58 | 0.56 | 0.56 | 0.64 | 0.5 | 0.72 | 0.5 | 0.69 | 0.78 | 99.75
| Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
1 | 2.6867 | 2.4862 | 2.5163 | 2.416 | 2.4662 | 2.4361 | 2.3659 | 2.6266 | 2.2256 | 2.6366 | 2.4461 | 2.5464
2 | 3.8997 | 3.8396 | 3.7393 | 3.5689 | 3.5789 | 3.7093 | 3.6291 | 3.609 | 3.8095 | 3.599 | 3.8195 | 4.2406
3 | 1.584 | 1.5138 | 1.4035 | 1.4336 | 1.4436 | 1.3734 | 1.4737 | 1.4536 | 1.4336 | 1.4536 | 1.5439 | 1.614
4 | 0.62155 | 0.66165 | 0.55138 | 0.58145 | 0.5614 | 0.5614 | 0.6416 | 0.50125 | 0.7218 | 0.50125 | 0.69173 | 0.78195 | 100

## COMM
--------------ISAAC Conservation Load Segment Savings Data ----------------
Values are percentage of annual savings for each segment for a typical
week by month.
Tied specifically to chronology mapping of ISAAC load segments, --
If that changes, this data should too.
Values are normalized to 100% before use.
1 2 3 4 5 6 7 8 9 10 11 12 13
1.2346e+139
***************************************************************************
Set ID:NEWCOMM *** c:\96plan\isaac\NEWCOMM.txt
Seg Jan Feb Mar Apr May Jun Jul Aug Sep Oct Nov Dec
--- ----- ----- ----- ----- ----- ----- ----- ----- ----- ----- ----- -----
1 4.06 3.52 3.65 3.54 3.14 2.93 3.30 3.45 2.84 3.59 3.41 3.98
2 3.85 3.72 4.14 3.72 3.36 2.99 3.08 3.04 3.07 3.72 3.75 3.89
3 1.16 0.84 0.76 0.90 0.64 1.32 0.84 0.59 0.58 1.32 1.05 1.03
4 0.49 0.50 0.45 0.46 0.35 0.36 0.37 0.28 0.38 0.36 0.44 0.81
***************************************************************************
Set ID:EXCOMM *** c:\96plan\isaac\excomm.txt
Seg Jan Feb Mar Apr May Jun Jul Aug Sep Oct Nov Dec
--- ----- ----- ----- ----- ----- ----- ----- ----- ----- ----- ----- -----
1 5.22 4.32 4.58 4.45 4.20 3.77 3.67 4.06 3.43 4.42 4.23 5.14
2 3.86 3.15 3.16 3.08 2.57 2.37 2.26 2.20 2.36 2.72 3.03 4.10
3 1.20 0.92 0.80 0.81 0.54 0.44 0.49 0.47 0.62 0.66 0.91 1.32
4 0.54 0.49 0.43 0.35 0.39 0.18 0.21 0.16 0.32 0.29 0.48 0.62
***************************************************************************

## ExComm
Set ID:EXCOMM *** c:\96plan\isaac\excomm.txt
Seg | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
--- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | -----
1 | 5.22 | 4.32 | 4.58 | 4.45 | 4.2 | 3.77 | 3.67 | 4.06 | 3.43 | 4.42 | 4.23 | 5.14
2 | 3.86 | 3.15 | 3.16 | 3.08 | 2.57 | 2.37 | 2.26 | 2.2 | 2.36 | 2.72 | 3.03 | 4.1
3 | 1.2 | 0.92 | 0.8 | 0.81 | 0.54 | 0.44 | 0.49 | 0.47 | 0.62 | 0.66 | 0.91 | 1.32
4 | 0.54 | 0.49 | 0.43 | 0.35 | 0.39 | 0.18 | 0.21 | 0.16 | 0.32 | 0.29 | 0.48 | 0.62 | 99.99
| Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
1 | 5.2205 | 4.3204 | 4.5805 | 4.4504 | 4.2004 | 3.7704 | 3.6704 | 4.0604 | 3.4303 | 4.4204 | 4.2304 | 5.1405
2 | 3.8604 | 3.1503 | 3.1603 | 3.0803 | 2.5703 | 2.3702 | 2.2602 | 2.2002 | 2.3602 | 2.7203 | 3.0303 | 4.1004
3 | 1.2001 | 0.92009 | 0.80008 | 0.81008 | 0.54005 | 0.44004 | 0.49005 | 0.47005 | 0.62006 | 0.66007 | 0.91009 | 1.3201
4 | 0.54005 | 0.49005 | 0.43004 | 0.35004 | 0.39004 | 0.18002 | 0.21002 | 0.16002 | 0.32003 | 0.29003 | 0.48005 | 0.62006 | 100

## NewComm
Set ID:NEWCOMM *** c:\96plan\isaac\NEWCOMM.txt
Seg | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
--- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | -----
1 | 4.06 | 3.52 | 3.65 | 3.54 | 3.14 | 2.93 | 3.3 | 3.45 | 2.84 | 3.59 | 3.41 | 3.98
2 | 3.85 | 3.72 | 4.14 | 3.72 | 3.36 | 2.99 | 3.08 | 3.04 | 3.07 | 3.72 | 3.75 | 3.89
3 | 1.16 | 0.84 | 0.76 | 0.9 | 0.64 | 1.32 | 0.84 | 0.59 | 0.58 | 1.32 | 1.05 | 1.03
4 | 0.49 | 0.5 | 0.45 | 0.46 | 0.35 | 0.36 | 0.37 | 0.28 | 0.38 | 0.36 | 0.44 | 0.81 | 100.02
| Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
1 | 4.0592 | 3.5193 | 3.6493 | 3.5393 | 3.1394 | 2.9294 | 3.2993 | 3.4493 | 2.8394 | 3.5893 | 3.4093 | 3.9792
2 | 3.8492 | 3.7193 | 4.1392 | 3.7193 | 3.3593 | 2.9894 | 3.0794 | 3.0394 | 3.0694 | 3.7193 | 3.7493 | 3.8892
3 | 1.1598 | 0.83983 | 0.75985 | 0.89982 | 0.63987 | 1.3197 | 0.83983 | 0.58988 | 0.57988 | 1.3197 | 1.0498 | 1.0298
4 | 0.4899 | 0.4999 | 0.44991 | 0.45991 | 0.34993 | 0.35993 | 0.36993 | 0.27994 | 0.37992 | 0.35993 | 0.43991 | 0.80984 | 100

## IND
--------------ISAAC Conservation Load Segment Savings Data ----------------
Values are percentage of annual savings for each segment for a typical
week by month.
Tied specifically to chronology mapping of ISAAC load segments, --
If that changes, this data should too.
Values are normalized to 100% before use.
1 2 3 4 5 6 7 8 9 10 11 12 13
1.2346e+139
***************************************************************************
Set ID:sic24 *** o:\helm\lsfs\absolute\sic24.a90
Seg Jan Feb Mar Apr May Jun Jul Aug Sep Oct Nov Dec
--- ----- ----- ----- ----- ----- ----- ----- ----- ----- ----- ----- -----
1 3.26 2.89 3.34 3.1 3.3 2.87 2.56 3.19 2.82 3.33 2.96 2.98
2 3.17 3.5 3.34 2.97 2.92 2.91 2.56 2.99 3.12 3.14 3.2 3.22
3 1.83 1.71 1.84 1.70 1.71 1.59 1.47 1.75 1.67 1.82 1.72 1.73
4 0.53 0.59 0.56 0.54 0.49 0.51 0.49 0.46 0.66 0.47 0.59 0.66
***************************************************************************
Set ID:sic26 *** o:\helm\lsfs\absolute\sic26.a90
Seg Jan Feb Mar Apr May Jun Jul Aug Sep Oct Nov Dec
--- ----- ----- ----- ----- ----- ----- ----- ----- ----- ----- ----- -----
1 2.42 2.13 2.45 2.24 2.45 2.36 2.37 3.10 2.35 2.43 1.99 1.87
2 3.39 3.17 3.53 3.24 3.45 3.48 3.47 3.87 3.81 3.33 3.2 3.2
3 1.88 1.68 1.82 1.74 1.88 1.76 1.91 2.23 1.90 1.80 1.61 1.55
4 0.73 0.75 0.72 0.72 0.75 0.73 0.84 0.68 0.99 0.65 0.75 0.76
***************************************************************************
Set ID:alum *** o:\helm\lsfs\absolute\alum.a90
Seg Jan Feb Mar Apr May Jun Jul Aug Sep Oct Nov Dec
--- ----- ----- ----- ----- ----- ----- ----- ----- ----- ----- ----- -----
1 2.37 2.5 2.30 2.33 2.49 2.42 2.50 2.79 2.30 2.63 2.33 2.35
2 3.20 2.96 3.21 3.21 3.34 3.42 3.57 3.58 3.65 3.39 3.40 3.63
3 1.74 1.55 1.64 1.72 1.82 1.72 1.93 1.96 1.81 1.85 1.81 1.82
4 0.68 0.69 0.64 0.70 0.71 0.71 0.85 0.67 0.94 0.63 0.83 0.91
***************************************************************************
Set ID:sic20 *** o:\helm\lsfs\absolute\sic20.a90
Seg Jan Feb Mar Apr May Jun Jul Aug Sep Oct Nov Dec
--- ----- ----- ----- ----- ----- ----- ----- ----- ----- ----- ----- -----
1 2.27 2.30 2.46 2.42 2.57 2.84 3.0 3.38 2.79 3.80 2.58 2.29
2 2.58 2.86 2.87 2.69 2.82 3.42 3.61 3.77 3.71 4.32 3.15 2.97
3 1.41 1.53 1.50 1.49 1.57 1.71 1.93 2.7 1.83 2.37 1.69 1.50
4 0.47 0.60 0.52 0.49 0.50 0.67 0.82 0.67 0.88 0.77 0.64 0.65
***************************************************************************

## SIC20
Set ID:sic20 *** o:\helm\lsfs\absolute\sic20.a90
Seg | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
--- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | -----
1 | 2.27 | 2.3 | 2.46 | 2.42 | 2.57 | 2.84 | 3 | 3.38 | 2.79 | 3.8 | 2.58 | 2.29
2 | 2.58 | 2.86 | 2.87 | 2.69 | 2.82 | 3.42 | 3.61 | 3.77 | 3.71 | 4.32 | 3.15 | 2.97
3 | 1.41 | 1.53 | 1.5 | 1.49 | 1.57 | 1.71 | 1.93 | 2.7 | 1.83 | 2.37 | 1.69 | 1.5
4 | 0.47 | 0.6 | 0.52 | 0.49 | 0.5 | 0.67 | 0.82 | 0.67 | 0.88 | 0.77 | 0.64 | 0.65 | 100.38
| Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
1 | 2.2614 | 2.2913 | 2.4507 | 2.4108 | 2.5603 | 2.8292 | 2.9886 | 3.3672 | 2.7794 | 3.7856 | 2.5702 | 2.2813
2 | 2.5702 | 2.8492 | 2.8591 | 2.6798 | 2.8093 | 3.4071 | 3.5963 | 3.7557 | 3.696 | 4.3036 | 3.1381 | 2.9588
3 | 1.4047 | 1.5242 | 1.4943 | 1.4844 | 1.5641 | 1.7035 | 1.9227 | 2.6898 | 1.8231 | 2.361 | 1.6836 | 1.4943
4 | 0.46822 | 0.59773 | 0.51803 | 0.48815 | 0.49811 | 0.66746 | 0.8169 | 0.66746 | 0.87667 | 0.76709 | 0.63758 | 0.64754 | 100

## SIC24
Set ID:sic24 *** o:\helm\lsfs\absolute\sic24.a90
Seg | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
--- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | -----
1 | 3.26 | 2.89 | 3.34 | 3.1 | 3.3 | 2.87 | 2.56 | 3.19 | 2.82 | 3.33 | 2.96 | 2.98
2 | 3.17 | 3.5 | 3.34 | 2.97 | 2.92 | 2.91 | 2.56 | 2.99 | 3.12 | 3.14 | 3.2 | 3.22
3 | 1.83 | 1.71 | 1.84 | 1.7 | 1.71 | 1.59 | 1.47 | 1.75 | 1.67 | 1.82 | 1.72 | 1.73
4 | 0.53 | 0.59 | 0.56 | 0.54 | 0.49 | 0.51 | 0.49 | 0.46 | 0.66 | 0.47 | 0.59 | 0.66 | 100.73
| Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
1 | 3.2364 | 2.8691 | 3.3158 | 3.0775 | 3.2761 | 2.8492 | 2.5414 | 3.1669 | 2.7996 | 3.3059 | 2.9385 | 2.9584
2 | 3.147 | 3.4746 | 3.3158 | 2.9485 | 2.8988 | 2.8889 | 2.5414 | 2.9683 | 3.0974 | 3.1172 | 3.1768 | 3.1967
3 | 1.8167 | 1.6976 | 1.8267 | 1.6877 | 1.6976 | 1.5785 | 1.4593 | 1.7373 | 1.6579 | 1.8068 | 1.7075 | 1.7175
4 | 0.52616 | 0.58572 | 0.55594 | 0.53609 | 0.48645 | 0.5063 | 0.48645 | 0.45667 | 0.65522 | 0.46659 | 0.58572 | 0.65522 | 100

## SIC26
Set ID:sic26 *** o:\helm\lsfs\absolute\sic26.a90
Seg | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
--- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | -----
1 | 2.42 | 2.13 | 2.45 | 2.24 | 2.45 | 2.36 | 2.37 | 3.1 | 2.35 | 2.43 | 1.99 | 1.87
2 | 3.39 | 3.17 | 3.53 | 3.24 | 3.45 | 3.48 | 3.47 | 3.87 | 3.81 | 3.33 | 3.2 | 3.2
3 | 1.88 | 1.68 | 1.82 | 1.74 | 1.88 | 1.76 | 1.91 | 2.23 | 1.9 | 1.8 | 1.61 | 1.55
4 | 0.73 | 0.75 | 0.72 | 0.72 | 0.75 | 0.73 | 0.84 | 0.68 | 0.99 | 0.65 | 0.75 | 0.76 | 100.13
| Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
1 | 2.4169 | 2.1272 | 2.4468 | 2.2371 | 2.4468 | 2.3569 | 2.3669 | 3.096 | 2.3469 | 2.4268 | 1.9874 | 1.8676
2 | 3.3856 | 3.1659 | 3.5254 | 3.2358 | 3.4455 | 3.4755 | 3.4655 | 3.865 | 3.8051 | 3.3257 | 3.1958 | 3.1958
3 | 1.8776 | 1.6778 | 1.8176 | 1.7377 | 1.8776 | 1.7577 | 1.9075 | 2.2271 | 1.8975 | 1.7977 | 1.6079 | 1.548
4 | 0.72905 | 0.74903 | 0.71907 | 0.71907 | 0.74903 | 0.72905 | 0.83891 | 0.67912 | 0.98871 | 0.64916 | 0.74903 | 0.75901 | 100

## alum
Set ID:alum *** o:\helm\lsfs\absolute\alum.a90
Seg | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
--- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | -----
1 | 2.37 | 2.5 | 2.3 | 2.33 | 2.49 | 2.42 | 2.5 | 2.79 | 2.3 | 2.63 | 2.33 | 2.35
2 | 3.2 | 2.96 | 3.21 | 3.21 | 3.34 | 3.42 | 3.57 | 3.58 | 3.65 | 3.39 | 3.4 | 3.63
3 | 1.74 | 1.55 | 1.64 | 1.72 | 1.82 | 1.72 | 1.93 | 1.96 | 1.81 | 1.85 | 1.81 | 1.82
4 | 0.68 | 0.69 | 0.64 | 0.7 | 0.71 | 0.71 | 0.85 | 0.67 | 0.94 | 0.63 | 0.83 | 0.91 | 100.2
| Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
1 | 2.3653 | 2.495 | 2.2954 | 2.3253 | 2.485 | 2.4152 | 2.495 | 2.7844 | 2.2954 | 2.6248 | 2.3253 | 2.3453
2 | 3.1936 | 2.9541 | 3.2036 | 3.2036 | 3.3333 | 3.4132 | 3.5629 | 3.5729 | 3.6427 | 3.3832 | 3.3932 | 3.6228
3 | 1.7365 | 1.5469 | 1.6367 | 1.7166 | 1.8164 | 1.7166 | 1.9261 | 1.9561 | 1.8064 | 1.8463 | 1.8064 | 1.8164
4 | 0.67864 | 0.68862 | 0.63872 | 0.6986 | 0.70858 | 0.70858 | 0.8483 | 0.66866 | 0.93812 | 0.62874 | 0.82834 | 0.90818 | 100

## IRRIGATION
--------------ISAAC Conservation Load Segment Savings Data ----------------
Values are percentage of annual savings for each segment for a typical
week by month.
Tied specifically to chronology mapping of ISAAC load segments, --
If that changes, this data should too.
Values are normalized to 100% before use.
1 2 3 4 5 6 7 8 9 10 11 12 13
1.2346e+139
***************************************************************************
Set ID:irri *** o:\helm\lsfs\absolute\irri.a90
Seg Jan Feb Mar Apr May Jun Jul Aug Sep Oct Nov Dec
--- ----- ----- ----- ----- ----- ----- ----- ----- ----- ----- ----- -----
1 0.0 0.0 0.12 1.28 5.11 5.98 5.99 6.19 2.87 1.71 0.59 0.0
2 0.0 0.0 0.9 1.53 6.1 8.70 8.76 8.16 4.19 2.11 0.53 0.0
3 0.0 0.0 0.3 0.73 2.91 4.58 4.94 4.67 2.2 1.10 0.15 0.0
4 0.0 0.0 0.1 0.29 1.13 1.90 2.22 1.62 1.7 0.43 0.7 0.0
***************************************************************************

## irri
Set ID:irri *** o:\helm\lsfs\absolute\irri.a90
Seg | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
--- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | -----
1 | 0 | 0 | 0.12 | 1.28 | 5.11 | 5.98 | 5.99 | 6.19 | 2.87 | 1.71 | 0.59 | 0
2 | 0 | 0 | 0.9 | 1.53 | 6.1 | 8.7 | 8.76 | 8.16 | 4.19 | 2.11 | 0.53 | 0
3 | 0 | 0 | 0.3 | 0.73 | 2.91 | 4.58 | 4.94 | 4.67 | 2.2 | 1.1 | 0.15 | 0
4 | 0 | 0 | 0.1 | 0.29 | 1.13 | 1.9 | 2.22 | 1.62 | 1.7 | 0.43 | 0.7 | 0 | 102.49
| Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
1 | 0 | 0 | 0.11708 | 1.2489 | 4.9859 | 5.8347 | 5.8445 | 6.0396 | 2.8003 | 1.6685 | 0.57567 | 0
2 | 0 | 0 | 0.87813 | 1.4928 | 5.9518 | 8.4886 | 8.5472 | 7.9618 | 4.0882 | 2.0587 | 0.51712 | 0
3 | 0 | 0 | 0.29271 | 0.71226 | 2.8393 | 4.4687 | 4.82 | 4.5565 | 2.1466 | 1.0733 | 0.14636 | 0
4 | 0 | 0 | 0.09757 | 0.28295 | 1.1025 | 1.8538 | 2.1661 | 1.5806 | 1.6587 | 0.41955 | 0.68299 | 0 | 100