## Coal
Name | NWPCC Retirement Date | Potential Retirement Date | Map - Status | Map - Retirement Date | Map - Nameplate Capacity | Utility | Nameplate Capacity | State/Province | In-service Date | NWPCC Replacement Notes | NWPCC Retirement Notes | Sources 1 | Sources 2 | Sources 3
Amalgamated Sugar Twin Falls (1500) | EUL |  | EUL | 2039-12-31 | 1.5 | The Amalgamated Sugar Co | 1.5 | ID | 1948 |  | Dual fuel | https://magicvalley.com/business/agriculture/amalgamated-converts-factories-from-coal-to-natural-gas/article_86f15fd8-eea4-59f5-912d-eeb819fe2eb8.html | http://www.deq.idaho.gov/media/60180213/amalgamated-sugar-twin-falls-tier-1-statement-0617.pdf
Amalgamated Sugar Twin Falls (2500) | EUL |  | EUL | 2039-12-31 | 2.5 | The Amalgamated Sugar Co | 2.5 | ID | 1948 |  | Dual fuel | https://magicvalley.com/business/agriculture/amalgamated-converts-factories-from-coal-to-natural-gas/article_86f15fd8-eea4-59f5-912d-eeb819fe2eb8.html
Amalgamated Sugar Twin Falls (4000) | EUL |  | EUL | 2039-12-31 | 6.2 | The Amalgamated Sugar Co | 6.2 | ID | 1994 |  | Dual fuel | https://magicvalley.com/business/agriculture/amalgamated-converts-factories-from-coal-to-natural-gas/article_86f15fd8-eea4-59f5-912d-eeb819fe2eb8.html
Apache Station (ST3) | EUL |  | EUL | 2039-12-31 | 204 | Arizona Electric Pwr Coop Inc | 204 | AZ | 1979 | Dual fuel (NG) and co-firing ability | Dual-fuel and co-firing unit (ability to burn coal OR gas, or coal and gas at the same time); ST3 has been upgraded to reduce emissions |  | http://static.azdeq.gov/pn/tsd_2018_aqc_aepco.pdf
Argus Cogen Plant (TG5) | EUL |  | EUL | 2039-12-31 | 7.5 | Searles Valley Minerals Operations Inc. | 7.5 | CA | 1947 |  | Standby unit; availble but not normally used (EIA) | https://www.energy.ca.gov/sites/default/files/2019-05/declining_reliance_coal.pdf
Argus Cogen Plant (TG8) | EUL |  | EUL | 2039-12-31 | 27.5 | Searles Valley Minerals Operations Inc. | 27.5 | CA | 1978 |  | Only coal units left operating in CA | https://www.energy.ca.gov/sites/default/files/2019-05/declining_reliance_coal.pdf
Argus Cogen Plant (TG9) | EUL |  | EUL | 2039-12-31 | 27.5 | Searles Valley Minerals Operations Inc. | 27.5 | CA | 1978 |  | Only coal units left operating in CA | https://www.energy.ca.gov/sites/default/files/2019-05/declining_reliance_coal.pdf
Battle River 3 | 2019-12-31 |  | Retired | 2019-12-31 | 157 | ATCO Electric Ltd. | 157 | AB | 1969
Battle River 4 | 2029-12-31 |  | Confirmed | 2029-12-31 | 157 | ATCO Electric Ltd. | 157 | AB | 1975 | Planned for CTG under AB Commission order | 3, 4, 5 underwent mercury retrofits in 2014 (SNL); Alberta Utilities Commission Decision 23558-D01-2018
Battle River 5 | 2029-12-31 |  | Confirmed | 2029-12-31 | 390 | ATCO Electric Ltd. | 390 | AB | 1981 | Planned for modification to run "frequently" on gas as supplemental field
Boardman | 2020-12-31 |  | Retired | 2020-12-31 | 642.2 | Portland General Electric Co | 642.2 | OR | 1980
Bonanza | EUL | 2030-12-31 | EUL | 2039-12-31 | 499.5 | Deseret Generation & Tran Coop | 499.5 | UT | 1986 | settlement and env. Rego compliance | Settlement limits amount of coal burned in remainder of life (20 million tons) and could mean retirement in 2030 if continue to burn 2 million tons annually. In 2030, catalytic control tech will need to be installed to continue operations. | https://www.utilitydive.com/news/settlement-could-spell-early-retirement-for-utah-coal-plant/406974/
Cholla (1) | 2024-12-31 |  | Confirmed | 2024-12-31 | 113.6 | Arizona Public Service Co | 113.6 | AZ | 1962 | APS considering converting unit 1 to biomass (~83 MW); by 2022, $205M; $115/MWh |  | http://ieefa.org/aps-biomass-conversion-at-cholla-coal-plant-could-cost-115-mwh/
Cholla (3) | 2024-12-31 |  | Confirmed | 2024-12-31 | 312.3 | Arizona Public Service Co | 312.3 | AZ | 1980
Cholla (4) | 2020-12-31 |  | Retired | 2020-12-31 | 414 | PacifiCorp | 414 | AZ | 1981 |  | Draft 2019 IRP states 2020 retirement in preferred portfolio, but in the action plan "PacifiCorp will initiate the process of retiring ChollaUnit 4 no later than January 2023" | https://apnews.com/eaad306d868b13a96cc75663cd29c834 | https://www.pacificorp.com/content/dam/pcorp/documents/en/pacificorp/energy/integrated-resource-plan/PacifiCorp_2019_IRP_October_3-4_2019_Public_Input_Meeting.pdf
Colstrip (1) | 2019-12-31 |  | Retired | 2019-12-31 | 358 | Talen Montana LLC | 358 | MT | 1975
Colstrip (2) | 2019-12-31 |  | Retired | 2019-12-31 | 358 | Talen Montana LLC | 358 | MT | 1976
Colstrip (3) | EUL | 2025-12-31 | EUL | 2039-12-31 | 778 | Talen Montana LLC | 778 | MT | 1984 |  | EOUL estimates range from 2027-2037 per onwer's governed by state legislation, but feasible EOUL is realistically more like 2040's | https://billingsgazette.com/news/state-and-regional/govt-and-politics/plan-to-close-colstrip-power-plant-by-approved-leaving-m/article_0b0e8f15-eb3e-536d-8dc8-a3cf6db44a95.html
Colstrip (4) | EUL | 2025-12-31 | EUL | 2039-12-31 | 778 | Talen Montana LLC | 778 | MT | 1986 |  | EOUL estimates range from 2027-2037 per onwer's governed by state legislation, but feasible EOUL is realistically more like 2040's | https://billingsgazette.com/news/state-and-regional/govt-and-politics/plan-to-close-colstrip-power-plant-by-approved-leaving-m/article_0b0e8f15-eb3e-536d-8dc8-a3cf6db44a95.html
Comanche (CO) (1) | 2022-12-31 |  | Confirmed | 2022-12-31 | 382.5 | Public Service Co of Colorado | 382.5 | CO | 1973 | 1131MW wind, 707MW solar, 275MW battery | Planned | https://www.greentechmedia.com/articles/read/xcel-retire-coal-renewable-energy-storage#gs.or97h0
Comanche (CO) (2) | 2025-12-31 |  | Confirmed | 2025-12-31 | 396 | Public Service Co of Colorado | 396 | CO | 1975 | 1131MW wind, 707MW solar, 275MW battery |  | https://www.greentechmedia.com/articles/read/xcel-retire-coal-renewable-energy-storage#gs.or97h0
Comanche (CO) (3) | 2070-12-31 |  | EUL | 2070-12-31 | 856.8 | Public Service Co of Colorado | 856.8 | CO | 2010 |  | Plans to remain in operation; unit came online in 2010; serves load at local steel mill | https://www.powermag.com/xcel-will-retire-coal-add-renewables-in-latest-plan/ | https://www.powermag.com/colorado-utility-will-close-last-two-coal-plants/
Coronado (CO1) | 2032-12-31 | 2032-12-31 | Confirmed | 2032-12-31 | 410.9 | Salt River Project | 410.9 | AZ | 1979 | environmental reg compliance | SRP has sustainability goals, but intermediate date is 2035 so no immediate action necessary. Recently completed $470M project to comply with env. regs | https://media.srpnet.com/srp-selects-operation-plan-for-coronado-generating-station/?fbclid=IwAR271xzV0CXaziTj6RZ2TvHZeeXkpjhWhVbE5jiZO_9v0ZeRNPp1lovr1zY | https://www.transmissionhub.com/articles/2014/05/salt-river-project-wraps-up-final-air-control-for-coronado-coal-plant.html
Coronado (CO2) | 2032-12-31 | 2032-12-31 | Confirmed | 2032-12-31 | 410.9 | Salt River Project | 410.9 | AZ | 1980 | environmental reg compliance | SRP has sustainability goals, but intermediate date is 2035 so no immediate action necessary. Recently completed $470M project to comply with env. regs | https://media.srpnet.com/srp-selects-operation-plan-for-coronado-generating-station/?fbclid=IwAR271xzV0CXaziTj6RZ2TvHZeeXkpjhWhVbE5jiZO_9v0ZeRNPp1lovr1zY | https://www.transmissionhub.com/articles/2014/05/salt-river-project-wraps-up-final-air-control-for-coronado-coal-plant.html
Craig (CO) (1) | 2025-12-31 |  | Confirmed | 2025-12-31 | 446.4 | Tri-State G & T Assn, Inc | 446.4 | CO | 1980 |  | Tri-State announced its "Responsible Energy Plan" which continues to commit to Craig 1 closure in 2025 | https://www.tristategt.org/craig-station-owners-regulators-and-environmental-groups-reach-agreement-proposed-revisions
Craig (CO) (2) | 2028-09-30 |  | Confirmed | 2028-09-30 | 446.4 | Tri-State G & T Assn, Inc | 446.4 | CO | 1979 | Retrofit of NOx | Guzman Energy offered a proposal to Tri-State to finance the retirement of all of its remaining coal plants by 2025 (incl. Craig 2, 3) and developing replacement renewables. Tri-State "rejected" offer. | https://www.gjsentinel.com/breaking/firm-bids-to-retire-tri-state-coal-assets/article_d920e1a4-819a-11e9-8cd0-bf897250372f.html | https://www.tristategt.org/craig-station-owners-regulators-and-environmental-groups-reach-agreement-proposed-revisions | https://www.craigdailypress.com/news/yampa-project-owners-announce-retirement-date-of-craig-station-unit-2/
Craig (CO) (3) | 2029-12-31 |  | Confirmed | 2029-12-31 | 534.8 | Tri-State G & T Assn, Inc | 534.8 | CO | 1984 | Retrofit of NOx | Guzman Energy offered a proposal to Tri-State to finance the retirement of all of its remaining coal plants by 2025 (incl. Craig 2, 3) and developing replacement renewables. Tri-State "rejected" offer. | https://www.gjsentinel.com/breaking/firm-bids-to-retire-tri-state-coal-assets/article_d920e1a4-819a-11e9-8cd0-bf897250372f.html | https://www.tristategt.org/craig-station-owners-regulators-and-environmental-groups-reach-agreement-proposed-revisions
Dave Johnston (1) | 2027-12-31 |  | Proposed | 2027-12-31 | 133.6 | PacifiCorp | 133.6 | WY | 1959 | Glenrock Petroleum is a prospective buyer; would eqip CCS on unit 4 for enhanced oil recovery |  | https://www.argusmedia.com/en/news/1872332-pacificorp-may-have-buyer-for-its-dave-johnston-plant | https://www.gillettenewsrecord.com/news/wyoming/article_94a3f7b7-2bed-509f-a329-9533c4ddac79.html
Dave Johnston (2) | 2027-12-31 |  | Proposed | 2027-12-31 | 133.6 | PacifiCorp | 133.6 | WY | 1961 | Glenrock Petroleum is a prospective buyer; would eqip CCS on unit 4 for enhanced oil recovery |  | https://www.argusmedia.com/en/news/1872332-pacificorp-may-have-buyer-for-its-dave-johnston-plant | https://www.gillettenewsrecord.com/news/wyoming/article_94a3f7b7-2bed-509f-a329-9533c4ddac79.html
Dave Johnston (3) | 2027-12-31 |  | Proposed | 2027-12-31 | 255 | PacifiCorp | 255 | WY | 1964 | Glenrock Petroleum is a prospective buyer; would eqip CCS on unit 4 for enhanced oil recovery |  | https://www.argusmedia.com/en/news/1872332-pacificorp-may-have-buyer-for-its-dave-johnston-plant | https://www.gillettenewsrecord.com/news/wyoming/article_94a3f7b7-2bed-509f-a329-9533c4ddac79.html
Dave Johnston (4) | 2027-12-31 |  | Proposed | 2027-12-31 | 400 | PacifiCorp | 400 | WY | 1972 | Glenrock Petroleum is a prospective buyer; would eqip CCS on unit 4 for enhanced oil recovery |  | https://www.argusmedia.com/en/news/1872332-pacificorp-may-have-buyer-for-its-dave-johnston-plant | https://www.gillettenewsrecord.com/news/wyoming/article_94a3f7b7-2bed-509f-a329-9533c4ddac79.html
Escalante | 2020-12-31 |  | Retired | 2020-12-31 | 257 | Tri-State G & T Assn, Inc | 257 | NM | 1984 |  | Tri-State announced closure of Escalante Station by EOTY 2020. Previously, Guzman Energy offer would close Escalante, but offer was rejected. | https://www.denverpost.com/2020/01/09/tri-state-coal-plants-closing/
Four Corners (4) | 2030-12-31 | 2031-12-31 | Confirmed | 2030-12-31 | 818.1 | Arizona Public Service Co | 818.1 | NM | 1969 |  | January 2020- APS announced clean policy goals, including ceasing coal-fired generation by 2031; PNM to end ownership stake by 2031 (~13%) | https://www.powermag.com/coal-is-out-as-aps-sets-carbon-free-goal/ | https://www.energyandpolicy.org/arizona-public-service-four-corners-power-plant/ | https://www.utilitydive.com/news/new-mexico-regulators-approve-pnm-plan-to-phase-out-coal-by-2031/544859/
Four Corners (5) | 2030-12-31 | 2031-12-31 | Confirmed | 2030-12-31 | 818.1 | Arizona Public Service Co | 818.1 | NM | 1970 |  | January 2020- APS announced clean policy goals, including ceasing coal-fired generation by 2031; PNM to end ownership stake by 2031 (~13%) | https://www.powermag.com/coal-is-out-as-aps-sets-carbon-free-goal/ | https://www.energyandpolicy.org/arizona-public-service-four-corners-power-plant/ | https://www.utilitydive.com/news/new-mexico-regulators-approve-pnm-plan-to-phase-out-coal-by-2031/544859/
General Chemical (TG1) | EUL |  | EUL | 2039-12-31 | 15 | Tata Chemicals Partners | 15 | WY | 1968 |  | Dual fuel; no news re: retirement | SNL
General Chemical (TG2) | EUL |  | EUL | 2039-12-31 | 15 | Tata Chemicals Partners | 15 | WY | 1977 |  | Dual fuel; no news re: retirement | SNL
Genesee 1 | 2029-12-31 |  | Confirmed | 2029-12-31 | 406 | Edmonton Power | 406 | AB | 1994 | Capitol Power expects 100% dual-fuel by spring 2021 | Capitol Power plans on operating as dual fuel throughout 2020's; NG in 2030 and beyond
Genesee 2 | 2029-12-31 |  | Confirmed | 2029-12-31 | 406 | Edmonton Power | 406 | AB | 1989 | Capitol Power expects 100% dual-fuel by mid-2020 | Capitol Power plans on operating as dual fuel throughout 2020's; NG in 2030 and beyond
Genesee 3 | 2029-12-31 |  | Confirmed | 2029-12-31 | 450 | Edmonton Power | 450 | AB | 2005 | Planned to use 40% gas by spring 2021; later 100% dual-fuel | Off-Coal Agreement w/ AB government | https://www.transalta.com/newsroom/news-releases/transalta-reaches-agreement-government-alberta-transition-payments/ | https://platform.mi.spglobal.com/web/client?auth=inherit#news/article?KeyProductLinkType=2&id=52449901
Hardin Generator Project | EUL |  | Unknown | 2039-12-31 | 115.7 | Heorot Power Management | 115.7 | MT | 2006 |  | Purchased by cryptocurrency company; vague about future plans; no actual generation since 2017
Hayden (1) | 2028-12-31 |  | Confirmed | 2028-12-31 | 190 | Public Service Co of Colorado | 190 | CO | 1965 | PAC considering Hayden 1,2 as early retirements (PAC is partial owner) |  | https://www.craigdailypress.com/news/hayden-station-to-retire-completely-in-2036/ | https://www.utilitydive.com/news/pacificorp-taps-4-units-for-potential-early-retirement-in-updated-coal-anal/553484/
Hayden (2) | 2027-12-31 | 2029-12-31 | Confirmed | 2027-12-31 | 275.4 | Public Service Co of Colorado | 275.4 | CO | 1976 | PAC considering Hayden 1,2 as early retirements (PAC is partial owner) |  | https://www.craigdailypress.com/news/hayden-station-to-retire-completely-in-2036/ | https://www.utilitydive.com/news/pacificorp-taps-4-units-for-potential-early-retirement-in-updated-coal-anal/553484/
Hunter (1) | EUL |  | EUL | 2039-12-31 | 525 | PacifiCorp | 525 | UT | 1978 |  | end of useful life - depreciation date is 2042; However, PAC is issuing 2019 IRP in October, may have updated info then
Hunter (2) | EUL |  | EUL | 2039-12-31 | 525 | PacifiCorp | 525 | UT | 1980 |  | end of useful life - depreciation date is 2042; However, PAC is issuing 2019 IRP in October, may have updated info then
Hunter (3) | EUL |  | EUL | 2039-12-31 | 527.2 | PacifiCorp | 527.2 | UT | 1983 |  | end of useful life - depreciation date is 2042; However, PAC is issuing 2019 IRP in October, may have updated info then
Huntington (1) | EUL |  | EUL | 2039-12-31 | 541.3 | PacifiCorp | 541.3 | UT | 1977 |  | end of useful life - depreciation date is 2036; However, PAC is issuing 2019 IRP in October, may have updated info then
Huntington (2) | EUL |  | EUL | 2039-12-31 | 496 | PacifiCorp | 496 | UT | 1974 |  | end of useful life - depreciation date is 2036; However, PAC is issuing 2019 IRP in October, may have updated info then
Intermountain Power Project (1) | 2025-08-01 |  | Confirmed | 2025-08-01 | 820 | Los Angeles Department of Water & Power | 820 | UT | 1986 | 840 MW gas plant | All current contracts end July 2025 (SNL); replacement plans for 840 MW new gas plant from LADWP, est operation July 2025 | https://www.deseretnews.com/article/865680637/Intermountain-Power-Project-will-shutter-coal-fired-power-plant-near-Delta.html | https://www.latimes.com/business/la-fi-garcetti-dwp-gas-plants-20190212-story.html | https://www.naturalgasintel.com/articles/114896-ladwp-utah-gas-fired-generation-plans-scaled-back-by-oversight-board
Intermountain Power Project (2) | 2025-08-01 |  | Confirmed | 2025-08-01 | 820 | Los Angeles Department of Water & Power | 820 | UT | 1987 | 840 MW gas plant | All current contracts end July 2025 (SNL); replacement plans for 840 MW new gas plant from LADWP, est operation July 2025 | https://www.deseretnews.com/article/865680637/Intermountain-Power-Project-will-shutter-coal-fired-power-plant-near-Delta.html
Jim Bridger (1) | 2023-12-31 | 2022-12-31 | Confirmed | 2023-12-31 | 608.3 | PacifiCorp | 608.3 | WY | 1974 |  | As close to confirmed as you can get; PACdraft 2019 IRP states EOY 2023 retirement in preferred portfolio; IPC 2019 IRP says EOY 2022. | https://www.pacificorp.com/content/dam/pcorp/documents/en/pacificorp/energy/integrated-resource-plan/PacifiCorp_2019_IRP_October_3-4_2019_Public_Input_Meeting.pdf | https://docs.idahopower.com/pdfs/AboutUs/PlanningForFuture/irp/2019/2019_IRP.pdf
Jim Bridger (2) | 2028-12-31 | 2026-12-31 | Proposed | 2028-12-31 | 617 | PacifiCorp | 617 | WY | 1975 |  | PAC Draft 2019 IRP states EOY 2028 retirement in preferred portfolio; IPC 2019 IRP has 2026 | https://www.pacificorp.com/content/dam/pcorp/documents/en/pacificorp/energy/integrated-resource-plan/PacifiCorp_2019_IRP_October_3-4_2019_Public_Input_Meeting.pdf | https://docs.idahopower.com/pdfs/AboutUs/PlanningForFuture/irp/2019/2019_IRP.pdf
Jim Bridger (3) | 2037-12-31 | 2034-12-31 | EUL | 2037-12-31 | 608.3 | PacifiCorp | 608.3 | WY | 1976 |  | PAC assumes end of depreciable life in 2037; IPC assumes exit from units 3 and 4 by 2034 | https://www.pacificorp.com/content/dam/pcorp/documents/en/pacificorp/energy/integrated-resource-plan/PacifiCorp_2019_IRP_October_3-4_2019_Public_Input_Meeting.pdf | https://docs.idahopower.com/pdfs/AboutUs/PlanningForFuture/irp/2019/2019_IRP.pdf
Jim Bridger (4) | 2037-12-31 | 2034-12-31 | EUL | 2037-12-31 | 608.3 | PacifiCorp | 608.3 | WY | 1979 |  | PAC assumes end of depreciable life in 2037; IPC assumes exit from units 3 and 4 by 2034 | https://www.pacificorp.com/content/dam/pcorp/documents/en/pacificorp/energy/integrated-resource-plan/PacifiCorp_2019_IRP_October_3-4_2019_Public_Input_Meeting.pdf | https://docs.idahopower.com/pdfs/AboutUs/PlanningForFuture/irp/2019/2019_IRP.pdf
Keephills 1 | 2022-12-31 | 2029-12-31 | Confirmed | 2022-12-31 | 392 | TransAlta Utilities Corporatio | 392 | AB | 1983 | Candidate for CTG; currently DF up to 30% NG | Off-Coal Agreement w/ AB government
Keephills 2 | 2022-12-31 | 2029-12-31 | Confirmed | 2022-12-31 | 393 | TransAlta Utilities Corporatio | 393 | AB | 1984 | Candidate for CTG; currently DF up to 30% NG | Off-Coal Agreement w/ AB government
Keephills 3 | 2020-12-31 | 2029-12-31 | Confirmed | 2020-12-31 | 450 | TransAlta/Epcor | 450 | AB | 2011 | Candidate for CTG; currently DF up to 30% NG | Off-Coal Agreement w/ AB government | https://www.transalta.com/newsroom/news-releases/transalta-reaches-agreement-government-alberta-transition-payments/ | https://www.transalta.com/about-us/coal-to-gas/
Lamar Plant (4) | 2013-12-31 | 2029-12-31 | Unknown | 2013-12-31 | 25 | City of Lamar - (CO) | 25 | CO | 2009 |  | Out of service (SNL characterizes this unit as retired); major doubts about whether it will be resurrected. Likely closed permanently. | EIA | SNL
Lamar Plant (6) | 2013-12-31 | 2029-12-31 | Unknown | 2013-12-31 | 18.5 | City of Lamar - (CO) | 18.5 | CO | 2009 |  | Out of service; not in SNL at all, EIA says out-of-ervice | EIA
Laramie River Station (2) | EUL |  | EUL | 2039-12-31 | 570 | Basin Electric Power Coop | 570 | WY | 1981 | environmental reg compliance | LRS (1) serves the eastern interconnection; SCR and NSCR installed at units to reduce emissions and comply w/ env regulations | https://www.power-eng.com/articles/2018/03/laramie-river-station-to-receive-350-million-in-emission-controls.html | https://www.basinelectric.com/Environment/Commitment-and-Compliance
Laramie River Station (3) | EUL |  | EUL | 2039-12-31 | 570 | Basin Electric Power Coop | 570 | WY | 1982 | environmental reg compliance | LRS (1) serves the eastern interconnection; SCR and NSCR installed at units to reduce emissions and comply w/ env regulations | https://www.power-eng.com/articles/2018/03/laramie-river-station-to-receive-350-million-in-emission-controls.html | https://www.basinelectric.com/Environment/Commitment-and-Compliance
Martin Drake (6) | 2023-12-31 |  | Confirmed | 2023-12-31 | 75 | City of Colorado Springs - (CO) | 75 | CO | 1968 | looking into combination of renewables, battery, gas-fired gen | Unit 5 retired in 2016; "Drop-dead" datre for full plant decommissioning is EOY 2035. IRP and investments likely will accelerate this. | https://www.powermag.com/colorado-utility-will-close-last-two-coal-plants/ | https://www.csu.org/pages/martin-drake-r.aspx | https://www.csu.org/CSUDocuments/DrakeDecommissioningdec2017.pdf | https://coloradosun.com/2019/04/04/martin-drake-colorado-springs-economic-development/
Martin Drake (7) | 2023-12-31 |  | Confirmed | 2023-12-31 | 132 | City of Colorado Springs - (CO) | 132 | CO | 1974 | looking into combination of renewables, battery, gas-fired gen | Unit 5 retired in 2016; "Drop-dead" datre for full plant decommissioning is EOY 2035. IRP and investments likely will accelerate this. | https://www.powermag.com/colorado-utility-will-close-last-two-coal-plants/ | https://www.csu.org/pages/martin-drake-r.aspx | https://www.csu.org/CSUDocuments/DrakeDecommissioningdec2017.pdf | https://coloradosun.com/2019/04/04/martin-drake-colorado-springs-economic-development/
Milner 1 | 2019-12-31 |  | Retired | 2019-12-31 | 152 | Alberta Power Limited | 152 | AB | 1972
Naughton (1) | 2025-12-31 |  | Proposed | 2025-12-31 | 192 | PacifiCorp | 192 | WY | 1963 |  | Per PAC draft 2019 IRP, proposed for 2025
Naughton (2) | 2025-12-31 |  | Proposed | 2025-12-31 | 256 | PacifiCorp | 256 | WY | 1968 |  | Per PAC draft 2019 IRP, proposed for 2025
Navajo (NAV1) | 2019-12-31 |  | Retired | 2019-12-31 | 803.1 | Salt River Project | 803.1 | AZ | 1974
Navajo (NAV2) | 2019-12-31 |  | Retired | 2019-12-31 | 803.1 | Salt River Project | 803.1 | AZ | 1975
Navajo (NAV3) | 2019-12-31 |  | Retired | 2019-12-31 | 803.1 | Salt River Project | 803.1 | AZ | 1976
Neil Simpson II (2) | EUL |  | EUL | 2039-12-31 | 90 | Black Hills Power, Inc. d/b/a | 90 | WY | 1995 |  | No information about future; NS I retired in 2014 | https://www.blackhillscorp.com/learn-about-energy/electricity/generation-production
North Valmy (1) | 2021-12-31 | 2025-12-31 | Proposed | 2021-12-31 | 277.2 | Sierra Pacific Power Co | 277.2 | NV | 1981
North Valmy (2) | 2025-12-31 |  | Confirmed | 2025-12-31 | 289.8 | Sierra Pacific Power Co | 289.8 | NV | 1985
Nucla (1) | 2020-12-31 |  | Retired | 2020-12-31 | 11.5 | Tri-State G & T Assn, Inc | 11.5 | CO | 1959 | Adding 100MW solar, 104MW wind | Tri-State announced its "Responsible Energy Plan" which closes Nucla in 2020 (following "exhaustion of on-site fuel supply") | https://www.craigdailypress.com/news/tri-state-commits-to-major-push-for-renewable-power-expediting-closure-of-nucla-station/ | https://www.gjsentinel.com/news/western_colorado/tri-state-to-close-nucla-coal-fired-plant-soon/article_e87ffd42-a918-11e9-8b71-20677ce06c14.html
Nucla (2) | 2020-12-31 |  | Retired | 2020-12-31 | 11.5 | Tri-State G & T Assn, Inc | 11.5 | CO | 1959 | Adding 100MW solar, 104MW wind | Tri-State announced its "Responsible Energy Plan" which closes Nucla in 2020 (following "exhaustion of on-site fuel supply") | https://www.craigdailypress.com/news/tri-state-commits-to-major-push-for-renewable-power-expediting-closure-of-nucla-station/ | https://www.gjsentinel.com/news/western_colorado/tri-state-to-close-nucla-coal-fired-plant-soon/article_e87ffd42-a918-11e9-8b71-20677ce06c14.html
Nucla (3) | 2020-12-31 |  | Retired | 2020-12-31 | 11.5 | Tri-State G & T Assn, Inc | 11.5 | CO | 1959 | Adding 100MW solar, 104MW wind | Tri-State announced its "Responsible Energy Plan" which closes Nucla in 2020 (following "exhaustion of on-site fuel supply") | https://www.craigdailypress.com/news/tri-state-commits-to-major-push-for-renewable-power-expediting-closure-of-nucla-station/ | https://www.gjsentinel.com/news/western_colorado/tri-state-to-close-nucla-coal-fired-plant-soon/article_e87ffd42-a918-11e9-8b71-20677ce06c14.html
Nucla (ST4) | 2020-12-31 |  | Retired | 2020-12-31 | 79.3 | Tri-State G & T Assn, Inc | 79.3 | CO | 1991 | Adding 100MW solar, 104MW wind | Tri-State announced its "Responsible Energy Plan" which closes Nucla in 2020 (following "exhaustion of on-site fuel supply") | https://www.craigdailypress.com/news/tri-state-commits-to-major-push-for-renewable-power-expediting-closure-of-nucla-station/ | https://www.gjsentinel.com/news/western_colorado/tri-state-to-close-nucla-coal-fired-plant-soon/article_e87ffd42-a918-11e9-8b71-20677ce06c14.html
Pawnee | 2041-12-31 | 2049-12-31 | EUL | 2041-12-31 | 552.3 | Public Service Co of Colorado | 552.3 | CO | 1981 |  | Owned by Xcel, so subject to early retirement to reach Xcel's Colorado Energy Plan ( | https://energynews.us/2018/10/02/west/how-refinancing-could-help-retire-colorado-coal-plants-sooner/ | https://www.xcelenergy.com/energy_portfolio/electricity/power_plants/pawnee | https://www.powermag.com/colorado-utility-will-close-last-two-coal-plants/
Rawhide (1) | 2029-12-31 |  | Confirmed | 2029-12-31 | 293.6 | Platte River Power Authority | 293.6 | CO | 1984 |  | City of Fort Collins clean energy pledge likely to effect early retirement. Analysis shows retirement by 2030, not official yet. Current closure scheduled for 2047. | https://www.powermag.com/colorado-utility-will-close-coal-plant-16-years-early/ | https://www.coloradoan.com/story/news/2017/12/01/northern-colorado-leaders-consider-shuttering-platte-river-power-authority-rawhide-coal/886200001/ | https://www.coloradoan.com/story/news/2015/12/05/coal-plants-future-conflicts-citys-climate-goals/76741490/
Ray D Nixon (1) | 2029-12-31 |  | Confirmed | 2029-12-31 | 207 | City of Colorado Springs - (CO) | 207 | CO | 1980 | environmental reg compliance | Installation of nitrogen oxide burners and sulfer dioxide scrubbers in 2016 | https://www.powermag.com/colorado-utility-will-close-last-two-coal-plants/ | https://gazette.com/news/colorado-springs-utilities-coal-fired-ray-nixon-power-plant-under/article_1ec257a4-6a8b-53a5-a75d-b88c6b09b56b.html
San Juan (1) | 2022-06-30 |  | Confirmed | 2022-06-30 | 369 | Public Service Co of NM | 369 | NM | 1976 | One scenario would be 280MW peakers at site, 350MW solar, 130MW battery |  | https://www.utilitydive.com/news/pnm-proposes-gas-solarstorage-mix-as-cheapest-option-to-replace-san-juan/558115/ | https://www.prnewswire.com/news-releases/pnm-files-consolidated-application-for-san-juan-generating-station-300878854.html
San Juan (4) | 2022-06-30 |  | Confirmed | 2022-06-30 | 555 | Public Service Co of NM | 555 | NM | 1982 | One scenario would be 280MW peakers at site, 350MW solar, 130MW battery |  | https://www.utilitydive.com/news/pnm-proposes-gas-solarstorage-mix-as-cheapest-option-to-replace-san-juan/558115/ | https://www.prnewswire.com/news-releases/pnm-files-consolidated-application-for-san-juan-generating-station-300878854.html
Sheerness 1 | 2029-12-31 |  | Confirmed | 2029-12-31 | 389 | ATCO Electric Ltd. | 389 | AB | 1986 |  | Off-Coal Agreement w/ AB government | https://www.transalta.com/newsroom/news-releases/transalta-reaches-agreement-government-alberta-transition-payments/
Sheerness 2 | 2029-12-31 |  | Confirmed | 2029-12-31 | 383 | ATCO Electric Ltd. | 383 | AB | 1990 |  | Off-Coal Agreement w/ AB government | https://www.transalta.com/newsroom/news-releases/transalta-reaches-agreement-government-alberta-transition-payments/
Springerville (1) | 2027-12-31 |  | Proposed | 2027-12-31 | 424.8 | Tucson Electric Power Co | 424.8 | AZ | 1985 |  | PPA w/ SRP through Jul 2036 for 100 MW.
Springerville (2) | 2032-12-31 |  | Proposed | 2032-12-31 | 424.8 | Tucson Electric Power Co | 424.8 | AZ | 1990
Springerville (3) | EUL |  | EUL | 2039-12-31 | 458.1 | Tucson Electric Power Co | 458.1 | AZ | 2006
Springerville (4) | EUL |  | EUL | 2039-12-31 | 458.1 | Tucson Electric Power Co | 458.1 | AZ | 2009
Sundance 3 | 2018-04-01 | 2022-12-31 | Retired | 2020-07-31 | 371 | TransAlta Utilities Corporatio | 371 | AB | 1976 | Mothballed until 11/1/21 for possible CTG | https://www.transalta.com/newsroom/news-releases/transalta-announces-regulatory-approval-to-extend-the-mothballing-of-certain-sundance-units/
Sundance 4 | 2022-12-31 | 2029-12-31 | Confirmed | 2022-12-31 | 371 | TransAlta Utilities Corporatio | 371 | AB | 1977 | In consideration for CTG | https://albertapowermarket.com/2018/01/29/extending-the-life-of-the-sundance-generating-station-in-alberta-using-coal-to-gas-conversion/
Sundance 5 | 2018-04-01 | 2022-12-31 | Confirmed | 2018-04-01 | 371 | TransAlta Utilities Corporatio | 371 | AB | 1978 | Mothballed until 11/1/21 for possible CTG | https://www.transalta.com/newsroom/news-releases/transalta-announces-regulatory-approval-to-extend-the-mothballing-of-certain-sundance-units/
Sundance 6 | 2022-12-31 | 2029-12-31 | Confirmed | 2022-12-31 | 399 | TransAlta Utilities Corporatio | 399 | AB | 1980 | In consideration for CTG | https://albertapowermarket.com/2018/01/29/extending-the-life-of-the-sundance-generating-station-in-alberta-using-coal-to-gas-conversion/
Transalta Centralia Generation (1) | 2020-12-31 |  | Retired | 2020-12-31 | 729.9 | TransAlta Centralia Gen LLC | 729.9 | WA | 1971
Transalta Centralia Generation (2) | 2025-12-31 |  | Confirmed | 2025-12-31 | 729.9 | TransAlta Centralia Gen LLC | 729.9 | WA | 1971
Tronox (1) | EUL |  | Unknown | 2039-12-31 | 3.5 | Tronox | 3.5 | WY |  |  | Industrial units; can't find any info on them | https://www.tronox.com/products/mineral-sands/
Tronox (2) | EUL |  | Unknown | 2039-12-31 | 3.5 | Tronox | 3.5 | WY |  |  | Industrial units; can't find any info on them | https://www.tronox.com/products/mineral-sands/
Tronox (3) | EUL |  | Unknown | 2039-12-31 | 4 | Tronox | 4 | WY |  |  | Industrial units; can't find any info on them | https://www.tronox.com/products/mineral-sands/
Tronox (4) | EUL |  | Unknown | 2039-12-31 | 10 | Tronox | 10 | WY |  |  | Industrial units; can't find any info on them | https://www.tronox.com/products/mineral-sands/
Tronox (5) | EUL |  | Unknown | 2039-12-31 | 10 | Tronox | 10 | WY |  |  | Industrial units; can't find any info on them | https://www.tronox.com/products/mineral-sands/
Tronox (6) | EUL |  | Unknown | 2039-12-31 | 10 | Tronox | 10 | WY |  |  | Industrial units; can't find any info on them | https://www.tronox.com/products/mineral-sands/
TS Power Plant | EUL |  | EUL | 2039-12-31 | 242 | Newmont Nevada Energy Investment, LLC | 242 | NV | 2008 |  | Output goes to operations at the Newmont Mine. Assuming mining activity decreases, this plant will become obsolete. It was built in 2008, so fairly new unit. One PPA with SPP goes through 2023 (per SNL).
Western Sugar Coop- Ft Morgan | EUL | 2049-12-31 | EUL | 2039-12-31 | 3 | Western Sugar Cooperative | 3 | CO | 1947 |  | Rec'd $2M fine in 2018 for env + health violations; still operating | https://www.denverpost.com/2018/05/20/cdphe-western-sugar-fine-fort-morgan-facility/
Wygen 1 | EUL |  | EUL | 2039-12-31 | 90 | Black Hills Power, Inc. d/b/a | 90 | WY | 2003 |  | End of 2018, Black Hills was looking to purchase/acquire (all of?) Wygen Unit 1; no news on retirement | https://www.utilitydive.com/news/black-hills-energy-proposes-coal-plant-purchase-amid-ongoing-closures/543849/
Wygen 2 | EUL |  | EUL | 2039-12-31 | 95 | Black Hills Power, Inc. d/b/a | 95 | WY | 2008 |  | no news re: retirement
Wygen III | EUL |  | EUL | 2039-12-31 | 116 | Black Hills Power, Inc. d/b/a | 116 | WY | 2010 |  | no news re: retirement
Wyodak | EUL |  | EUL | 2039-12-31 | 402.3 | PacifiCorp | 402.3 | WY | 1978 |  | PAC working on 2019 IRP coal study results, should know more when IRP is filed in Oct.
Note on B1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Council's default assumed retirement date
Note on B2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Dual fuel plant; primary fuel is still coal
Note on B3: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Dual fuel plant; primary fuel is still coal
Note on B4: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Dual fuel plant; primary fuel is still coal
Note on B5: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Dual fuel plant; primary fuel is still coal
Note on B6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Dual fuel plant; primary fuel is still coal
Note on B7: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Dual fuel plant; primary fuel is still coal
Note on B8: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Only coal units left in CA; retirement unknown (GC is inquiring w/ CEC on status)
Note on B19: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: EOUL estimates range from 2027-2037 per onwer's governed by state legislation, but feasible EOUL is realistically more like 2040's
Note on B20: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: EOUL estimates range from 2027-2037 per onwer's governed by state legislation, but feasible EOUL is realistically more like 2040's
Note on B24: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Plan to comply w/ environmental regs and continue operations Reply: SRP released operation plan for CGS - run both units on SCR until closure in 2032. SCR will not be installed on unit 1, rather it will be "split" the SCR from unit 2 to share with unit 1.
Note on B25: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Plan to comply w/ environmental regs and continue operations Reply: SRP released operation plan for CGS - run both units on SCR until closure in 2032. SCR will not be installed on unit 1, rather it will be "split" the SCR from unit 2 to share with unit 1.
Note on B27: Gillian Charles: Tri-State announced accelerated retirement by 2030 (Jan 2020). All five owners agreed to Sept 2028 retirement date (July 2020).
Note on B28: Gillian Charles: Tri-State announced accelerated retirement by 2030 (Jan 2020).
Note on B29: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Dates are tentative; new 2019 IRP could accelerate some units further
Note on B30: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Dates are tentative; new 2019 IRP could accelerate some units further
Note on B31: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Dates are tentative; new 2019 IRP could accelerate some units further
Note on B32: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Dates are tentative; new 2019 IRP could accelerate some units further
Note on B33: Gillian Charles: Tri-State announced accelerated retirement by EOY 2020 (per Jan 2020 announcement).
Note on B34: Gillian Charles: January 2020- APS announced clean policy goals, including ceasing coal-fired generation by 2031.
Note on B35: Gillian Charles: January 2020- APS announced clean policy goals, including ceasing coal-fired generation by 2031.
Note on B38: Gillian Charles: "Company expects to use coal until EOY 2029, then fully convert to NG"
Note on B39: Gillian Charles: "Company expects to use coal until EOY 2029, then fully convert to NG"
Note on B44: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: end of useful life - full depreciation in 2042; However, PAC is issuing 2019 IRP in October, may have updated info then
Note on B45: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: end of useful life - full depreciation in 2042; However, PAC is issuing 2019 IRP in October, may have updated info then
Note on B46: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: end of useful life - full depreciation in 2042; However, PAC is issuing 2019 IRP in October, may have updated info then
Note on B47: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: end of useful life - full depreciation in 2036; However, PAC is issuing 2019 IRP in October, may have updated info then
Note on B48: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: end of useful life - full depreciation in 2036; However, PAC is issuing 2019 IRP in October, may have updated info then
Note on B51: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Draft PAC 2019 IRP states EOY 2023 retirement in preferred portfolio; IPC 2019 IRP says 2022.
Note on B52: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Draft PAC 2019 IRP states EOY 2023 retirement in preferred portfolio; IPC 2019 IRP says 2022.
Note on B53: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Draft PAC 2019 IRP assumes end of useful life retirement of EOY 2037.
Note on B54: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Draft PAC 2019 IRP assumes end of useful life retirement of EOY 2037.
Note on B55: Gillian Charles: Planned for CTG; At the very latest, 2030 - per AB coal phase-out
Note on B56: Gillian Charles: Planned for CTG; At the very latest, 2030 - per AB coal phase-out
Note on B57: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Feb 2019 AUC issued approval for conversion of Keephills 3. Unit conversions planned for 2020-2023.
Note on B58: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Current status - out of service, likely permanently
Note on B59: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Current status - out of service, likely permanently
Note on B60: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Plan to comply w/ environmental regs and continue operations
Note on B61: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Plan to comply w/ environmental regs and continue operations
Note on B65: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Per the draft PAC 2019 IRP
Note on B66: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Per the draft PAC 2019 IRP
Note on B70: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: PPA contracts through 2028; no plans to close
Note on B71: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: IPC intends to end its participation by end of year 2019
Note on B73: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: July 19, 2019 announcement to close plant 2 years earlier than planned; "early 2020"
Note on B74: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: July 19, 2019 announcement to close plant 2 years earlier than planned; "early 2020"
Note on B75: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: July 19, 2019 announcement to close plant 2 years earlier than planned; "early 2020"
Note on B76: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: July 19, 2019 announcement to close plant 2 years earlier than planned; "early 2020"
Note on B84: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: 2020 TEP IRP states that unit 1 and 2 will operate on a seasonal basis by 2023, and the units will close in 2027 and 2032 (order TBD)
Note on B85: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: 2020 TEP IRP states that unit 1 and 2 will operate on a seasonal basis by 2023, and the units will close in 2027 and 2032 (order TBD)
Note on B86: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Plan to comply w/ environmental regs and continue operations
Note on B87: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Plan to comply w/ environmental regs and continue operations
Note on B88: Gillian Charles: Currently mothballed until 2021, planned for CTG by 2023
Note on B89: Gillian Charles: Planned for CTG; At the very latest, 2030 - per AB coal phase-out
Note on B90: Gillian Charles: Currently mothballed until 2021, planned for CTG by 2023
Note on B91: Gillian Charles: Planned for CTG; At the very latest, 2030 - per AB coal phase-out
Note on B94: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Can't find any useful information on the status of these units
Note on B95: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Can't find any useful information on the status of these units
Note on B96: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Can't find any useful information on the status of these units
Note on B97: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Can't find any useful information on the status of these units
Note on B98: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Can't find any useful information on the status of these units
Note on B99: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Can't find any useful information on the status of these units
Note on B101: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: No announced retirement plans
Note on C13: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Due to settlement agreement, potential retirement in 2030 (see notes)
Note on C19: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: per the WA leg, no coal after 2025; PAC draft 2019 IRP proposes EOY 2027 (altho PAC is only 10% owner)
Note on C20: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: per the WA leg, no coal after 2025; PAC draft 2019 IRP proposes EOY 2027 (altho PAC is only 10% owner)
Note on C24: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: SRP has 2035 goal for 60% emissions reductions from 2005; retirement of Coronado may be in those plans Reply: Released an operating plan to close the plant in 2032 which will allow SRP to meet their 2035 goal. See note.
Note on C25: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: SRP has 2035 goal for 60% emissions reductions from 2005; retirement of Coronado may be in those plans
Note on C34: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: PNM ends ownership stake in unit by 2031, future uncertain after that, but no firm announcement from APS yet.
Note on C35: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: PNM ends ownership stake in unit by 2031, future uncertain after that, but no firm announcement from APS yet.
Note on C43: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Possible retirement date EOY 2029 to meet 80% carbon reduction from 2005 levels goal.
Note on C51: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Accelerated date discussed by PAC and IPC
Note on C52: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Accelerated date discussed by PAC and IPC
Note on C53: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: IPC (1/3 owner) assumes exit from Bridger by 2034 in its 2019 IRP.
Note on C54: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: IPC (1/3 owner) assumes exit from Bridger by 2034 in its 2019 IRP.
Note on C55: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: At the very latest, 2030, per AB coal phase-out
Note on C56: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: At the very latest, 2030, per AB coal phase-out
Note on C57: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: At the very latest, 2030, per AB coal phase-out
Note on C58: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Possible retirement date EOY 2029 to meet 80% carbon reduction from 2005 levels goal.
Note on C59: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Possible retirement date EOY 2029 to meet 80% carbon reduction from 2005 levels goal.
Note on C62: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Possible retirement date EOY 2029 to meet 80% carbon reduction from 2005 levels goal.
Note on C63: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Possible retirement date EOY 2029 to meet 80% carbon reduction from 2005 levels goal.
Note on C77: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: At the very latest, all CO plants to retire by 2050 to meet 100% cerbon-free electricity goal. This is an Xcel plant and they have similar system goals, so likely this will go well before this date.
Note on C78: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Analysis shows planned retirement by 2030, however no official announcement yet
Note on C79: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Possible retirement date EOY 2029 to meet 80% carbon reduction from 2005 levels goal.
Note on C88: Gillian Charles: Currently mothballed, but planned for CTG. At the very latest, 2030 - per AB coal phase-out
Note on C89: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: At the very latest, 2030, per AB coal phase-out
Note on C90: Gillian Charles: Currently mothballed, but planned for CTG. At the very latest, 2030 - per AB coal phase-out
Note on C91: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: At the very latest, 2030, per AB coal phase-out
Note on C101: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: At the very latest, all CO plants to retire by 2050 to meet 100% cerbon-free electricity goal. This is an Xcel plant and they have similar system goals, so likely this will go well before this date.
Note on D51: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: changing to "confirmed" as this is now in PAC's 2019 IRP Action Plan (which goes through 2023). Assuming IPC is on board with this as the IPC 2019 IPC had an accelerated date of 2022.
Note on E27: Gillian Charles: Tri-State announced accelerated retirement by 2030 (Jan 2020). All five owners agreed to Sept 2028 retirement date (July 2020).
Note on E28: Gillian Charles: Tri-State announced accelerated retirement by 2030 (Jan 2020).
Note on E29: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Dates are tentative; new 2019 IRP could accelerate some units further
Note on E30: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Dates are tentative; new 2019 IRP could accelerate some units further
Note on E31: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Dates are tentative; new 2019 IRP could accelerate some units further
Note on E32: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Dates are tentative; new 2019 IRP could accelerate some units further
Note on E33: Gillian Charles: Tri-State announced accelerated retirement by EOY 2020 (per Jan 2020 announcement).
Note on E34: Gillian Charles: January 2020- APS announced clean policy goals, including ceasing coal-fired generation by 2031.
Note on E35: Gillian Charles: January 2020- APS announced clean policy goals, including ceasing coal-fired generation by 2031.
Note on E38: Gillian Charles: "Company expects to use coal until EOY 2029, then fully convert to NG"
Note on E39: Gillian Charles: "Company expects to use coal until EOY 2029, then fully convert to NG"
Note on E55: Gillian Charles: Planned for CTG; At the very latest, 2030 - per AB coal phase-out
Note on E56: Gillian Charles: Planned for CTG; At the very latest, 2030 - per AB coal phase-out
Note on E57: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Feb 2019 AUC issued approval for conversion of Keephills 3. Unit conversions planned for 2020-2023.
Note on E58: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Current status - out of service, likely permanently
Note on E59: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Current status - out of service, likely permanently
Note on E65: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Per the draft PAC 2019 IRP
Note on E66: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Per the draft PAC 2019 IRP
Note on E73: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: July 19, 2019 announcement to close plant 2 years earlier than planned; "early 2020"
Note on E74: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: July 19, 2019 announcement to close plant 2 years earlier than planned; "early 2020"
Note on E75: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: July 19, 2019 announcement to close plant 2 years earlier than planned; "early 2020"
Note on E76: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: July 19, 2019 announcement to close plant 2 years earlier than planned; "early 2020"
Note on E84: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: 2020 TEP IRP states that unit 1 and 2 will operate on a seasonal basis by 2023, and the units will close in 2027 and 2032 (order TBD)
Note on E85: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: 2020 TEP IRP states that unit 1 and 2 will operate on a seasonal basis by 2023, and the units will close in 2027 and 2032 (order TBD)
Note on E88: Gillian Charles: Was mothballed until 2021, planned for CTG by 2023; then decision made to retire unit
Note on E89: Gillian Charles: Planned for CTG; At the very latest, 2030 - per AB coal phase-out
Note on E90: Gillian Charles: Currently mothballed until 2021, planned for CTG by 2023
Note on E91: Gillian Charles: Planned for CTG; At the very latest, 2030 - per AB coal phase-out
Note on G94: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Tronox bought out by Genesis Alkali
Note on G95: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Tronox bought out by Genesis Alkali
Note on G96: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Tronox bought out by Genesis Alkali
Note on G97: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Tronox bought out by Genesis Alkali
Note on G98: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Tronox bought out by Genesis Alkali
Note on G99: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Tronox bought out by Genesis Alkali
Map - Status (of retirement) (version 4/22/21)
This is a list of units that were in operation in the WECC, as of August 2019. Coal units that were in operation and retired before August 2019 are not captured in this list.
Retired - retired or converted to gas
Confirmed - retirement has been annoucned and confirmed; could still be accelerated due to environmental policies (for example units in Alberta must be shut down by 2030, but many have plans to convert to natural gas in the early 2020's)
Proposed - the retirement has been proposed by an owner, tentative retirement dates may have been announced, but no final dates scheduled
End of useful life (EUL) - no retirement plans have been announced or made known; an owner has announced continual operations through investments and compliance with environmental regulations; an early retirement is still possible
Unknown - no information is available pertaining to the early retirement of the unit; operation until the end of the useful life (EUL) is assumed