Baseline Residential Lighting Energy Use Study

Final Report

May 29, 1996

Prepared by

Lyle S. Tribwell and David I. Lerman

Tacoma Public Utilities

Tacoma, Washington

Funded by

Bonneville Power Administration

Resource Power Supply Expansion Project

Baseline Residential Lighting Energy Use Study

Lyle S. Tribwell and David 1. Lerman, Tacoma Public Utilities

Executive Summary

The number of hours residential lights are operated is a crucial variable in determining the cost-effectiveness of fighting programs, both in retrofit settings and for new construction. Earlier efforts at establishing lighting use characteristics in the residential sector have depended on manufacturers' estimates and/or self-report surveys of residential utility customers. Accurate information on actual operating profiles for various types of lights in a range of residential settings will permit program designers to target those lights which are operated longest and thus are most cost-effective to replace with efficient equipment.

The Baseline Residential Lighting Energy Use Study, funded by the Bonneville Power Administration, is designed to establish actual on-hours for all lights in a sample of 161 Northwest residences. The Information will be used to establish which lamp replacements are typically cost-effective in the residential sector. The project employs run-time lighting loggers to measure the number of hours residential interior and exterior lights are operated.

The most important results of this study are:

- The average residential lighting energy use is about 1,800 kWh/year/household

- Approximately one third less. energy is used for lighting in the months in which there is more sunlight then in the months when there is less sunlight.

- Lighting energy consumption does not appear to vary with population demographics (square footage, number of occupants, daytime occupancy).

- Replacing 50-150 W lamps that are on at least three hours per day with compact fluorescent lamps (CFL) provides a resource with levelized cost of approximately 28 mill with a simple payback of three years assuming $15 per CFL and $0.04 per kWh.

Introduction

In late 1992 the Conservation Office at Tacoma Public Utilities proposed an investigation of residential energy lighting use in the Pacific Northwest. Earlier efforts at establishing lighting use characteristics in the residential sector have depended on manufacturers' estimates and/or self-report surveys of residential utility customers (Schlegel 1994) (Jennings, etal., 1996). In 1989 residential lighting energy use was estimated to he 4.9% (710 kWh) of 14,493 kWh annual household electric energy consumption for the Pacific Northwest (Northwest Power Planning Council, 1991). The results of an extensive telephone survey in the Northeast (Leslie, Conway 1993) determined that residential lighting consumed 10% of the total annual household electricity used. The only measured residential lighting energy use study conducted before this study began had a sample size of 53 homes in Yakima, WA. Lighting run-time data was collected over 3-4 months in the winter. Annualizing the data it was determined, the lighting energy use per customer averaged 2,900 kWh per year. Of the fixtures being measured, 30% were on three or more hours per day (Manclark, 1991). Accurate information on actual operating profiles for various types of lights in a range of residential settings was and is needed to permit program designers to target those lights which are operated longest and thus are most cost-effective to replace with efficient equipment.

Together with staff at the Bonneville Power Administration Tacoma developed a research plan for establishing baseline usage in single family homes in the region: Tacoma recruited utility

participants, procured necessary metering equipment for the study, trained staff at participating utilities and launched the research program in the spring of 1993. This report uses data available as of December 19, 1995, which is final data covering the full 24 month data collection period. While the study is designed to provide a reasonably representative sample with results to be extended to the BPA region; it is not a rigorous statistical study.

Seven utilities participated in the study:

Tacoma Public Utilities, lead

City of Part Angeles

Peninsula Light Company

Portland General Electric

Eugene Water & Electric Board

Pacific County PUD #2

Snohomish County PUD

The data were collected using Pacific Science and Technology's run time loggers mounted to light fixtures in customer homes. These loggers count the number of hours the lights are on. The study uses data from 161 Pacific Northwest residences that had the loggers installed for six or twelve month periods.

Objectives

The study was designed to collect data to determine:

(1)	On average, how much energy is consumed by lighting per residence

(2)	How lighting energy consumption varies with population demographics (square footage, number of occupants, daytime occupancy).

(3)	The percentage of fixtures in the study that have lamps in use three hours or more per day for specific locations (e.g. living room, kitchen, porches, bathroom, bedroom, yard/driveway).

(4)	On average, the annual residential lighting energy use savings of replacing the incandescent lamps with a wattage between 50 and 150 with compact fluorescent lamps.

Methodology

The data analysis presented here uses data from about 1,250 loggers installed in 161 single family owner-occupied residences (of which one is a mobile home and five are single family renter-occupied residences) far four to twelve months. Loggers were installed on an average of 82°% of the fixtures at each house to record run times (N = 3,955 individual fixtures logged). Since this is a study in seven different utility service areas working with 161 different customer households, it has not been possible to precisely synchronize the start and stop data collection dates. The four data collection periods roughly are:

Period 1	July 13, 1993 -February 4, 1994

Period 2	February 5, 1994 - August 31, 1994

Period 3	September 1, 1994 - February 28, 1995

Period 4	March 1, 1995 - August 31,1995

Houses whose readings fell predominantly in Period 1 were considered Period 1 houses. The same logic was applied to the remaining three time periods.

Customer Selection Process. Each utility in the study was asked to recruit sets of customers who would represent their service area in terms of building size, number of occupants, and weekday occupancy. The customers had to agree to participate far six or twelve months during which time the loggers would be read by utility energy auditors. The customers agreed to not make any changes in the way they used their lights and to not change the inventory of lamps and fixtures while the loggers were installed. Some of the utilities had customer characteristics surveys so they could target their recruitment and others used what they considered was common knowledge of their communities. See Appendix A for more detail.

Annualized Data. The data was annualized, meaning that the total hours logged were divided by the total days installed and multiplied by days per year. The annualized data was then divided in half to approximate half-year usage. The data has been separated into the four periods described above. The first and third period, data had four to six months of data per customer whereas the second and fourth periods have six to twelve months per customer. The report combines data from Periods 1 and 3 to represent the darker half of the year, and Periods 2 and 4 to represent the lighter half of the year. See Appendix 8 for more detail on data management.

Results

What follows is a brief look at the data from all four data collection periods in order to answer the research questions set out in the Evaluation Plan.

(1)	On average, how much energy is consumed by lighting per residence?

The half-year lighting energy usage per household varied from 8 to 3,773 kWh with an average of 1,179 kWh for Period 1, 815 kWh for Period 2, 1,019 kWh for Period 3, and 629 kWh for Period 4. The weighted average of half-year usage for Periods 1 and 3 is 1,099 kWh and for Periods 2 and 4 is 722 kWh. For the entire data set, the weighted average is 1,818 kWh per year ranging from 1,444 kWh per year for Periods 2 and 4 to 2,196 kWh per year for Periods 1 and 3. Table 1 summarizes annual lighting energy use by period of data, collection.

Table 1-1. Annual Lighting Energy Use Per Household

| Period | Min & Max kWh per Half-yr per Customer | Average kWh per Half-yr per Customer | Weighted Average kWh/yr per Customer | N | Unique Customers |
| --- | --- | --- | --- | --- | --- |
| 1 | 21 -3,773 | 1,179 |  | 50 |  |
| 2 | 8 - 2,673 | 815 |  | 51 |  |
| 1 & 2 | 8 - 3,773 |  | 1,990 | 101 | 80 |
| 3 | 111 - 3,191 | 1,019 |  | 51 |  |
| 4 | 168 - 2,677 | 629 |  | 51 |  |
| 3&4 | 111 - 3,191 |  | 1,648 | 102 | 81 |
| 1&3 | 21 - 3,773 | 1,099 | 2,198 | 101 | 101 |
| 2&4 | 8 - 2,677 | 722 | 1,445 | 102 | 102 |
| 1,2,3,4 | 8 - 3,773 |  | 1,618 | 203 | 161 |

Period 1	July 13, 1993 - February 4, 1994

Period 2	February 5, 1994 - August 31, 1994

Period 3	September 1, 1994 - February 26, 1995

Period 4	March 1,1995-August 31,1995

The differences between the darker months: Periods 1 &3 and the lighter months: Periods 2&4 are further detailed in Figures 1-1 and 1-2 below. In Periods 1 &3, which covered much of winter, 53% of the households used less than 1,000 kWh per half-year, whereas in Periods 2&4, covering the lighter months of February through August, 76% of the households used less than 1,000 kWh per half-year. There was also a significant decrease in the number of homes using 1,000 - 1,999 kWh per half-year, from 37% of the customers for Period 1&3 to 20% of the customers for Period 2&4.

Figure 1-1. Half-Year Residential Lighting Energy Use - Darker Months

Figure 1-2- Half-Year Residential Lighting Energy Use - Lighter Months

As seen in Table 2 below, average lighting energy use for the period the loggers were installed was 1,372 kWh. Average total electrical energy use for the same period was 14,889 kWh per home. Thus for these homes, lighting represents approximately 9% of total electrical usage for the period of the study. Some of these customers had loggers installed for six months and others for twelve months. Some had loggers installed over most of the heating season and others did not.   No attempt was made to identify space and water heating fuels, so the study participants may not be representative of heating fuel mixes for participating utilities. Notice that the standard deviations of their consumption data are high and N is relatively small. Accordingly, some caution should be exercised in extending these percentages to the region (Cahill, Ritland, Lin-Kelly 1992, 2d, 84).

| Table 1-2. Average Household & Lighting Electricity Consumption During Logged Period |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Utilities | Whole House kWh | StdDev | Lighting kWh | StdDev | N Customers |
| Eugene W&E | 9,738 | 5,369 | 1,002 | 696 | 40 |
| Pacific | 7,996 | 3,110 | 765 | 697 | 21 |
| PGE | 25,277 | 24,943 | 1,573 | 1,136 | 26 |
| Peninsula | 22,680 | 7,397 | 2,502 | 1,684 | 5 |
| Port Angeles | 13,678 | 6,433 | 1,059 | 967 | 23 |
| Snohomish | 13,195 | 5,329 | 1,690 | 845 | 5 |
| Tacoma | 11,656 | 5,302 | 1,014 | 691 | 41 |
| Average | 14,889 | 8,269 | 1,372 | 959 |  |

(2) 	How lighting energy consumption varies with population demographics (square footage, number of occupants, daytime occupancy).

There appears to be only a small correlation between number of occupants and energy use for

lighting (Period 1 R2 =0.01, Period 2 R2 = 0.21, Period 3 R2 = 0.19, Period 4 R2  =0.08). Figure 2 shows the weak association between number of occupants and lighting energy use far Period 1,2,'3 and 4 data.

Figure 2 Number of occupants versus Lighting Energy Use  (figure missing)

There also appears to be only a low correlation between swore footage and energy use for lighting {period 1 R2 = 0.08, Period 2 R2 = 0.09, Period 3 R2 = 0.07, Period 4 R2 = 0.062).  There appeared to be no correlation between kWh/day used and someone being home during the day on weekends (R2 = 0.008)

(3)	What is the percentage of fixtures in the study that have lamps in use three hours or more per day for specific locations (e.g. living room, kitchen, porches, bathroom, bedroom, yard/driveway)?

Assume that a lamp used three hours or more might be a candidate for replacement as a conservation measure. Table 3-1 below shows the percentage of fixtures in the study that have lamps in use three hours or more per day.

Table 3-1. Percentage of Fixtures On at Least 3 Hours per Day by Location

| Location | Period 1&3 % on at least 3 hrs | Period 2&4 % on at least 3 hrs |
| --- | --- | --- |
| Living rooms | 44% | 27% |
| Kitchens | 52% | 33% |
| Porches | 48% | 34% |
| Bathrooms | 14% | 19% |
| Bedrooms | 14% | 8% |
| Master bedrooms | 16% | 8% |
| Yard/Driveway . | 30% | 17% |
| Household | 27% | 19% |

Initially the second Objective was framed in terms of the average number of hours per day lights are on far specific locations. The Second Objective was changed to ask what percentage of fixtures are in use three or more hours per day, because when the average ontime hours per day for specific locations is looked at by itself, it tends to mask other data that would give a clearer understanding of the level of fixture usage. In Table 3-2 below, the average on-time in Periods 1 and 3 living roo ms is 3 hours per day, but as can be seen in the table above, 44% of the fixtures logged were on three or more hours per day. Another example that points out the effects of masking data is Yard/Driveways. The average on-time in Periods 1 and 3 Yard/Driveways is 2 hours per day, but as can be seen in the table above, 30% of the fixtures logged were an three or more hours per days.

Table 3-3 daily Average Hours of Lighting Operation

|  | Hours of Use per Day |
| --- | --- |
| Living Room | 3 |
| Kitchen | 4 |
| Primary Bath | 2 |
| Primary bedroom | 1 |

Table 3-2. Average On-Time for Selected Locations -Periods l and 3

|  | N Fixtures | Fixtures | Average | StdDev |
| --- | --- | --- | --- | --- |
|  |  | per | on-hrs/day |  |
|  |  | House |  |  |
| Living rooms | 252 | 2.5 | 3.1 | 3.8 |
| Kitchens | 292 | 2.9 | 3.9 | 4.2 |
| Porches | 84 | .8 | ' 4.7 | 5.6 |
| Bathrooms | 279 | 2.8 | 1.7 | 3.6 |
| Bedrooms | 265 | 2.6 | 1.2 | 2.2 |
| Master bedrooms | 205 | 2.0 | 1.3 | 2.1 |
| Yard/Driveway | 121 | 1.2 | 3,4 | 4.6 |

(4)	On average, what would the annual residential lighting energy use savings be if the incandescent lamps with a wattage between 50 and 150 were replaced with compact fluorescent lamps?

Table 4-1 shows assumed wattages of compact fluorescent lamps corresponding to ranges of incandescent lamp wattages in a lamp replacement program.

| Incandescent | Compact fluorescent |
| --- | --- |
| Watts | Watts |
| 54-59 | 15 |
| 60-75 | 20 |
| 76-100 | 27 |
| 101-154 | 30 |

Table 4-1, Assumed Wattages of Replacement Lamps

Tables 4-2 and 4-3 show the impact of replacing the lamps according to this scheme with appropriate compact fluorescent comparing the darker and lighter months usage. For example in Table 4-2, replacing all such lamps on for at least three hours per day would yield annual savings of about 146 kWh per lamp in Periods 1 and 3. The annual savings would be 172 kWh per lamp for replacing lamps left on four or more hours per day in Periods 1 and 3. Table 4-3 shows savings for comparable replacements for Periods 2 and 4 are smaller. It is unlikely that any program would be successful in replacing all of the eligible lamps, but this gives an indication of the maximum potential savings. It should be noted that the levelized cost in the table assumes no administrative costs and no benefits from avoided lamp replacement costs. The levelized cost of the resource acquired through replacement of incandescent lamps with compact fluorescent lamps is less than 30 mills and is relatively unaffected by which lamps are replaced. It is quite sensitive to the assumed cost of the replacement lamps.

On a programmatic basis it is unlikely that all lamps being promoted in a utility program would be placed in fixtures that are used at the threshold a utility decides is necessary for the resource to be acquired at the desired price. Referring back to Table 3-1, there are usually more fixtures in a room that are being used less than 3 hours per day than are being used 3 hours of more per day. The exact placement of the lamps will depend on the customer's willingness and ability to accurately identify the lamps they use the most.

Table 4-2. impact of Replacement of Selected Incandescent Lamps - Periods 1 and 3

| Period I Mid-July '93 -Feb'94 Period 3 Late July '94 - Apr '95 | On-Time >= 1 hr | On-Time >= 2 hr | On-Time >= 3 hr | On-Time >= 4 hr |
| --- | --- | --- | --- | --- |
| Number of Lamps | 1,146 | 739 | 508 | 383 |
| Number of Houses | 100 | 97 | 91 | 82 |
| Annualized savings (lamp (kWh) | 85 | 116 | 146 | 172 |
| Value of savings @ $.04/kWh | $3.39 | 54.62 | 85.84 | $6.89 |
| Simple payback @ $15/lamp (yrs) | 4.4 | 3.2 | 2.6 | 2.2 |
| Levelized cost (10,000 hrs) mills | 29.4 | 28.7 | 28.4 | 27.6 |

Table 4-3. impact of Replacement of Selected Incandescent Lamps - Periods 2 and 4

| Period 2 Early Feb '94 -Aug'94 Period 4 Late Feb '95 - Late Nov'95 | On-Time >= 1 hr | On-Time >= 2 hr | On-Time >= 3 hr | On Time >= 4 hr |
| --- | --- | --- | --- | --- |
| Number of Lamps | 901 | 546 | 289 | 207 |
| Number of Houses | 100 | 96 | 74 | 57 |
| Annualized savings /lamp (kWh) | 68 | 92 | 129 | 151 |
| Value of savings @ $.04/kWh | $2_71 | $3.69 | $5.17 | $6.04 |
| Simple payback @ $15/lamp (yrs) | 5.5 | 4.0 | 2.9 | 2.5 |
| Levelized cost (10,000 hrs) mills | 30.4 | 29.1 | 27.9 | 28.9 |

Incentive Lamp Placement. As an incentive to participate in the study, customers participating for six months were given five compact fluorescent lamps and for twelve months received ten. The incentive lamps had wattages ranging from 15W to 30W. The energy auditors looked at the last logger readings with the customer and decided where to install their incentive lamps. These replacements were made after measurements were taken and did not affect the study results.

It was found that with the run time and installed watts data being. presented by an energy auditor to the customer, the incentive lamps were installed in the highest hours of use fixtures 66% of the time on average (N= 833 lamps in 19 location types). The incentive lamps were installed in the highest watt-hour fixtures 77% of the time. Customers chose to install incentive lamps in fixtures not in the top ten run times list for a house because of dissatisfaction with fit, color or brightness.

Summary

The conclusions that can be arrived at from this study are relatively modest but they provide answers to questions for which, prior to this research, there were no actual measured data. After 24 months of collecting data in 161 electric utility customer homes in the Pacific Northwest, there is an indication of what the annual residential lighting usage is for the region. On average, the annual lighting usage per household in this study is about 1,800 kWh. Not surprisingly, it appears that approximately one-third less energy is used for lighting in the months in which there is more sunlight than in the months. when there is less sunlight. Lighting use is highest in living rooms, kitchens and outdoor locations. From the data, replacing 50W to 150W lamps that are on at least three hours per day with compact fluorescent lamps provides a resource with a levelized cost of approximately 28 mills, with a simple pay-back of under three years, assuming compact fluorescents cost $15 each and electricity costs four cents per kilowatt hour. If one goes beyond these basic assumptions;, the data need to be re-analyzed.

Acknowledgments:

Bonneville Power Administration(BPA), US Department of Energy funded a large portion of the study.

The 161 customers who participated in the study.

Those who commented on the preliminary reports, provided advice and offered encouragement: Angeline Chong, Portland General Electric; Jack Brautigam and Mike Lubliner, Washington State Energy Office; Charles Stevens, Oregon State Department of Energy: Margaret Gardner, Northwest Power Planning Council; Judy Jennings arid Mithra Moezzi, Lawrence Berkeley National Laboratory: Mark E. Frankel, Ecotope; Danny Parker and Lynn Schrumm, Florida Energy Center; Larry Ayers, EPRI Lighting; Greg Stolz, Germantown, MD.

Coordination and Data Collection:

Project Supervisor - David I. Lerman, Tacoma Public Utilities assisted in study planning, data analysis and editing.

Coordinator of Research- Lyle Tribwell, Tacoma Public Utilities

Coordinator of Contract Matters with participating utilities and BPA - Veronica Kulman, Tacoma Public Utilities

Eugene Water and Electric Board - Kathy Grey, John Culver, Paul Appfng and John Wigle Pacific County PUD #2 - Jim Dolan and Marc Wilson

Portland General Electric - Conrad Eustis, Rick Durst and Al Pierce City of Port Angeles - Ken Meike and Roger Vess

Peninsula Light Company - Pat Maynard, Jonathan White and Juli Bobo

Snohomish County PUD - Ralph Rowland, Bridget Gorman and Kevin Watier

Tacoma Public Utilities - Jake Fey, Todd Currier, Wally Croshaw, Jim Eng

Program Management - Kendall Weekes, Robert Gable, BPA

Program Planning Assistance - Louie Lee, Sheila Bennett and Holly Frazier, BPA; Bruce Manclark, Delta -T: Mike Nelson and Jack Brautigam, Washington State Energy Office; Charles Stevens, Oregon State Department of Energy: Gus Baker, Oregon State University Energy Extension

Photometric Data and Assistance- Frank Vignola, Physics Dept., University of Oregon; Doug Boleyn, Portland General Electric; Katy Erwin, Seattle Lighting Design Lab

Run-time Logqer Vendors and Technical Support - Pacific Science and Technology, Inc.; Richard Westlake; John Thrasher Electronic Product Design; Mark Martinez, Southern California Edison

Data Base Development: AuFrance and Associates, South Lake Tahoe, California

Data Transfer - Electric Ideas Clearinghouse electronic bulletin board system (EIC BBS), Washington State Energy Office/BPA

References:

Jeff Schlegel. April 12, 1994. Residential Compact Fluorescent Lighting - A Re-examination of Cost Effectiveness Issues.

Judith Jennings, Rich Brown, Mithra Moezzi, Evan Mills, Robert Sardinsky, Barbara Heckendorn, David Lerman, Lyle Tribwell, March 1996. Residential Lighting. The Data to Date (Draft). Berkeley, CA: University of California, Lawrence Berkeley National Laboratory and Tacoma, WA: Tacoma Public Utilities.

Northwest Power Planning Council.. 1991. Northwest Conservation and Electric Power Plan Volume I - Part /. 219, 221.

Russell Leslie and Kathryn M. Conway. 1993. Research For the Lighting Pattern Book For Homes. . The Lighting Research Center, Troy, Rensselaer Polytechnic Institute, Troy, NY. James M. Cahill, Keith G- Ritland, Wendy Lin-Kelly. December 1992. Description of Electric Energy Use in Single-Family Residences in the Pacific Northwest. 1986-1992 End Use Load and Consumer Assessment Program (ELCAP): 20, 84. Bonneville Power Administration, Portland OR.

Bruce Manclark of Delta-T. 1991: Customer Acceptance Study of Compact Fluorescents: Yakima Residential Lighting Study for Pacific Power.

Bibliography:

Linda Dethman and Sally King of Dethman & Assoc. August 1991. Residential Energy Efficient Lighting Survey, Prepared for Seattle City Light. Seattle , WA.

Bruce Manclark, Delta-T; Mike Nelson, Washington State Energy Office; April 1992. The Grays Harbor PUD Compact Fluorescent Maximization Study. Prepared for Grays Harbor PUD, Aberdeen, WA and Bonneville Power Administration, Portland, OR

Mark Frankel and David Baylon, Ecotope and SPA, May, 1999. Manufactured Home Acquisition Program. Prepared for Bonneville Power Administration, Portland, OR

Plexus Research. October, 1992. Survey of End-Use Metering Equipment, Sensors, and Designers/Installers, Prepared for EPRI, Acton, MA

Appendix -A

Customer Selection Process

Each utility in the study was asked to recruit sets of customers who would represent their service area In terms of building size, number of occupants, and weekday occupancy. The customers had to agree to participate for six or twelve months during which time the loggers would be read by utility energy auditors. The customers agreed to not make any changes in the way they used their lights and to not change the inventory of lamps and fixtures while the loggers were installed. Some of the utilities had customer characteristics surveys so they could target their recruitment and others used what they considered was common knowledge of their communities.

Eugene Water and Electric Board (EWEB) - Random selection of 200 electric service customers from ail billing cycles. The list was then narrowed by selecting only single family, owner-occupied houses not used for a commercial business who were, willing to participate for six months. EWES believes the selection process gave them a good cross section of size and age of homes and size of families,

Pacific County PUD #2 - solicited volunteers by word of mouth in their small community service area who were willing to participate for six months. They believe they have a cross section that matches their service area,

Portland General Electric - A stratified random sample was used to select the sample customer list. The stratification was based an the number of people home during the day and square footage of the home. A list of 180 customers was selected from six different lists of different combinations of number of people home and size of house. PGE gave customers a . choice of six-month or 12-month commitments for participation in the study.

Peninsula Light Company - Selected customers who matched the demographics of the service area as determined in a customer characteristics survey conducted in. 1989. They selected a sample of five houses that closely matched the majority of their customers in the fields: Owner-occupied, single family, people per residence, age per residence, average size of homes. Peninsula asked for a twelve month commitment for participation in the program. City of Port Angeles - Their selection process was, first a request in their utility billing for volunteers. From the list acquired they used a process of selecting single family, owner-occupied homes that fit the average of married, family and single occupant households, a twelve month commitment for participation in the program. Then they broke that selection down to an average of those at home during the day (not working) and those not at home during the day (working). One utility employee was selected only because she fit a target that was not filled for single and working categories. They consider their process produced a good representation of their service area.

Snohomish County PUD - Selected customers to participate from their PU employees who represent a cross section of their customers for: location, residence size, family size, and whether someone is home during the weekdays. The five customers at! committed to participate for twelve months.

Tacoma Public Utilities - From a list of randomly selected single family electric service customers, Tacoma selected a representative cross section of the service area that matched the most recent TPU customer characteristics survey conducted in 1992. Tacoma asked their customers to participate for six months.

Appendix - B

Data Management

Data Collection -Each participating utility provided one or two energy auditors who participated in two days of training in data logger installation and data collection; one day in classroom and field in Tacoma and one day in their customers' homes installing loggers; and a procedures manual. After the training was completed, additional assistance was provided over the phone and via the Bonneville Power Administration/Washington Energy Office Electric Ideas Clearinghouse computer bulletin board system. The procedures manual covered logger installation, checking the loggers to see that they were recording properly and data recording. One utility hired out the data collection to a contractor the second year of the study. Two of the utilities who used their own employees in their sample trained them to record the data.

The first visit to each customer involved inventorying all the light fixtures in and outside the home, and recording customer characteristics. There was a procedure for noting when a logger was not recording properly due to the light sensor being out of adjustment or the logger being out of aim, etc.

Subsequent customer visits were conducted on a monthly basis to read the loggers and adjust

if needed.

If a logger was found to be malfunctioning, the logger was replaced. Most were sent to Pacific Science and Technology, Inc. for repairs after which they were returned to service. The loggers were most often damaged by being placed closer than the manufacturer recommended to incandescent lamps. Posable fiber optic extensions of 8 and 24 inches were issued to enable the loggers to be placed a safe distance from the lamps, but they were not in use in the cases in which the loggers were melted.

Of the logged fixtures, 88% of those logged recorded at least 150 days per six month period measuring run time, after corrections were made in the data to account for loggers needing adjustments during the monthly reading visits by energy auditors.

Of the 4,813 unique (not counted twice) fixtures in the 161 customers' homes, there were 3,955 fixtures logged (82%) and 858 unlogged that were assumed to be the least used fixtures from what customers said to the energy auditors. There were an average of 15 different roams or areas per home that lighting fixtures were located in (N=2,457). Of these rooms and areas 13 per customer were indoors.

Database - Data was entered into an MS Access database which calculated the run time and days logged, making adjustments for periods during which the logger was not reading properly. The run time accumulated since the previous reading and the days between those two readings were subtracted from the total run times and days installed. The Access database was mostly used to check the data for errors. This processed data was copied to an MS Excel spreadsheet in which further adjustments were made in readings that were not corrected by the manual procedures and macros in MS Access.

________________________________________

c:\documents and settings\eckman\desktop\te\new plan\residential resource assessment\cfluselighting.doc (Tom Eckman)

This question was previously stated as: "On average, how many hours per day are tights on for specific locations (e.g. kitchen, bathroom, dining room, bedroom, exterior lights)?"

1,232 Pacific Science and Technology run time Loggers. The study also used 20 Richard Westlake rebuilt run time loggers Cram the Grays Harbor PUD Compact Fluorescent Maximization Study By Delta-T and the Washington State Energy Office.

The 23% d difference in average kWh per half-yr per customer between Periods 2 and 4 is possibly due to the lighting energy consumption habits of the occupants or it may have something to do with factors outside the scope of this study to track (i.e. ambient solar light levels for the two periods may be different and there may be a correlation with residential lighting energy use).

Almost all of the logger installations for Peninsula, PCE, Port Angeles and Snohomish were for twelve months.

For the purposes of coming up with a rough estimate, note that in the BPA End-Use Load and Consumer Assessment Program (ELCAP) final report in pee 1992, the Base Case houses that were the age of the average homes in our study (30-50 years) and in the square footage range (1,726 - 2,475 ft2) similar to the present study (2,000-2,999 ft), had n total household electrical usage averaging 23,704 kWh/yr. The average household annualized lighting energy usage for the lighting logger study was 1,818 kWh per year which, would be 8% of total household electrical usage of the ELCAP participants mentioned above. The average of 1,372 kWh lighting usage for the logged period is about 9% of the household kWh for the logged period. The figure of 1,818 kWh per year for lighting mentioned above is 38% of the 4,751 kWh per year annual electrical usage for lights and conveniences measured by ELCAP; a substantial portion of but, not greater than 4,751 kWh per year.

Average on-hours per day, "rounded down to the next lowest whole hour", reported in Research for the Lighting Pattern Book for Homes (Source: Leslie, Conway 1593, 14) shown in Table 2-3 are similar to those in Table 2-2. This data was collected through a telephone survey.