## Fig 13-1 LCOE Ntr Gas
Gas Plants | CCCT Adv 1 Wet Cool East | CCCT Adv 2 Dry Cool East | CCCT Adv 2 Dry Cool West | Frame GT East | Recip Eng East | Aero GT East | Frame GT West | Recip Eng West | Aero GT West
Year 2020
LCOE $/MWh | 71.2975 | 73.6692 | 78.4348 | 127.8334 | 137.1504 | 139.1007 | 144.8425 | 148.9268 | 153.8326
Capital | 20.3375 | 22.8199 | 22.7312 | 32.3322 | 52.0197 | 44.4568 | 32.2122 | 52.0197 | 44.2968
O&M (fixed & variable) & Property Tax and Insurance | 8.1357 | 8.377 | 8.3684 | 16.2473 | 18.5225 | 20.5858 | 16.2357 | 18.5225 | 20.5702
Fuel (fixed, variable) & Transmission | 42.8243 | 42.4723 | 47.3352 | 79.2539 | 66.6082 | 74.058 | 96.3946 | 78.3846 | 88.9656
Figure 13-1: Levelized Cost of Energy for Natural Gas Resources with service yearof 2020

## Fig 13-2 LCOE Wind Solar
Wind and Solar | Conv. Geothermal | Utility Scale Solar PV S. ID | Wind Montana with Colstrip Transm. | Wind Montana | Wind Montana with Transm. Expansion | Wind Columbia Basin | Utility Scale Solar PV WA | Utility Scale Solar PV S. ID with Transm. Expansion
Year 2020
LCOE $/MWh | 85.4444 | 91.4376 | 94.1567 | 105.7263 | 109.2932 | 110.3306 | 121.356 | 129.8288
Capital | 47.2001 | 63.6289 | 60.6217 | 63.5716 | 63.5716 | 75.7771 | 86.8269 | 63.6289
O&M (fixed & variable) & Property Tax and Insurance | 34.8539 | 14.6854 | 17.3706 | 17.6376 | 17.6376 | 21.2176 | 20.0395 | 14.6854
Transmission | 3.3904 | 13.1233 | 16.1645 | 24.5171 | 28.084 | 13.3359 | 14.4897 | 51.5145
Figure 13-2: Levelized Cost of Energy for Renewable Resources - with service year 2020

## Fig 13-3 Least Cost Gas
COST | $(mm) Annual Cost 2012 dollars
aMW | CCCT Adv 1 | CCCT Adv 2 | Recip Eng | Aero GT | Frame GT
10 | 0 | 0 | 0 | 0 | 35.5107
60 | 0 | 0 | 0 | 66.229 | 0
110 | 0 | 0 | 0 | 93.2308 | 0
160 | 0 | 0 | 124.2669 | 0 | 0
210 | 147.548 | 0 | 0 | 0 | 0
260 | 166.8071 | 0 | 0 | 0 | 0
310 | 186.0661 | 0 | 0 | 0 | 0
360 | 0 | 219.9546 | 0 | 0 | 0
410 | 194.9252 | 0 | 0 | 75.4096 | 0
460 | 194.9252 | 0 | 0 | 102.4114 | 0
Figure 13 – 3: Least Cost Gas Plant Solution by Energy Requirement

## Fig 13-4 Solar Capital Cost
Overnight Capital Cost $/kWac 2012 dollars | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Draft Seventh Plan | 5969.7916 | 5300.6429 | 4259.1523 | 3858.7068 | 3442.0273 | 3025.3477 | 2608.6682 | 2413.0181 | 2295.9867 | 2251.187 | 2206.3872 | 2161.5875 | 2116.7877 | 2071.988 | 2043.9882 | 2015.9883 | 1987.9885 | 1959.9887 | 1931.9888 | 1915.1889 | 1898.389 | 1881.5891 | 1864.7892 | 1847.9893 | 1831.3574 | 1814.8752 | 1798.5413
Analyst projections high | [6 empty] | 3527.1398 |  |  |  |  | 3169.1875 |  |  |  |  | 2993.3294 |  |  |  |  | 2871.1018 |  |  |  |  | 2753.863
Analyst projection low | [5 empty] | 1800 | 1684.995 | 1616.1484 | 1547.3018 | 1478.4553 | 1409.6087 | 1340.7621 | 1298.1072 | 1255.4522 | 1212.7973 | 1170.1423 | 1127.4874 | 1096.3069 | 1065.1264 | 1033.9459 | 1002.7653 | 971.5848 | 971.5848 | 971.5848 | 971.5848 | 971.5848 | 971.5848
delta | [6 empty] | 1842.1448 | 1839.4009 | 1836.657 | 1833.9131 | 1831.1692 | 1828.4254 | 1835.9087 | 1843.392 | 1850.8753 | 1858.3587 | 1865.842 | 1872.577 | 1879.312 | 1886.047 | 1892.7819 | 1899.5169 | 1876.0692 | 1852.6214 | 1829.1737 | 1805.7259 | 1782.2782
Sun Shot Goal | [11 empty] | 1247.2206
Sun Shot Evol. Projection | [11 empty] | 2369.7191
Figure 13 – 4: Forecast of Capital Costs for Utility Scale Solar PV

## Fig 13-5 Solar LCOE
LCOE for Solar PV - Low, Med and High Range
| 2020 | 2025 | 2030 | 2035
Reference Plant - Utility Scale Solar PV | Utility Scale Solar PV S. ID | Utility Scale Solar PV S. ID | Utility Scale Solar PV S. ID | Utility Scale Solar PV S. ID
LCOE $/MWh | 91.4376 | 92.3577 | 87.5578 | 83.1726
Capital | 63.6289 | 65.6879 | 61.6887 | 58.0607
O&M (fixed & variable) & Property Tax and Insurance | 14.6854 | 13.4955 | 12.7179 | 12.029
Transmission | 13.1233 | 13.1743 | 13.1512 | 13.0829
Low Cost Forecast Utility Scale Solar PV S. ID | Utility Scale Solar PV S. ID | Utility Scale Solar PV S. ID | Utility Scale Solar PV S. ID | Utility Scale Solar PV S. ID
LCOE $/MWh | 61.4278 | 57.7709 | 51.2444 | 50.6536
Capital | 39.4668 | 37.2548 | 31.8537 | 31.3648
O&M (fixed & variable) & Property Tax and Insurance | 9.1078 | 7.653 | 6.5663 | 6.4986
Transmission | 12.8532 | 12.863 | 12.8244 | 12.7902
High Cost Forecast Utility Scale Solar PV S. ID | Utility Scale Solar PV S. ID | Utility Scale Solar PV S. ID | Utility Scale Solar PV S. ID | Utility Scale Solar PV S. ID
LCOE $/MWh | 128.2695 | 132.7597 | 127.038 | 120.7352
Capital | 93.2832 | 98.9009 | 94.1247 | 88.8953
O&M (fixed & variable) & Property Tax and Insurance | 21.5316 | 20.3209 | 19.4068 | 18.419
Transmission | 13.4547 | 13.5379 | 13.5065 | 13.421
Figure 13 – 5: LCOE Forecast Range for Utility Scale Solar PV

## Fig 13-6 Solar + Battery Stor
Name | Solar PV & Battery Storage System |  | Locations | Capacity Factor (AC to AC)
|  |  | Kelso WA | 0.1889
Solar PV | 50 MW ac System
c-Si modules
Single Axis Tracker
0.5% annual degrade
Battery | 10 MW system
Li-ion technology
85% round trip efficiency
State of charge min 10%
MWh - 1
Discharge over 1 to 4 hours
20 year life
Kelso WA
January
| Hour of Day | Baseline Solar Generation | Load Profile | Battery Charge | Battery Storage | Battery Discharge | Demand on PV | Solar & Storage System Output
1 | 0 |  | 0.72363 |  | 1 |  | 0 | 0
2 | 1 |  | 0.70839 |  | 1 |  | 0 | 0
3 | 2 |  | 0.70469 |  | 1 |  | 0 | 0
4 | 3 |  | 0.71246 |  | 1 |  | 0 | 0
5 | 4 |  | 0.74126 |  | 1 |  | 0 | 0
6 | 5 |  | 0.81028 |  | 1 |  | 0 | 0
7 | 6 | 0 | 0.9113 |  | 1 |  | 0 | 0
8 | 7 | 0.26457 | 0.97502 |  | 1 |  | 0 | 0.26457
9 | 8 | 5.9066 | 0.98306 |  | 1 |  | 0 | 5.9066
10 | 9 | 10.3005 | 0.97304 |  | 1 |  | 0 | 10.3005
11 | 10 | 14.2811 | 0.95467 | 0 | 1 |  | 0 | 14.2811
12 | 11 | 16.712 | 0.92953 | -0.65282 | 1.6528 |  | 0.76802 | 15.944
1 | 12 | 19.5611 | 0.90694 | -3.0746 | 4.7274 |  | 3.6172 | 15.944
2 | 13 | 19.9529 | 0.88806 | -3.4076 | 8.135 |  | 4.0089 | 15.944
3 | 14 | 18.1381 | 0.87562 | -1.865 | 10 |  | 2.1941 | 15.944
4 | 15 | 13.9312 | 0.88291 | 0 | 10 |  | 0 | 13.9312
5 | 16 | 5.5071 | 0.92725 | 0 | 10 | 0 | 0 | 5.5071
6 | 17 | 0.067018 | 0.98824 |  | 7 | 3 | 0 | 3.067
7 | 18 | 0 | 1 |  | 4 | 3 | 0 | 3
8 | 19 |  | 0.97753 |  | 1 | 3 | 0 | 3
9 | 20 |  | 0.94352 |  | 1 | 0 | 0 | 0
10 | 21 |  | 0.89376 |  | 1 |  | 0 | 0
11 | 22 |  | 0.82687 |  | 1 |  | 0 | 0
24 | 23 |  | 0.76149 |  | 1 |  | 0 | 0
Figure 13-6: Example of Utility Scale Solar PV and Battery Storage System