## Slide 1: 2021 Adequacy Assessment Policy Issues for Steering Committee Resource Adequacy Advisory Committee
Technical Committee Meeting
March 18, 2016

## Slide 2: Policy Issues
What loads should be used?
How should EE be counted?
Should we count “expected” DR?
How to count resources without firm fuel?
How should import limits be set?
Should we address market friction?
Other?

## Slide 3: Loads for Resource Adequacy
Start with the LTM low, medium and high
Update with new data, if available
“Calibrate” quarterly mean and peak loads (yet to be defined how)
Stretch STM hourly loads to match calibrated quarterly mean and peak loads from LTM
Shrink loads by expected EE and DR savings out of the current power plan

## Slide 4: Energy Efficiency
Expected EE savings are derived from the RPM
Quarterly mean and peak savings are the RPM average values from over all games
These values are incorporated into the hourly load forecast

## Slide 5: Demand Response
Include expected new DR (like expected EE)
Expected DR acquisition is from the RPM
Quarterly mean and peak DR availabilities are the average RPM values over all games
These availabilities are added to the existing standby resource availabilities that are used to assess the final adequacy assessment
Will need to consider how to model DR “inside” of GENESYS

## Slide 6: Fuel Limitations
Example: Gray’s Harbor
  IPP without firm fuel contract
  Already limited to about 33% capacity for summer
Options:
  Assume infinite fuel supply (current assumption)
  Limit capacity by fixed amount (not recommended)
  Limit capacity as function of temperature (better but requires code change)

## Slide 7: Imports
Two types
  Purchase Ahead: when forecasting shortage
  Spot Market: during hours with shortages
Maximum Import
  More supply than intertie capability, thus
  Set import limits based on intertie capability
Options
  2,500 or 3,400 MW spot market winter only
  Model intertie outages

## Slide 8: Market Friction
The concept that during shortages utilities will hold on to more reserves, thus reducing the available market
Options
  Do not model market friction (recommended)
  Reduce spot and purchase ahead availability as a function of temperature (requires code change)