## Slide 1: Key Findings and Resource Strategy

## Slide 2: The Council’s Power Plan
Goal - Ensure an adequate, efficient and affordable regional power system
Major Components
  Forecast of regional electricity demand over the next 20 years
  A “least cost with acceptable risk” Resource Strategy
  Regional action plan to implement Resource Strategy
Use
  By statute, plan guides Bonneville Power Administration’s resource decisions
  By tradition, plan serves as an independent reference for all of the region’s utilities, regulatory commissions and policy-makers

## Slide 3: The Seventh Power Plan – Major Issues
  Impact of announced coal-plant retirements on need for new resource development
Centralia 1 & 2 – 1340 MW
Boardman – 550 MW
North Valmy – 522 MW
  Implications of and options for addressing EPA’s Clean Power Plan
  How to best meet regional need for capacity (i.e., peaking) resources

## Slide 4: The Answers to These Issues Requires Planning for Uncertainty
Resource Strategies – actions and policies over which the decision maker has control that will affect the outcome of decisions
Futures – circumstances over which the decision maker has no control that will affect the outcome of decisions
Scenarios – Combinations of Resource Strategies and Futures used to “stress test” how well what we control performs in a world we don’t control

## Slide 5: Council Follows the “Gump” Resource Strategy Testing Model
The Future’s Like A Box of Chocolates.
You Never Know What You’re Gonna Get.

## Slide 6: Council Tested Over Two Dozen Different Scenarios
Existing Policy
Social Cost of Carbon
Retire Coal
Retire Coal and Inefficient Gas
Retire Coal & Impose Social Cost of Carbon
Retire Coal & Impose Social Cost of Carbon & No New Gas
Regional RPS @ 35%
No Demand Response
Increase Market Reliance
Lower Conservation

## Slide 7: Key Findings

## Slide 8: Key Finding
The region’s population and economy are forecast to grow

## Slide 9: Regional Population and Economic Forecast
Chart: Percent Growth 2015 to 2035
| Population | Employment | Households | Commercial Floor Space | Industrial Output
Growth 2015_2035 | 1.1429 | 1.2031 | 1.2667 | 1.2647 | 1.36

## Slide 10: Key Finding
Energy Efficiency and Demand Response can meet nearly all growth in energy and capacity needs through 2035

## Slide 11: Seventh Power Plan Least Cost Resource Strategies for Meeting Forecast Energy and Capacity Needs
Chart: Cumulative Resource Development (aMW)
| 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Energy Efficiency | 174.0644 | 368.1472 | 587.9241 | 834.8472 | 1111.5487 | 1412.7771 | 1729.8447 | 2058.9162 | 2399.7213 | 2745.1096 | 3088.5202 | 3427.0514 | 3756.5418 | 3969.4398 | 4088.1394 | 4153.7643 | 4208.7536 | 4259.1599 | 4308.2655 | 4356.9573
Natural Gas | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13.7788 | 55.7575 | 58.1825 | 60.5675 | 107.0062 | 237.245 | 371.32 | 706.975 | 824.1262 | 1104.0138 | 1109.3612
Geothermal | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.10875 | 0.78 | 2.0725 | 3.9487 | 6.5 | 8.7912 | 34.285 | 44.4025 | 72.96
Solar | 0 | 0 | 0 | 0 | 0.06 | 0.09 | 0.09 | 0.1425 | 0.24375 | 0.33375 | 0.3775 | 0.4225 | 0.53 | 1.3475 | 3.315 | 6.4963 | 11.6538 | 17.9412 | 25.33 | 33.35 | 41.4363
Wind | 0 | 0 | 0 | 0 | 2.24 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.1438 | 3.28 | 3.3288 | 3.4488 | 4.125
Chart: Cumulative Resource Development (MW)
| 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Energy Efficiency | 172.7613 | 533.0775 | 951.7075 | 1426.6312 | 1961.6675 | 2556.9988 | 3197.0462 | 3867.0025 | 4564.6887 | 5286.4187 | 6014.405 | 6740.4363 | 7456.7275 | 8070.5825 | 8445.3363 | 8590.65 | 8724.1238 | 8839.87 | 8952.6812 | 9064.0987
Natural Gas | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 96.965 | 96.965 | 106.6975 | 106.6975 | 473.5737 | 473.5737 | 1443.6788 | 1443.6788 | 2541.0075 | 2541.0075 | 2541.0075 | 2541.0075 | 2541.0075
Demand Response | 501 | 968.8162 | 1151.4662 | 1182.6937 | 1257.2362 | 1258.7438 | 1258.7438 | 1275.3925 | 1275.3925 | 1288.7575 | 1288.7575 | 1372.135 | 1372.135 | 1418.5075 | 1418.5075 | 1478.55 | 1478.55 | 1691.9425 | 1691.9425 | 2096.7125
Renewable Resources | 0 | 0.24 | 0.2975 | 0.2975 | 0.2975 | 0.2975 | 0.3425 | 0.405 | 0.45125 | 0.47 | 0.4975 | 0.7525 | 2.5775 | 5.9113 | 11.0213 | 62.0213 | 69.01 | 126.6537 | 134.19 | 193.1475

## Slide 12: Forecast Load Growth Over The Next Two Decades (Average Over 800 Futures)
Chart: Regional Load (Average Megawatts)
| 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Medium Load Forecast - Pre-Energy Efficiency | 20560.25 | 20722.2603 | 20886.8036 | 21272.3413 | 21530.3512 | 21748.1228 | 21962.0245 | 22183.5445 | 22420.674 | 22674.0793 | 22934.0128 | 23202.1565 | 23483.3003 | 23780.1493 | 24005.8323 | 24266.4436 | 24528.2969 | 24829.2926 | 25154.1164 | 25488.9337 | 25818.2773
Load Reduction from Federal Standards Adopted Since 6th Plan | 20560.25 | 20660.3119 | 20744.8822 | 21053.5541 | 21213.4247 | 21338.9662 | 21474.4009 | 21620.7147 | 21784.8024 | 21967.2538 | 22157.6834 | 22357.6677 | 22571.6802 | 22802.2893 | 22963.361 | 23160.2881 | 23362.1543 | 23605.7348 | 23874.8024 | 24155.358 | 24431.9248
Load Growth Met with Energy Efficiency | 20560.25 | 20486.2475 | 20376.735 | 20465.63 | 20378.5775 | 20227.4175 | 20061.6237 | 19890.87 | 19725.8862 | 19567.5325 | 19412.5737 | 19269.1475 | 19144.6287 | 19045.7475 | 18993.9212 | 19072.1488 | 19208.39 | 19396.9813 | 19615.6425 | 19847.0925 | 20074.9675
Regional Load Growth Met with Energy Efficiency
Regional Load Net of Energy Efficiency
Load Reduction from Federal Standards
Adopted Post-Sixth Power Plan

## Slide 13: Key Finding:
Because they cost less!
The Seventh Power Plan Relies on Energy Efficiency and Demand Response Resources To Meet Load Growth

## Slide 14: All Resource Cost – Energy
Chart: Real Levelized Cost (2012$/MWh)
| Energy Efficiency (Average Cost w/ T&D Credit) | Energy Efficiency (Average Cost w/o T&D Credit) | Solar PV - Low Cost S. ID | Natural Gas - CCCT Adv1 | Natural Gas - CCCT Adv2 | Solar PV - S. ID | Wind -MT w/ new transm. | Wind - MT w/ Transm. Upgrade | Wind - Colum. Basin | Natural Gas - Frame GT East | Solar PV- S. ID w/ Transm. Expan. | Natural Gas - Recip Engine East | Natural Gas - Aero GT East
Capital | 18 | 30 | 44.4391 | 20.3375 | 22.8199 | 71.645 | 63.5716 | 63.5716 | 75.7771 | 32.3322 | 71.645 | 52.0197 | 44.4568
O&M + Property Taxes + Insurance | 0 | 9.1095 | 8.1357 | 8.377 | 14.6854 | 17.6376 | 17.6376 | 21.2176 | 16.2473 | 14.6854 | 18.5225 | 20.5858
Fuel + Transmission | 0 | 12.8983 | 47.2084 | 46.8136 | 13.1961 | 24.5171 | 28.084 | 13.3359 | 85.8686 | 51.6606 | 72.0013 | 80.1644

## Slide 15: All Resource Cost – Peak Capacity
Chart: Real Levelized Cost (2012$/kW-yr)
| Demand Response Price Block 1 | Demand Response Price Block 2 | Demand Response Price Block 3 | Solar PV - Low Cost S. ID | Natural Gas - Frame GT East | Natural Gas - CCCT Adv1 | Demand Response Price Block 4 | Natural Gas - Recip Engine East | Natural Gas - Aero GT East | Natural Gas - CCCT Adv2 | Solar PV - S. ID | Wind - Colum. Basin | Solar PV- S. ID w/ Transm. Expan. | Wind -MT w/ new transm. | Wind - MT w/ Transm. Upgrade
Capital | 24.9169 | 54.1667 | 77.2698 | 101.99 | 70.81 | 106.89 | 189.0389 | 113.92 | 97.36 | 119.94 | 164.43 | 212.42 | 164.43 | 222.75 | 222.75
O&M + Property Taxes + Insurance | 20.91 | 13.81 | 25.67 | 20.97 | 34.2 | 26.94 | 33.7 | 53.92 | 33.7 | 54.86 | 54.86
Fuel + Transmission | 23.9 | 63.02 | 49.23 | 55.69 | 60.21 | 49.09 | 24.58 | 37.05 | 112.86 | 85.43 | 97.93

## Slide 16: Key Finding
A Minimum of 600 MW of Demand Response resources should be developed to meet regional peak demands

## Slide 17: Demand Response Deployment By Scenario (Average Across 800 Futures)
Chart: Cumulative Development (MW)
| 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Existing Policy | 0 | 429.64 | 641.53 | 692.4562 | 700.7838 | 715.8425 | 715.975 | 715.975 | 716.8175 | 716.8175 | 718.3412 | 718.3412 | 718.5938 | 718.5938 | 718.5938 | 718.5938 | 719.84 | 719.84 | 730.4762 | 730.4762
Social Cost of Carbon - MidRange | 0 | 501 | 968.8162 | 1151.4662 | 1182.6937 | 1257.2362 | 1258.7438 | 1258.7438 | 1275.3925 | 1275.3925 | 1288.7575 | 1288.7575 | 1372.135 | 1372.135 | 1418.5075 | 1418.5075 | 1478.55 | 1478.55 | 1691.9425 | 1691.9425
Retire Coal and Inefficient Gas | 0 | 501 | 967.8188 | 1145.1012 | 1172.8225 | 1191.9463 | 1191.9463 | 1191.9463 | 1419.9625 | 1419.9625 | 1788.5275 | 1788.5275 | 1875.1437 | 1875.1437 | 2213.8175 | 2213.8175 | 2213.8175 | 2213.8175 | 2558.8412 | 2558.8412
Retire Coal | 0 | 501 | 975.1425 | 1194.7088 | 1246.8625 | 1267.6388 | 1268.1712 | 1268.1712 | 1388.8675 | 1388.8675 | 1754.6812 | 1754.6812 | 1844.4925 | 1844.4925 | 1926.53 | 1926.53 | 2156.545 | 2156.545 | 2239.0588 | 2239.0588
Retire Coal w/SCC MidRange | 0 | 501 | 967.7288 | 1158.2525 | 1201.255 | 1223.4875 | 1223.6375 | 1223.6375 | 1306.095 | 1306.095 | 1350.125 | 1350.125 | 1409.4088 | 1409.4088 | 1457.7562 | 1457.7562 | 1597.8338 | 1597.8338 | 1689.2238 | 1689.2238
Retire Coal w/SCC MidRange and No New Gas | 0 | 501 | 967.4912 | 1141.18 | 1167.2225 | 1191.4775 | 1193.1075 | 1193.1075 | 1357.61 | 1357.61 | 1780.3175 | 1780.3175 | 1938.4825 | 1938.4825 | 1989.4713 | 1989.4713 | 2112.43 | 2112.43 | 2536.1675 | 2536.1675
Regional RPS @ 35% | 0 | 501 | 975.1487 | 1178.8112 | 1215.25 | 1298.1088 | 1298.1088 | 1298.1088 | 1298.1088 | 1298.1088 | 1298.1088 | 1298.1088 | 1300.8863 | 1300.8863 | 1304.2137 | 1304.2137 | 1336.9613 | 1336.9613 | 1584.8275 | 1584.8275

## Slide 18: Probability and Amount of Demand Response Deployment by Scenario
Chart: Deployment Level (Winter Peak MW)
| 0 | 100 | 200 | 300 | 400 | 500 | 600 | 700 | 800 | 900 | 1000 | 1100 | 1200 | 1300 | 1400 | 1500 | 1600 | 1700 | 1800 | 1900 | 2000 | 2100 | 2200 | 2300 | 2400 | 2500 | 2600 | 2700
Existing Policy | 0 | 0 | 0 | 0 | 0 | 0 | 0.03 | 0.0075 | 0.02125 | 0.025 | 0.03375 | 0.31375 | 0.0675 | 0.06625 | 0.06625 | 0.0675 | 0.12125 | 0.035 | 0.01875 | 0.02875 | 0.015 | 0.0175 | 0.0125 | 0.015 | 0.005 | 0.01375 | 0.00125 | 0.0175
SCC - MidRange | 0 | 0 | 0 | 0 | 0 | 0 | 0.0325 | 0.015 | 0.02 | 0.03125 | 0.03125 | 0.36 | 0.06625 | 0.06625 | 0.05625 | 0.06125 | 0.1075 | 0.02 | 0.0275 | 0.015 | 0.025 | 0.01 | 0.0125 | 0.0075 | 0.01 | 0.01 | 0.015 | 0
Retire Coal | 0 | 0 | 0 | 0 | 0 | 0 | 0.03 | 0.0075 | 0.01625 | 0.025 | 0.035 | 0.31375 | 0.07 | 0.06875 | 0.08 | 0.06125 | 0.1425 | 0.0275 | 0.02625 | 0.0225 | 0.02375 | 0.04125 | 0.00875 | 0 | 0 | 0 | 0 | 0
Retire Coal w/SCC_MidRange | 0 | 0 | 0 | 0 | 0 | 0 | 0.03125 | 0.0075 | 0.02375 | 0.02375 | 0.2825 | 0.08375 | 0.07625 | 0.06875 | 0.085 | 0.1425 | 0.0475 | 0.02875 | 0.01875 | 0.07625 | 0.00375 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Retire Coal w/SCC_MidRange No New Gas | 0 | 0 | 0 | 0 | 0 | 0 | 0.035 | 0.015 | 0.025 | 0.0325 | 0.03 | 0.38375 | 0.07875 | 0.0675 | 0.0675 | 0.0625 | 0.09125 | 0.03125 | 0.01875 | 0.02125 | 0.01125 | 0.01375 | 0.015 | 0 | 0 | 0 | 0 | 0
Increase Market Reliance | 0.035 | 0.01375 | 0.02125 | 0.035 | 0.03375 | 0.76875 | 0.02625 | 0.02625 | 0.015 | 0.00625 | 0.00875 | 0.0025 | 0.00625 | 0.00125 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
No Demand Response | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Regional RPS @ 35% | 0 | 0 | 0 | 0 | 0 | 0 | 0.02875 | 0.00875 | 0.01625 | 0.02375 | 0.0375 | 0.32625 | 0.06375 | 0.0725 | 0.06 | 0.065 | 0.10625 | 0.03625 | 0.025 | 0.02625 | 0.02625 | 0.02 | 0.0125 | 0.0125 | 0.0075 | 0.025 | 0 | 0
Lower Conservation | 0 | 0 | 0 | 0 | 0 | 0 | 0.00375 | 0.00375 | 0.01375 | 0.00625 | 0.015 | 0.0775 | 0.03125 | 0.05125 | 0.0425 | 0.0425 | 0.085 | 0.0475 | 0.07125 | 0.03625 | 0.06625 | 0.07875 | 0.03875 | 0.02125 | 0.0425 | 0.06 | 0.14375 | 0.0025
Minimum Probability of 600 MW DR Deployment by 2021 is 70%

## Slide 19: Key Finding
Retiring coal plant generation can be replaced by greater reliance on existing natural gas plants

## Slide 20: Existing Natural Gas Dispatch by Scenario (Average Across 800 Futures)
Chart: Existing Gas Dispatch (aMW)
| 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Lower Conservation | 3225.0225 | 3231.1363 | 3082.9 | 2978.325 | 2828.8125 | 2720.41 | 2863.665 | 2931.9925 | 2907.1512 | 2901.39 | 2816.565 | 2965.325 | 3098.9925 | 2997.0637 | 3000.0738 | 2980.94 | 2901.4237 | 2844.0338 | 2826.3575 | 2744.7225 | 2737.1925
Existing Policy | 3225.0225 | 3225.0225 | 3054.7225 | 2918.9075 | 2734.6087 | 2581.2438 | 2684.3987 | 2713.23 | 2635.2525 | 2558.1575 | 2422.5188 | 2572.9662 | 2689.0437 | 2560.9625 | 2539.6312 | 2536.3038 | 2492.2362 | 2501.8412 | 2517.9988 | 2483.1512 | 2592.4525
Social Cost of Carbon - Mid-Range | 3225.0225 | 4358.1275 | 4361.89 | 4272.2337 | 4190.9575 | 4136.3087 | 4087.6275 | 4060.2762 | 4019.1475 | 3992.87 | 3922.5763 | 3886.2862 | 3892.27 | 3790.9237 | 3759.8438 | 3744.0575 | 3669.5037 | 3552.42 | 3543.2112 | 3462.2287 | 3521.0763
Retire Coal | 3225.0225 | 3225.3238 | 3055.0613 | 2921.4913 | 2739.15 | 2585.9313 | 2686.14 | 2709.0575 | 2631.3187 | 2557.9488 | 2356.92 | 2954.4012 | 3373.3463 | 3254.5487 | 3242.3438 | 3245.41 | 3166.1737 | 3127.5662 | 3113.1813 | 3085.2512 | 3094.275
Retire Coal w/SCC_MidRange | 3225.0225 | 4358.5013 | 4363.8688 | 4275.4163 | 4195.34 | 4140.4663 | 4087.1537 | 4051.3787 | 4002.4675 | 3959.6912 | 3870.175 | 3726.3962 | 3767.6075 | 3648.1062 | 3617.88 | 3577.0662 | 3517.8463 | 3436.3075 | 3460.8713 | 3434.4925 | 3427.1887
Regional RPS @ 35% | 3225.0225 | 3225.3762 | 3054.6075 | 2914.8888 | 2720.4475 | 2553.9825 | 2453.5887 | 2283.185 | 2071.58 | 1856.7137 | 1621.2838 | 1595.79 | 1409.7662 | 1182.835 | 1165.4263 | 1181.4425 | 1231.9388 | 1302.745 | 1390.56 | 1465.15 | 1596.8175

## Slide 21: Key Finding
No immediate need to acquire or build new natural gas-fired generating resources
  Unless, regional energy efficiency and demand response goals are not achieved
      OR
  Unless, additional coal plants are retired

## Slide 22: Probability of Needing New Natural Gas Generation by 2021
Chart: 
| No Demand Response | Retire Coal w/SCC_MidRange | Lower Conservation | Retire Coal | Retire Coal and Inefficient Gas | Regional RPS @ 35% | Existing Policy | Increased Market Reliance | Social Cost of Carbon - MidRange
2021 | 0.8825 | 0.45 | 0.4 | 0.37875 | 0.03375 | 0.0325 | 0.025 | 0.02125 | 0

## Slide 23: Key Finding
Resource strategies that maximize the use of existing regional resources to satisfy the region’s resource adequacy standards require less resource development

## Slide 24: Net Electricity Exports (Exports minus Imports) by Scenario (Average Across 800 Futures)
Chart: Net Exports (aMW)
| 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Existing Policy | 4574.7282 | 4574.7282 | 4742.6881 | 4747.799 | 4842.6036 | 4995.6638 | 4800.0727 | 4847.6806 | 4884.5363 | 4989.963 | 5022.9535 | 4886.0436 | 4913.1258 | 4888.5445 | 4946.8729 | 4944.0284 | 4839.5595 | 4794.2574 | 4746.4743 | 4686.9927 | 4647.7013
Social Cost of Carbon - Mid-Range | 4574.7282 | 3078.9616 | 3252.1104 | 3161.3478 | 3204.4985 | 3388.8585 | 3433.6167 | 3504.0466 | 3603.439 | 3723.5706 | 3811.5763 | 3880.6063 | 3962.168 | 3985.3454 | 4051.6264 | 4139.7412 | 4106.8329 | 4156.4188 | 4104.0482 | 4113.203 | 4048.0685
Retire Coal and Inefficient Gas | 4574.7282 | 4301.0117 | 4430.3852 | 4374.742 | 4401.4307 | 4513.1988 | 4258.1857 | 4195.4322 | 4304.6587 | 4504.6008 | 4618.994 | 3025.0208 | 2383.1043 | 2472.3504 | 2662.7043 | 2871.5898 | 2738.7925 | 2730.6531 | 2663.4085 | 2612.0034 | 2634.3927
Retire Coal | 4574.7282 | 4574.1689 | 4739.1519 | 4744.7968 | 4840.9894 | 4991.9674 | 4803.0504 | 4853.8869 | 4888.5786 | 4991.5413 | 5124.7527 | 3896.3644 | 3563.7001 | 3527.634 | 3554.6145 | 3554.0773 | 3412.1096 | 3378.098 | 3213.7612 | 3204.3936 | 3355.071
Retire Coal w/SCC_MidRange | 4574.7282 | 3075.5166 | 3238.5586 | 3137.2319 | 3172.7243 | 3357.6077 | 3431.1876 | 3543.1511 | 3670.6854 | 3839.9661 | 4175.2037 | 4433.7755 | 4419.7363 | 4456.5826 | 4515.9209 | 4572.5656 | 4498.9931 | 4483.9055 | 4366.3881 | 4402.6297 | 4611.0524
Regional RPS @ 35% | 4574.7282 | 4574.1438 | 4740.0421 | 4757.2611 | 4861.2931 | 5023.6008 | 5142.3477 | 5359.1159 | 5480.1328 | 5636.1456 | 5734.2007 | 5812.3572 | 5983.6109 | 6030.3692 | 6066.6545 | 6052.4951 | 6005.0153 | 5968.0033 | 5935.7568 | 5892.4183 | 5864.66

## Slide 25: Key Finding
EPA carbon emission reduction regulations can be met regionally
  However, some states, especially Montana, face significant challenges

## Slide 26: Annual CO2 Emissions for Plants Covered by Clean Power Plan by Resource Strategy and Scenario (Average Across 800 Futures)
Chart: Annual Average CO2 Emissions (MMT)
| 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
No Coal Retirement | 27.4325 | 27.4363 | 27.9025 | 28.9475 | 29.8987 | 30.5787 | 30.825 | 30.8175 | 30.7538 | 30.6275 | 30.5538 | 30.49 | 30.7263 | 30.7063 | 30.68 | 31.03 | 31.3487 | 31.8125 | 32.5213 | 33.2587 | 33.9525
Existing Policy | 27.4325 | 27.4325 | 27.9062 | 28.9425 | 29.8837 | 30.5538 | 29.0125 | 26.525 | 25.7963 | 25.6913 | 25.5987 | 24.1275 | 22.3863 | 21.7587 | 21.64 | 21.7975 | 21.905 | 22.1187 | 22.5338 | 22.9875 | 23.4425
Social Cost of Carbon - Mid-Range | 27.4325 | 15.1538 | 15.305 | 15.635 | 15.805 | 16.0038 | 15.8212 | 15.0862 | 14.7438 | 14.6512 | 14.5337 | 14.1125 | 13.7462 | 13.5913 | 13.495 | 13.7762 | 14.1675 | 14.5988 | 15.105 | 15.56 | 16.11
Reire Coal w/SCC MidRange & No New Gas | 27.4325 | 15.1538 | 15.3012 | 15.6337 | 15.7988 | 15.9938 | 15.7925 | 15.0375 | 14.67 | 14.545 | 14.2075 | 12.5587 | 10.41 | 9.5162 | 9.2575 | 9.155 | 9.065 | 8.9787 | 8.9612 | 8.8938 | 8.5062
Retire Coal and Inefficient Gas | 27.4325 | 27.415 | 27.8738 | 28.8813 | 29.775 | 30.3975 | 28.835 | 26.34 | 25.5813 | 25.405 | 25.42 | 20.0862 | 12.895 | 10.8038 | 10.6337 | 10.7387 | 10.8525 | 11.415 | 11.9262 | 11.93 | 11.9413
RPS at 35% | 27.4325 | 27.4363 | 27.9037 | 28.9275 | 29.815 | 30.4225 | 28.2888 | 24.635 | 22.8663 | 21.77 | 20.695 | 18.6225 | 15.9062 | 14.0113 | 13.5213 | 13.675 | 14.0563 | 14.5475 | 15.2088 | 15.8438 | 16.5525
EPA Emissions Limits | 34.1121 | 34.1121 | 34.1121 | 32.4152 | 32.4152 | 32.4152 | 31.4463 | 31.4463 | 30.8279 | 30.8279 | 30.8279 | 30.8279 | 30.8279 | 30.8279

## Slide 27: Key Finding
Carbon emission reduction policies that result in the significant renewable resource development without also retiring coal generation produce the least carbon emission reductions per dollar invested

## Slide 28: Annual Regional Power System CO2 Emissions in 2035 by Scenario (Average Across 800 Futures)
Chart: CO2 Emissions in 2035 (MMT/yr)
| Retire Coal w/SCC_MidRange & No New Gas | Retire Coal and Inefficient Gas | Retire Coal | Retire Coal w/SCC_MidRange | SCC - Mid-Range | Regional RPS at 35% | Existing Policy | Develop 55% Less Energy Efficiency | No Coal Retirement* | PNW Power System Historical Emissions (Average 2001-2014)
2035 CO2 Emissions (MMT) | 10 | 16 | 16 | 18 | 21 | 26 | 36 | 41 | 47.1338 | 54
70%

## Slide 29: Present Value Cost of Reducing Regional Power System CO2 Emissions by Scenario (Average Across 800 Futures)
Chart: PV Carbon Emissions Reduction Cost ( 2012$/MT)
| Regional RPS at 35% | Retire Coal and Inefficient Gas | Retire Coal w/SCC_MidRange & No New Gas | Retire Coal | Retire Coal w/SCC_MidRange | SCC - Mid-Range
Incremental Present Value Average System Cost of Cumulative Emission Reduction Over Existing Policy - Scenario (2012$/MT) | 349 | 170 | 100 | 78 | 23 | -11

## Slide 30: Why Increasing RPS (Alone) Isn’t an Effective Option for Reducing CO2 Emissions
RPS don’t reduce coal use
RPS don’t change the fact that the “wind doesn’t blow and the sun doesn’t shine all of the time”
RPS lower the amount of cost-effective energy efficiency

## Slide 32: Seventh Plan Resource Strategy
Energy Efficiency Development
  1400 aMW by 2021
  3000 aMW by 2026
  4300 aMW by 2035
Expand Use of Demand Response
  Develop at least 600 MW of demand response resources by 2021
Natural Gas
  Increase use of existing gas generation to offset coal plant retirements
  While there is a very low probability of regional need for new gas-fired generation prior to 2021, individual utility circumstances and need for capacity and other ancillary services may dictate development

## Slide 33: Resource Strategy
Renewable Resources
  Develop local renewable alternatives that are cost-effective now
  Develop solar PV systems to comply with existing renewable portfolio standards, especially in areas with increasing summer peak loads
  Conduct research on and demonstration of renewable energy with a more consistent output like geothermal or wave energy
Carbon Policies
  Support policies that cost effectively achieve state and federal carbon dioxide emissions reduction goals, while maintaining regional power system adequacy by:
    Develop the energy efficiency and demand response
    Replace retiring coal plants with increased use of existing gas-fired generation
    Dispatch existing regional generation to meet adequacy standards for energy and capacity rather than to serve external markets
    Do not increase the requirements of state renewable portfolio standards without also either retiring coal generation or imposing a cost on carbon

## Slide 34: Resource Strategy
Regional Resource Use
  Continue to improve system scheduling and operating procedures across the region’s balancing authorities to maximize cost-effectiveness and minimize the need for new resources to integrate renewable generation
  Improve use of existing regional resource to meet regional adequacy standards
Expand Resource Alternatives
  Energy efficiency
  Renewable with less variable output (e.g., enhanced geothermal, wave)
Adaptive Management
  Monitor regional economic conditions and market developments
  Assess progress on 7th Power Plan energy efficiency and demand response goals

## Slide 35
Questions?

## Slide 36: Backup Slides

## Slide 37: Carbon Dioxide Emission Reduction Policies
Council Tested Multiple Policy Options for Reducing Carbon Emissions
Non-Pricing Policies
  Existing state and federal policies (RPS & CPP)
  Retire Coal (all plants beyond those plants already announced)
  Retire Coal and Inefficient Natural Gas (below 40% efficiency)
  Increase Regional RPS to 35% of All Retail Sales
Pricing Policies
  Assume carbon cost equivalent to Federal Government’s estimate of the Social Cost of Carbon (SCC)
    Mid-Range SCC Estimate ($40/MT in 2016, escalating to $60/MT in 2035
    95th Percentile SCC Estimate ($160/MT in 2016, escalating to $180/MT in 2035
Non-Pricing Combined with Pricing Policies
  Retire Coal w/MidRange SCC
  Retire Coal w/MidRange SCC and Restrict Development to Renewable Resources

## Slide 38: Key Finding
The two carbon emission reduction policies that result in the significant renewable resource development mandate a minimum share of renewables or restrict development of new natural gas generation

## Slide 39: Average Annual New Renewal Resource Generation Dispatch 2015-2035 Under Alternative Resource Strategies
Chart: Annual Average Dispatch (aMW)
| 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Existing Policy | 0 | 0 | 0 | 3.085 | 4.32 | 4.32 | 4.3725 | 4.4237 | 4.475 | 4.5287 | 4.5812 | 5.1125 | 7.4275 | 11.3888 | 18.2162 | 26.8537 | 36.3575 | 49.6775 | 64.44 | 105.7512
Social Cost of Carbon - MidRange | 0 | 0 | 0 | 2.3 | 3.21 | 3.21 | 3.2625 | 3.3637 | 3.4537 | 3.4975 | 3.5425 | 3.7587 | 5.2475 | 8.5075 | 13.565 | 21.2975 | 30.0125 | 62.9437 | 81.2013 | 118.5213
Retire Coal and Inefficient Gas | 0 | 0 | 0 | 2.065 | 2.8762 | 2.8762 | 2.9175 | 2.9937 | 3.0762 | 3.1137 | 3.1412 | 3.5487 | 5.0787 | 8.1912 | 13.5825 | 21.6262 | 30.0912 | 41.075 | 54.7038 | 70.2525
Retire Coal | 0 | 0 | 0 | 3.08 | 4.7137 | 16.2838 | 21.8138 | 22.0512 | 22.1475 | 22.2063 | 35.6862 | 42.8812 | 45.3275 | 47.0125 | 48.1862 | 50.48 | 64.7838 | 78.4262 | 202.315 | 266.7413
Retire Coal w/SCC MidRange | 0 | 0 | 0 | 5.6512 | 9.1363 | 18.9113 | 30.8987 | 34.08 | 56.1962 | 68.235 | 92.6425 | 105.815 | 116.3475 | 122.5538 | 129.0488 | 133.9075 | 155.3838 | 181.38 | 299.77 | 360.2375
Retire Coal w/SCC MidRange and No New Gas | 0 | 0 | 0 | 3.54 | 7.0287 | 26.4788 | 39.3038 | 40.6762 | 130.6713 | 357.7687 | 878.6487 | 1246.1562 | 1283.5688 | 1426.9225 | 1472.2888 | 1563.9287 | 1593.325 | 1694.06 | 2119.005 | 3008.0912
Regional RPS @ 35% | 0 | 2 | 24.0138 | 56.8488 | 95.555 | 737.1013 | 1246.7863 | 1579.5275 | 1922.1875 | 2269.81 | 2712.105 | 3516.6862 | 3890.69 | 3939.3062 | 3947.8612 | 3951.8525 | 3955.0487 | 3959.0638 | 3963.3363 | 3970.875

## Slide 40: Key Finding
Neither of the two carbon emission reduction policies that result in the significant renewable resource development significantly reduce coal use

## Slide 41: Average Annual Coal Generation Dispatch 2015-2035 Under Alternative Resource Strategies
Chart: Annual Average Dispatch (aMW)
| 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Existing Policy | 3243.1425 | 3243.1425 | 3485.1413 | 3741.4425 | 3942.27 | 4120.8663 | 3548.8875 | 3534.195 | 3580.1588 | 3602.2712 | 3158.145 | 3003.605 | 2984.6 | 3026.5287 | 3054.205 | 3073.1388 | 3110.71 | 3160.915 | 3183.8625 | 3227.5513
Social Cost of Carbon - MidRange | 3243.1425 | 605.7862 | 664.7388 | 762.1862 | 794.0712 | 893.2588 | 756.1662 | 760.0725 | 758.1562 | 748.3812 | 656.6512 | 659.235 | 658.5362 | 679.1 | 713.5112 | 744.9088 | 737.8238 | 759.2075 | 758.75 | 830.9762
Retire Coal and Inefficient Gas | 3243.1425 | 3241.5887 | 3479.1487 | 3736.4825 | 3927.0175 | 4102.1337 | 3528.305 | 3510.7025 | 3551.89 | 3561.4288 | 957.19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Retire Coal | 3243.1425 | 3243.39 | 3485.0738 | 3743.2862 | 3946.0963 | 4124.0725 | 3549.7175 | 3536.1562 | 3585.0413 | 3600.6638 | 960.145 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Retire Coal w/SCC MidRange | 3243.1425 | 605.8862 | 665.5312 | 763.9438 | 796.5212 | 895.13 | 748.0738 | 745.79 | 735.13 | 712.6338 | 205.7162 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Retire Coal w/SCC MidRange and No New Gas | 3243.1425 | 605.7312 | 664.555 | 762.0187 | 793.3575 | 891.0875 | 750.35 | 752.5062 | 743.9075 | 711.2075 | 233.9575 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Regional RPS @ 35% | 3243.1425 | 3243.4262 | 3484.8175 | 3738.415 | 3932.2137 | 4103.3063 | 3289.8875 | 3179.5725 | 3097.6312 | 2983.1138 | 2557.5637 | 2198.8663 | 2086.8962 | 2123.5963 | 2158.7387 | 2225.585 | 2294.2537 | 2392.0713 | 2467.175 | 2554.425

## Slide 42: Key Finding
The two carbon emission reduction policies that result in the significant renewable resource development significantly reduce reliance on existing natural gas generation

## Slide 43: Average Annual Existing Gas Generation Dispatch 2015-2035 Under Alternative Resource Strategies
Chart: Annual Average Dispatch (aMW)
| 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Existing Policy | 3225.0225 | 3225.0225 | 3054.7225 | 2918.9075 | 2734.6087 | 2581.2438 | 2713.23 | 2635.2525 | 2558.1575 | 2422.5188 | 2572.9662 | 2689.0437 | 2560.9625 | 2539.6312 | 2536.3038 | 2492.2362 | 2501.8412 | 2517.9988 | 2483.1512 | 2592.4525
Social Cost of Carbon - MidRange | 3225.0225 | 4358.1275 | 4361.89 | 4272.2337 | 4190.9575 | 4136.3087 | 4060.2762 | 4019.1475 | 3992.87 | 3922.5763 | 3886.2862 | 3892.27 | 3790.9237 | 3759.8438 | 3744.0575 | 3669.5037 | 3552.42 | 3543.2112 | 3462.2287 | 3521.0763
Retire Coal and Inefficient Gas | 3225.0225 | 3223.315 | 3047.5413 | 2909.8225 | 2711.2575 | 2550.105 | 2665.17 | 2582.4313 | 2499.7 | 2294.8625 | 2920.335 | 3333.6013 | 3212.6325 | 3198.0212 | 3170.5538 | 3024.5262 | 2871.8962 | 2874.8313 | 2834.0763 | 2847.5775
Retire Coal | 3225.0225 | 3225.3238 | 3055.0613 | 2921.4913 | 2739.15 | 2585.9313 | 2709.0575 | 2631.3187 | 2557.9488 | 2356.92 | 2954.4012 | 3373.3463 | 3254.5487 | 3242.3438 | 3245.41 | 3166.1737 | 3127.5662 | 3113.1813 | 3085.2512 | 3094.275
Retire Coal w/SCC MidRange | 3225.0225 | 4358.5013 | 4363.8688 | 4275.4163 | 4195.34 | 4140.4663 | 4051.3787 | 4002.4675 | 3959.6912 | 3870.175 | 3726.3962 | 3767.6075 | 3648.1062 | 3617.88 | 3577.0662 | 3517.8463 | 3436.3075 | 3460.8713 | 3434.4925 | 3427.1887
Retire Coal w/SCC MidRange and No New Gas | 3225.0225 | 4358.0225 | 4361.3787 | 4271.7313 | 4189.7663 | 4133.0137 | 4048.0975 | 4004.1487 | 3959.5588 | 3824.1838 | 3740.8975 | 3668.4538 | 3555.3113 | 3469.3412 | 3481.76 | 3410.2562 | 3410.2238 | 3404.9088 | 3347.5 | 3127.765
Regional RPS @ 35% | 3225.0225 | 3225.3762 | 3054.6075 | 2914.8888 | 2720.4475 | 2553.9825 | 2283.185 | 2071.58 | 1856.7137 | 1621.2838 | 1595.79 | 1409.7662 | 1182.835 | 1165.4263 | 1181.4425 | 1231.9388 | 1302.745 | 1390.56 | 1465.15 | 1596.8175

## Slide 44: Key Finding
The two carbon emission reduction policies that result in the significant renewable resource development significantly decrease new natural gas-fired generation development

## Slide 45: Average Annual New Natural Gas Generation Dispatch 2015-2035 Under Alternative Resource Strategies
Chart: Annual Average Dispatch (aMW)
| 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Existing Policy | 0 | 0 | 0 | 0 | 0 | 0 | 1.885 | 6.5575 | 7.455 | 9.7025 | 19.4713 | 21.7925 | 25.9013 | 37.3775 | 69.4013 | 115.445 | 183.3675 | 272.0425 | 414.1587 | 420.1312
Social Cost of Carbon - MidRange | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13.7788 | 55.7575 | 58.1825 | 60.5675 | 107.0062 | 237.245 | 371.32 | 706.975 | 824.1262 | 1104.0138 | 1109.3612
Retire Coal and Inefficient Gas | 0 | 0 | 0 | 0 | 0 | 0 | 11.3325 | 11.2888 | 11.7688 | 175.2225 | 776.6325 | 917.145 | 896.3937 | 932.9762 | 1093.2838 | 1355.125 | 1823.4975 | 1854.965 | 2009.705 | 2298.4688
Retire Coal | 0 | 0 | 0 | 0 | 0.3575 | 1.295 | 20.7675 | 29.7338 | 32.3112 | 219.11 | 885.54 | 1035.5338 | 1020.26 | 1048.115 | 1125.855 | 1210.44 | 1384.885 | 1451.4588 | 1568.5162 | 1891.9425
Retire Coal w/SCC MidRange | 0 | 0 | 0 | 0 | 0.99875 | 10.3075 | 104.3225 | 149.9613 | 207.3425 | 486.755 | 1217.53 | 1279.7462 | 1301.975 | 1352.6837 | 1503.6137 | 1608.8763 | 1819.6675 | 1864.5312 | 2012.7325 | 2407.1625
Regional RPS @ 35% | 0 | 0 | 0 | 0 | 0 | 0 | 2.1387 | 7.35 | 7.9038 | 6.8087 | 6.2038 | 6.2875 | 6.0438 | 5.8925 | 6.1137 | 7.3925 | 9.755 | 21.1825 | 39.3775 | 39.145

## Slide 46: Key Finding
The two carbon emission reduction policies that result in the significant renewable resource development slightly decrease long term energy efficiency development

## Slide 47: Cumulative Energy Efficiency Development 2016-2035 Under Alternative Resource Strategies
Chart: Cumulative Development (aMW)
| 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Existing Policy | 0 | 159.9929 | 339.0931 | 542.7004 | 772.4151 | 1031.0198 | 1314.691 | 1616.3808 | 1932.4291 | 2262.199 | 2598.1613 | 2933.5605 | 3265.4556 | 3589.8612 | 3799.2374 | 3915.9137 | 3980.9943 | 4035.8518 | 4086.719 | 4136.8547
Social Cost of Carbon - MidRange | 0 | 174.0644 | 368.1472 | 587.9241 | 834.8472 | 1111.5487 | 1412.7771 | 1729.8447 | 2058.9162 | 2399.7213 | 2745.1096 | 3088.5202 | 3427.0514 | 3756.5418 | 3969.4398 | 4088.1394 | 4153.7643 | 4208.7536 | 4259.1599 | 4308.2655
Retire Coal and Inefficient Gas | 0 | 176.9972 | 373.7783 | 596.0559 | 845.373 | 1124.3187 | 1427.3782 | 1745.6314 | 2075.3423 | 2416.3026 | 2761.3469 | 3103.9301 | 3441.2696 | 3769.4224 | 3980.9919 | 4098.4408 | 4162.9321 | 4216.8305 | 4266.124 | 4314.103
Retire Coal | 0 | 156.5612 | 332.9568 | 533.5419 | 759.2652 | 1012.6517 | 1289.6697 | 1583.066 | 1889.0394 | 2206.7687 | 2528.8923 | 2848.962 | 3164.5122 | 3472.5395 | 3665.1258 | 3765.565 | 3815.4752 | 3855.4794 | 3892.3264 | 3929.6509
Retire Coal w/SCC MidRange | 0 | 161.7047 | 342.9145 | 549.2336 | 782.4466 | 1045.7191 | 1335.6101 | 1644.9511 | 1969.7368 | 2309.1678 | 2655.5587 | 3001.7969 | 3344.4485 | 3679.0434 | 3897.7294 | 4022.5272 | 4094.3468 | 4152.5695 | 4205.6046 | 4257.5562
Retire Coal w/SCC MidRange and No New Gas | 0 | 177.0899 | 374.7896 | 599.6345 | 853.5679 | 1139.3617 | 1451.7193 | 1782.0599 | 2126.6053 | 2485.0189 | 2850.3377 | 3215.2583 | 3576.5477 | 3929.6647 | 4166.8238 | 4310.2335 | 4402.6633 | 4485.6495 | 4563.8459 | 4640.2515
Regional RPS @ 35% | 0 | 156.406 | 332.6974 | 532.936 | 757.9705 | 1010.2364 | 1285.578 | 1576.581 | 1879.1362 | 2192.1673 | 2508.0886 | 2820.1583 | 3125.3583 | 3419.7711 | 3594.0312 | 3672.1016 | 3696.0412 | 3711.519 | 3724.0368 | 3736.4209

## Slide 48: Average Annual Carbon Dioxide Emissions 2015-2035 Under Alternative Resource Strategies
Chart: Annual Carbon Dioxide Emissions (MMT)
| 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Existing Policy | 36.7812 | 36.7812 | 38.2275 | 39.935 | 41.0263 | 42.01 | 37.785 | 37.445 | 37.585 | 37.37 | 34.2688 | 33.4263 | 32.8975 | 33.1788 | 33.5375 | 33.705 | 34.2625 | 34.9963 | 35.4575 | 36.2025
Social Cost of Carbon - MidRange | 36.7812 | 18.4725 | 18.9437 | 19.5075 | 19.5038 | 20.1537 | 18.8062 | 18.7213 | 18.635 | 18.355 | 17.6412 | 17.715 | 17.3788 | 17.5925 | 18.23 | 18.6363 | 19.0987 | 19.585 | 20.0725 | 20.8938
Retire Coal and Inefficient Gas | 36.7812 | 36.7638 | 38.1625 | 39.8675 | 40.825 | 41.76 | 37.5038 | 37.0988 | 37.1738 | 37.08 | 19.1775 | 13.0088 | 12.59 | 12.6438 | 13.0825 | 13.405 | 14.1625 | 14.245 | 14.7 | 15.7975
Retire Coal | 36.7812 | 36.785 | 38.2263 | 39.9663 | 41.0862 | 42.065 | 37.865 | 37.5188 | 37.695 | 37.7263 | 19.6213 | 13.5225 | 13.0913 | 13.155 | 13.4337 | 13.49 | 13.87 | 14.075 | 14.4588 | 15.64
Retire Coal w/SCC MidRange | 36.7812 | 18.475 | 18.96 | 19.53 | 19.5463 | 20.2087 | 19.0275 | 18.9887 | 18.95 | 19.2763 | 16.7025 | 15.38 | 15.0613 | 15.0862 | 15.3925 | 15.53 | 15.8438 | 16.0837 | 16.5613 | 17.8738
Retire Coal w/SCC MidRange and No New Gas | 36.7812 | 18.4725 | 18.9387 | 19.5038 | 19.4962 | 20.1225 | 18.7188 | 18.6138 | 18.41 | 17.7037 | 13.5163 | 11.36 | 11.0075 | 10.7513 | 10.8087 | 10.56 | 10.5913 | 10.5738 | 10.4213 | 9.735
Regional RPS @ 35% | 36.7812 | 36.785 | 38.2225 | 39.905 | 40.9012 | 41.7812 | 34.3137 | 32.7463 | 31.4062 | 29.7425 | 26.2 | 22.6638 | 21.0525 | 21.2987 | 21.6788 | 22.3487 | 23.1863 | 24.305 | 25.2 | 26.34

## Slide 49: Summary of Carbon Reduction Policy Costs and Impacts
CO2 Emissions - PNW System 2016 - 2035 (MMT) | Cumulative Present Value Average System Cost of Emission Reduction (2012$) | Cumulative CO2 Emission Reduction Over Existing Policy - Scenario (MMT) | Incremental Emission Reduction (MMT) | Incremental Average System Cost (billion 2012$) | Incremental Cost of CO2 Emission Reduction (2012$/MT)
Existing Policy | $82 | 0 | 0 | $0 | $0
Retire Coal | $98 | 197 | 197 | $16 | $81
SCC - Mid-Range | $78 | 351 | 154 | ($20) | ($130)
Retire Coal w/SCC_MidRange | $91 | 377 | 26 | $13 | $500
Retire Coal w/SCC_MidRange & No New Gas | $126 | 430 | 53 | $35 | $660

## Slide 50: Carbon Pricing Policies Drive Cumulative Emissions Reduction and System Cost
Chart: Present Value System Cost (billion 2012$)
| Existing Policy | Retire Coal | SCC - Mid-Range | Retire Coal w/SCC_MidRange | Retire Coal w/SCC_MidRange & No New Gas
Present Value Average System Cost (2012$) | 82 | 98 | 78 | 91 | 126
Cumulative CO2 Emission Reduction Over Existing Policy Scenario | 0 | 197 | 351 | 377 | 430

## Slide 51: Forecast Load Growth Over The Next Two Decades (Average Over 800 Futures)
Chart: Regional Load (Average Megawatts)
| 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Medium Load Forecast - Pre-Energy Efficiency | 20560.25 | 20722.2603 | 20886.8036 | 21272.3413 | 21530.3512 | 21748.1228 | 21962.0245 | 22183.5445 | 22420.674 | 22674.0793 | 22934.0128 | 23202.1565 | 23483.3003 | 23780.1493 | 24005.8323 | 24266.4436 | 24528.2969 | 24829.2926 | 25154.1164 | 25488.9337 | 25818.2773
Load Reduction from Federal Standards Adopted Since 6th Plan | 20560.25 | 20660.3119 | 20744.8822 | 21053.5541 | 21213.4247 | 21338.9662 | 21474.4009 | 21620.7147 | 21784.8024 | 21967.2538 | 22157.6834 | 22357.6677 | 22571.6802 | 22802.2893 | 22963.361 | 23160.2881 | 23362.1543 | 23605.7348 | 23874.8024 | 24155.358 | 24431.9248
Load Growth Met with Energy Efficiency | 20560.25 | 20486.2475 | 20376.735 | 20465.63 | 20378.5775 | 20227.4175 | 20061.6237 | 19890.87 | 19725.8862 | 19567.5325 | 19412.5737 | 19269.1475 | 19144.6287 | 19045.7475 | 18993.9212 | 19072.1488 | 19208.39 | 19396.9813 | 19615.6425 | 19847.0925 | 20074.9675

## Slide 52: Northwest Actual and Forecast Loads After Accounting for Energy Efficiency 2000- 2035
Chart: Annual Electricity Loads (average megawatts)
| 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Actual Loads | 19337.076 | 19924.5879 | 20016.4277 | 20101.5146 | 20422.2518 | 20678.1276 | 21121.35 | 21186.7757 | 20680.0242 | 20617.3104 | 20767.0661 | 20945.0558 | 20998.5627 | 21163.5647
6th Plan Load After Energy Efficiency | 20449.08 | 20867.7983 | 21231.4567 | 21378.805 | 21382.0325 | 21356.1192 | 21310.0342 | 21252.2258 | 21180.9033 | 21121.6658 | 21062.4717 | 20965.795 | 20873.1358 | 20795.6825 | 20781.535 | 20826.16 | 20900.0433 | 21000.8225 | 21131.22 | 21279.1667
7th Plan Load After Energy Efficiency | 20491.5163 | 20486.2475 | 20376.735 | 20465.63 | 20378.5775 | 20227.4175 | 20061.6237 | 19890.87 | 19725.8862 | 19567.5325 | 19412.5737 | 19269.1475 | 19144.6287 | 19045.7475 | 18993.9212 | 19072.1488 | 19208.39 | 19396.9813 | 19615.6425 | 19847.0925 | 20074.9675
Flat Load | 20600 | 20600 | 20600 | 20600 | 20600 | 20600 | 20600 | 20600 | 20600 | 20600 | 20600 | 20600 | 20600 | 20600 | 20600 | 20600 | 20600 | 20600 | 20600 | 20600 | 20600 | 20600 | 20600 | 20600 | 20600 | 20600 | 20600 | 20600 | 20600 | 20600 | 20600 | 20600 | 20600 | 20600 | 20600